## Average
Date/Time | Total Net Power Output (Calculated) | Gross Power Output (Veris) | Pump Parasitic Load | Cooling Fan Parasitic Load (Veris) | Geothermal Header Hot Water Temperature | Hot Water Supply Temperature | Hot Water Return Temperature | Hot Water Supply Flow Rate | Ambient Temperature (GM Sensor) | Notes | MESO West WeatherData | Date/Time | Ambient Temperature | Relative Humidity | Wind Speed | Wind Gust | Wind Direction
| kW | kW | kW | kW | F | F | F | gpm | F |  | Station ID: HMHNV |  | F | % | mph | mph | Degrees
10/3/2013 2:00 to 10/3/2013 2:59 | 36.1598 | 43.8085 | 4.3 | 3.3487 | 211.169 | 223.3104 | 193.4941 | 131.0594 | 55.2482 |  |  | 2013-10-03 02:31 | 40 | 44 | 4 | 7 | 34
10/3/2013 3:00 to 10/3/2013 3:59 | 36.6175 | 44.2396 | 4.3 | 3.322 | 209.7846 | 222.9096 | 193.2291 | 130.9203 | 52.2884 |  |  | 2013-10-03 03:34 | 37 | 49 | 6 | 8 | 48
10/3/2013 4:01 to 10/3/2013 4:59 | 37.4203 | 44.9798 | 4.3 | 3.2595 | 210.4757 | 223.0067 | 193.1897 | 130.9909 | 50.6411 |  |  | 2013-10-03 04:37 | 36 | 50 | 2 | 5 | 89
10/3/2013 5:00 to 10/3/2013 5:59 | 38.132 | 45.8104 | 4.3 | 3.3784 | 211.4706 | 223.2613 | 192.9769 | 131.0006 | 52.6036 |  |  | 2013-10-03 05:40 | 35 | 54 | 3 | 6 | 34
10/3/2013 10:00 to 10/3/2013 10:59 | 36.7664 | 44.5704 | 3.9 | 3.904 | 210.7725 | 223.9106 | 199.5847 | 145.6569 | 62.7011 |  |  | 2013-10-03 10:35 | 46 | 43 | 7 | 13 | 346
10/3/2013 11:00 to 10/3/2013 11:59 | 37.8761 | 45.5629 | 3.9 | 3.7868 | 211.0208 | 224.0922 | 197.6997 | 145.3569 | 63.7394 |  |  | 2013-10-03 11:59 | 50 | 34 | 8 | 16 | 311
10/3/2013 12:00 to 10/3/2013 12:59 | 37.0798 | 44.8709 | 3.9 | 3.8911 | 211.0072 | 224.1839 | 198.1881 | 145.3036 | 66.7281 |  |  | 2013-10-03 12:20 | 51 | 32 | 7 | 17 | 357
10/3/2013 13:00 to 10/3/2013 13:59 | 36.3096 | 44.0378 | 3.9 | 3.8281 | 212.4364 | 224.6508 | 198.0828 | 145.2408 | 68.3375 |  |  | 2013-10-03 13:23 | 52 | 29 | 5 | 11 | 1
10/3/2013 14:00 to 10/3/2013 14:59 | 36.8591 | 44.5863 | 3.9 | 3.8272 | 212.2889 | 224.3172 | 197.1233 | 144.9983 | 67.1856 |  |  | 2013-10-03 14:26 | 54 | 27 | 9 | 20 | 330
10/3/2013 15:00 to 10/3/2013 15:59 | 36.6379 | 44.1569 | 3.9 | 3.619 | 209.2822 | 223.8864 | 196.7061 | 145.1045 | 63.8212 |  |  | 2013-10-03 15:29 | 54 | 24 | 10 | 17 | 7
10/3/2013 16:00 to 10/3/2013 16:59 | 37.263 | 44.7091 | 3.9 | 3.546 | 210.58 | 223.7747 | 196.6792 | 145.0583 | 61.4775 |  |  | 2013-10-03 16:33 | 53 | 24 | 12 | 19 | 333
10/3/2013 17:00 to 10/3/2013 17:59 | 37.0828 | 44.4193 | 3.9 | 3.4365 | 209.1661 | 223.5936 | 196.6011 | 144.9853 | 59.9264 |  |  | 2013-10-03 17:36 | 52 | 25 | 12 | 18 | 349
10/3/2013 18:00 to 10/3/2013 18:59 | 36.7303 | 44.0798 | 3.9 | 3.4494 | 207.7261 | 223.4719 | 197.9239 | 145.2171 | 57.7924 |  |  | 2013-10-03 18:39 | 48 | 30 | 11 | 16 | 21
10/3/2013 19:00 to 10/3/2013 19:59 | 38.0219 | 45.1875 | 3.9 | 3.2656 | 206.7633 | 223.3069 | 196.2464 | 144.9628 | 54.2639 |  |  | 2013-10-03 19:21 | 45 | 33 | 10 | 13 | 37
10/3/2013 20:00 to 10/3/2013 20:59 | 38.1538 | 45.2399 | 3.9 | 3.1861 | 207.2061 | 223.4647 | 196.5144 | 144.8919 | 53.0753 |  |  | 2013-10-03 20:24 | 44 | 37 | 8 | 12 | 30
10/3/2013 21:00 to 10/3/2013 21:59 | 38.1457 | 45.2841 | 3.9 | 3.2384 | 208.6117 | 223.7844 | 196.6106 | 144.9936 | 53.7136 |  |  | 2013-10-03 21:27 | 44 | 37 | 7 | 12 | 55
10/3/2013 22:00 to 10/3/2013 22:59 | 37.9694 | 45.1056 | 3.9 | 3.2362 | 208.3111 | 223.7094 | 196.5828 | 144.9964 | 52.985 |  |  | 2013-10-03 22:30 | 43 | 41 | 7 | 11 | 47
10/3/2013 23:00 to 10/3/2013 23:59 | 38.3903 | 45.5349 | 3.9 | 3.2447 | 209.2162 | 223.9109 | 196.5317 | 144.6905 | 53.1398 |  |  | 2013-10-03 23:33 | 42 | 43 | 6 | 12 | 25
10/4/2013 0:00 to 10/4/2013 0:59 | 39.3322 | 46.5953 | 3.9 | 3.3631 | 211.5208 | 224.2869 | 196.8125 | 144.57 | 52.4464 |  |  | 2013-10-04 00:36 | 38 | 50 | 5 | 8 | 359
10/4/2013 1:00 to 10/4/2013 1:59 | 39.5416 | 46.8836 | 3.9 | 3.4421 | 212.7914 | 224.5028 | 197.4872 | 144.7083 | 52.2703 |  |  | 2013-10-04 01:39 | 37 | 54 | 7 | 10 | 23
10/4/2013 2:00 to 10/4/2013 2:59 | 40.0355 | 47.2456 | 3.9 | 3.3101 | 213.6983 | 224.6294 | 196.5264 | 144.5219 | 50.4222 |  |  | 2013-10-04 02:21 | 34 | 58 | 3 | 7 | 344
10/4/2013 3:00 to 10/4/2013 3:59 | 39.1523 | 46.4024 | 3.9 | 3.3501 | 215.065 | 224.6678 | 198.3925 | 144.6161 | 51.0492 |  |  | 2013-10-04 03:24 | 32 | 63 | 0 | 3 | 278
10/4/2013 4:00 to 10/4/2013 4:59 | 39.6171 | 46.817 | 3.9 | 3.2999 | 214.5336 | 224.5697 | 198.0686 | 145.3867 | 48.4786 |  |  | 2013-10-04 04:27 | 34 | 60 | 5 | 11 | 40
10/4/2013 5:00 to 10/4/2013 5:59 | 39.4071 | 46.3703 | 3.9 | 3.0631 | 211.6928 | 224.2267 | 196.7303 | 146.6589 | 47.4033 |  |  | 2013-10-04 05:30 | 38 | 59 | 10 | 16 | 35
10/4/2013 6:00 to 10/4/2013 6:59 | 38.9533 | 45.9119 | 3.9 | 3.0587 | 206.9892 | 223.4367 | 196.0053 | 147.5653 | 47.0539 |  |  | 2013-10-04 06:33 | 38 | 58 | 10 | 15 | 45
10/4/2013 7:00 to 10/4/2013 7:59 | 37.9979 | 45.1425 | 3.9 | 3.2445 | 209.2708 | 223.8536 | 198.8469 | 147.3678 | 46.4667 |  |  | 2013-10-04 07:36 | 32 | 70 | 3 | 6 | 353
10/4/2013 8:00 to 10/4/2013 8:59 | 37.526 | 44.846 | 3.9 | 3.42 | 207.8122 | 223.6667 | 199.5197 | 145.1519 | 51.2722 |  |  | 2013-10-04 08:39 | 43 | 51 | 9 | 13 | 34
10/4/2013 9:00 to 10/4/2013 9:59 | 37.1352 | 44.8605 | 3.9 | 3.8252 | 206.52 | 223.5419 | 200.0269 | 144.0511 | 57.2136 |  |  | 2013-10-04 09:21 | 44 | 49 | 9 | 15 | 31
10/4/2013 10:00 to 10/4/2013 10:59 | 37.2855 | 45.0029 | 3.9 | 3.8174 | 207.1156 | 223.7194 | 198.8053 | 144.1533 | 60.5664 |  |  | 2013-10-04 10:32 | 47 | 39 | 10 | 19 | 25
10/4/2013 11:00 to 10/4/2013 11:59 | 37.3039 | 44.9814 | 3.9 | 3.7775 | 207.1478 | 223.7033 | 197.6847 | 144.3567 | 62.1328 |  |  | 2013-10-04 11:35 | 51 | 32 | 12 | 21 | 14
10/4/2013 12:00 to 10/4/2013 12:59 | 35.9337 | 43.671 | 3.9 | 3.8374 | 207.4644 | 223.8536 | 199.7289 | 144.5947 | 63.7433 |  |  | 2013-10-04 12:38 | 53 | 27 | 9 | 21 | 28
10/4/2013 13:00 to 10/4/2013 13:59 | 35.6831 | 43.3864 | 3.9 | 3.8034 | 208.7422 | 224.1131 | 199.1403 | 144.3994 | 65.4689 |  |  | 2013-10-04 13:20 | 54 | 27 | 10 | 20 | 14
10/4/2013 14:00 to 10/4/2013 14:59 | 34.9789 | 42.5691 | 3.9 | 3.6903 | 209.3653 | 224.2236 | 198.605 | 144.0311 | 66.3811 |  |  | 2013-10-04 14:23 | 56 | 24 | 8 | 16 | 27
10/4/2013 15:00 to 10/4/2013 15:59 | 35.4364 | 42.9466 | 3.9 | 3.6102 | 209.1006 | 224.1503 | 197.6419 | 143.6211 | 65.475 |  |  | 2013-10-04 15:26 | 57 | 23 | 11 | 22 | 7
10/4/2013 16:00 to 10/4/2013 16:59 | 35.2327 | 42.6103 | 3.9 | 3.4776 | 209.8128 | 224.1867 | 197.6983 | 143.6267 | 64.6614 |  |  | 2013-10-04 16:29 | 57 | 22 | 10 | 15 | 16
10/4/2013 17:00 to 10/4/2013 17:59 | 35.4094 | 42.8225 | 3.9 | 3.5131 | 209.4031 | 223.9992 | 197.5856 | 144.0203 | 64.33 |  |  | 2013-10-04 17:32 | 56 | 23 | 12 | 22 | 20
10/4/2013 18:00 to 10/4/2013 18:59 | 35.5629 | 42.918 | 3.9236 | 3.4314 | 210.8372 | 224.2356 | 197.7572 | 144.2128 | 62.6592 |  |  | 2013-10-04 18:35 | 51 | 28 | 7 | 10 | 24
10/4/2013 19:00 to 10/4/2013 19:59 | 33.5684 | 40.607 | 4 | 3.0386 | 211.1147 | 224.3703 | 198.3375 | 144.1283 | 59.76 |  |  | 2013-10-04 19:38 | 48 | 31 | 7 | 9 | 85
10/4/2013 20:00 to 10/4/2013 20:59 | 34.6366 | 41.7108 | 4 | 3.0742 | 209.9567 | 224.1608 | 197.8181 | 144.3419 | 58.9144 |  |  | 2013-10-04 20:20 | 48 | 31 | 7 | 11 | 78
10/4/2013 21:00 to 10/4/2013 21:59 | 36.0071 | 43.3095 | 4 | 3.3024 | 209.2289 | 223.975 | 197.3128 | 144.4333 | 58.2194 |  |  | 2013-10-04 21:24 | 48 | 32 | 8 | 11 | 58
10/4/2013 22:00 to 10/4/2013 22:59 | 37.6979 | 44.9997 | 4 | 3.3018 | 207.7419 | 223.6692 | 196.8014 | 144.4006 | 54.9083 |  |  | 2013-10-04 22:27 | 45 | 36 | 13 | 17 | 28
10/23/2013 23:00 to 10/23/2013 23:59 | 32.941 | 40.4892 | 4.4 | 3.1483 | 211.5728 | 222.8761 | 197.0132 | 144.1983 | 60.4955 |  |  | 2013-10-23 23:39 | 49 | 30 | 7 | 10 | 34
10/24/2013 0:01 to 10/24/2013 0:59 | 32.0883 | 39.8262 | 4.4 | 3.3379 | 212.4512 | 223.6059 | 199.2571 | 144.1036 | 63.4195 |  |  | 2013-10-24 00:21 | 48 | 31 | 3 | 5 | 55
10/24/2013 5:00 to 10/24/2013 5:59 | 37.8746 | 45.616 | 4.4 | 3.3414 | 215.0906 | 224.4356 | 197.6227 | 142.7718 | 56.6 |  |  | 2013-10-24 05:37 | 36 | 47 | 1 | 3 | 337
10/24/2013 6:00 to 10/24/2013 6:59 | 38.1182 | 45.9394 | 4.4 | 3.4212 | 214.6761 | 224.4625 | 197.5583 | 142.9358 | 56.4306 |  |  | 2013-10-24 06:40 | 37 | 48 | 3 | 6 | 45
10/24/2013 7:00 to 10/24/2013 7:59 | 38.3956 | 46.0687 | 4.4 | 3.2731 | 215.4133 | 224.4961 | 197.29 | 143.0039 | 54.5086 |  |  | 2013-10-24 07:44 | 34 | 50 | 1 | 3 | 203
10/24/2013 8:00 to 10/24/2013 8:59 | 35.6849 | 43.2928 | 4.4 | 3.2079 | 215.8161 | 224.675 | 199.6525 | 142.8819 | 56.6572 |  |  | 2013-10-24 08:26 | 41 | 39 | 0 | 1 | 193
10/24/2013 9:00 to 10/24/2013 9:59 | 35.3765 | 43.6427 | 4.4 | 3.8662 | 214.9869 | 224.9028 | 199.3739 | 142.3458 | 68.8053 |  |  | 2013-10-24 09:29 | 48 | 31 | 1 | 3 | 323
10/24/2013 10:00 to 10/24/2013 10:59 | 33.4603 | 41.5813 | 4.4 | 3.721 | 213.8144 | 224.7633 | 198.4733 | 142.5803 | 72.7936 |  |  | 2013-10-24 10:32 | 57 | 25 | 3 | 6 | 319
10/24/2013 11:00 to 10/24/2013 11:59 | 29.8978 | 38.4263 | 4.4 | 4.1284 | 214.6019 | 225.0575 | 201.2911 | 142.705 | 82.9453 |  |  | 2013-10-24 11:35 | 63 | 21 | 1 | 6 | 335
10/24/2013 12:00 to 10/24/2013 12:59 | 28.0114 | 36.4657 | 4.4 | 4.0543 | 216.4811 | 225.3192 | 199.7994 | 141.7714 | 87.5769 |  |  | 2013-10-24 12:38 | 69 | 18 | 2 | 7 | 18
10/24/2013 13:00 to 10/24/2013 13:59 | 25.3067 | 33.7325 | 4.4 | 4.0258 | 217.5569 | 225.4608 | 201.1675 | 139.9814 | 90.305 |  |  | 2013-10-24 13:20 | 70 | 16 | 3 | 7 | 302
10/24/2013 14:00 to 10/24/2013 14:59 | 22.2434 | 30.3969 | 4.4 | 3.7535 | 218.2117 | 225.5067 | 201.8856 | 141.4408 | 89.6414 |  |  | 2013-10-24 14:23 | 73 | 14 | 4 | 10 | 247
10/24/2013 15:00 to 10/24/2013 15:59 | 23.7138 | 31.726 | 4.4 | 3.6122 | 218.7567 | 225.4592 | 200.4772 | 141.7767 | 87.0814 |  |  | 2013-10-24 15:26 | 75 | 12 | 2 | 6 | 222
10/24/2013 16:00 to 10/24/2013 16:59 | 22.9756 | 30.8907 | 4.4 | 3.515 | 218.7536 | 225.4531 | 201.0019 | 141.5875 | 85.2022 |  |  | 2013-10-24 16:29 | 73 | 12 | 3 | 6 | 282
10/24/2013 17:00 to 10/24/2013 17:59 | 24.6566 | 32.4747 | 4.4 | 3.4181 | 217.1942 | 225.3506 | 200.0931 | 141.5131 | 84.5844 |  |  | 2013-10-24 17:32 | 71 | 12 | 0 | 2 | 320
10/24/2013 18:00 to 10/24/2013 18:59 | 26.9343 | 34.6722 | 4.4 | 3.3379 | 216.4681 | 225.0775 | 199.6583 | 141.8083 | 78.9428 |  |  | 2013-10-24 18:35 | 60 | 18 | 7 | 8 | 90
10/24/2013 19:00 to 10/24/2013 19:59 | 25.9036 | 33.4736 | 4.4 | 3.17 | 216.0014 | 224.8517 | 199.7494 | 142.1569 | 73.9128 |  |  | 2013-10-24 19:38 | 58 | 20 | 6 | 9 | 121
10/24/2013 20:00 to 10/24/2013 20:59 | 26.1384 | 33.5033 | 4.4 | 2.9648 | 217.0344 | 225.0889 | 200.2964 | 142.3686 | 71.6044 |  |  | 2013-10-24 20:20 | 55 | 23 | 2 | 4 | 157
10/24/2013 21:00 to 10/24/2013 21:59 | 29.6346 | 37.3681 | 4.3736 | 3.3599 | 216.5428 | 225.0756 | 200.6172 | 142.5936 | 71.4672 |  |  | 2013-10-24 21:24 | 51 | 25 | 2 | 3 | 171
10/24/2013 22:00 to 10/24/2013 22:59 | 30.2296 | 37.6417 | 4.3 | 3.112 | 216.1142 | 224.9525 | 199.6747 | 142.5842 | 66.0389 |  |  | 2013-10-24 22:27 | 47 | 29 | 4 | 7 | 106
10/24/2013 23:00 to 10/24/2013 23:59 | 27.5582 | 34.6313 | 4.3 | 2.7731 | 215.0134 | 224.6602 | 199.5395 | 142.4221 | 63.7633 |  |  | 2013-10-24 23:30 | 47 | 30 | 3 | 5 | 138
10/25/2013 0:00 to 10/25/2013 0:59 | 29.4449 | 36.7435 | 4.3 | 2.9987 | 216.2662 | 224.8466 | 200.1113 | 142.4524 | 63.9466 |  |  | 2013-10-25 00:33 | 45 | 30 | 2 | 4 | 212