## Parametric Results
Custom Design | [10 empty] | Standard Design | [9 empty] | Standard NPV vs. Relative Efficiency | [15 empty] | NPV Diff vs. Relative Efficiency | [15 empty] | Linear Fit |  |  | Standard Relative Efficiency Required to get Break-Even NPV
Specified Plant Cost ($) | Plant Efficiency (%) | Production Well Flow Rate (kg/s per well) | Resource Temperature ('C) | Gross Turbine Output (kW) | Net capital cost ($) | Net capital cost per watt ($/W) | Present value of annual costs ($) | Net present value (after-tax) ($) | Present value of PPA revenue ($) | NPV Diff | Specified Plant Cost ($) | Plant Efficiency (%) | Production Well Flow Rate (kg/s per well) | Resource Temperature ('C) | Plant Brine Efficiency | Net capital cost ($) | Net capital cost per watt ($/W) | Present value of annual costs ($) | Net present value (after-tax) ($) | Present value of PPA revenue ($) | 100% | 99% | 98% | 97% | 96% | 95% | 94% | 93% | 92% | 91% | 90% | 89% | 88% | 87% | 86% | 85% | 100% | 99% | 98% | 97% | 96% | 95% | 94% | 93% | 92% | 91% | 90% | 89% | 88% | 87% | 86% | 85% | slope | intercept | Breakeven Efficiency | Temp | Flow | Breakeven Efficiency
4271570 | 56.3552 | 40 | 160 | 1747.3008 | 18094400 | 12.7057 | 18018100 | -4790990 | 13227100 | -863300 | 5243530 | 56.3552 | 40 | 160 |  | 19472200 | 13.6731 | 18881400 | -5654290 | 13227100 | -5654290 | -5724870 | -5795460 | -5866040 | -5936630 | -6007210 | -6077800 | -6148380 | -6218960 | -6289550 | -6360130 | -6430720 | -6501300 | -6571880 | -6642470 | -6713050 | -863300 | -933880 | -1004470 | -1075050 | -1145640 | -1216220 | -1286810 | -1357390 | -1427970 | -1498560 | -1569140 | -1639730 | -1710310 | -1780890 | -1851480 | -1922060 | 7058414.7059 | -7921714.8529 | 112.2% | 160 | 40 | 112.2%
5047370 | 56.3552 | 50 | 160 | 2184.126 | 19257500 | 10.8179 | 20332300 | -4001970 | 16330300 | -445830 | 5549320 | 56.3552 | 50 | 160 |  | 19969000 | 11.2176 | 20778100 | -4447800 | 16330300 | -4447800 | -4536030 | -4624260 | -4712500 | -4800730 | -4888960 | -4977190 | -5065420 | -5153650 | -5241880 | -5330110 | -5418340 | -5506570 | -5594800 | -5683030 | -5771260 | -445830 | -534060 | -622290 | -710530 | -798760 | -886990 | -975220 | -1063450 | -1151680 | -1239910 | -1328140 | -1416370 | -1504600 | -1592830 | -1681060 | -1769290 | 8823057.3529 | -9268891.1765 | 105.1% | 160 | 50 | 105.1% | Sum of Breakeven Efficiency | Column Labels
5789090 | 56.3552 | 60 | 160 | 2620.9512 | 20372300 | 9.5368 | 22580800 | -3232280 | 19348500 | -57320 | 5853620 | 56.3552 | 60 | 160 |  | 20463800 | 9.5797 | 22638100 | -3289600 | 19348500 | -3289600 | -3395480 | -3501350 | -3607230 | -3713110 | -3818980 | -3924860 | -4030730 | -4136610 | -4242490 | -4348360 | -4454240 | -4560120 | -4665990 | -4771870 | -4877750 | -57320 | -163200 | -269070 | -374950 | -480830 | -586700 | -692580 | -798450 | -904330 | -1010210 | -1116080 | -1221960 | -1327840 | -1433710 | -1539590 | -1645470 | 10587639.7059 | -10644959.8529 | 100.5% | 160 | 60 | 100.5% | Row Labels | 160 | 165 | 170 | 175 | 180 | 185 | 190
6504140 | 56.3552 | 70 | 160 | 3057.7764 | 21449500 | 8.6066 | 24769600 | -2489570 | 22280100 | 308780 | 6156500 | 56.3552 | 70 | 160 |  | 20956700 | 8.4089 | 24460900 | -2180790 | 22280100 | -2180790 | -2304320 | -2427840 | -2551360 | -2674880 | -2798410 | -2921930 | -3045450 | -3168970 | -3292500 | -3416020 | -3539540 | -3663060 | -3786590 | -3910110 | -4033630 | 308780 | 185250 | 61730 | -61790 | -185310 | -308840 | -432360 | -555880 | -679400 | -802930 | -926450 | -1049970 | -1173490 | -1297020 | -1420540 | -1544060 | 12352252.9412 | -12043476.4706 | 97.5% | 160 | 70 | 97.5% | 40 | 112.2% | 109% | 106.2% | 103.8% | 101.7% | 99.88% | 98.24%
7197510 | 56.3552 | 80 | 160 | 3494.6016 | 22496000 | 7.8982 | 26902400 | -1779270 | 25123200 | 656770 | 6458070 | 56.3552 | 80 | 160 |  | 21447800 | 7.5302 | 26245700 | -1122500 | 25123200 | -1122500 | -1263670 | -1404840 | -1546010 | -1687170 | -1828340 | -1969510 | -2110680 | -2251850 | -2393020 | -2534190 | -2675360 | -2816520 | -2957690 | -3098860 | -3240030 | 656770 | 515600 | 374430 | 233260 | 92100 | -49070 | -190240 | -331410 | -472580 | -613750 | -754920 | -896090 | -1037250 | -1178420 | -1319590 | -1460760 | 14116858.8235 | -13460089.4118 | 95.35% | 160 | 80 | 95.35% | 50 | 105.1% | 102.7% | 100.6% | 98.76% | 97.22% | 95.91% | 94.72%
7872730 | 56.3552 | 90 | 160 | 3931.4268 | 23517000 | 7.3393 | 28981700 | -1105540 | 27876200 | 989709 | 6758440 | 56.3552 | 90 | 160 |  | 21937400 | 6.8463 | 27992000 | -115831 | 27876200 | -115831 | -274645 | -433460 | -592275 | -751089 | -909904 | -1068720 | -1227530 | -1386350 | -1545160 | -1703980 | -1862790 | -2021610 | -2180420 | -2339240 | -2498050 | 989709 | 830895 | 672080 | 513265 | 354451 | 195636 | 36820 | -121990 | -280810 | -439620 | -598440 | -757250 | -916070 | -1074880 | -1233700 | -1392510 | 15881473.8235 | -14891764.1618 | 93.77% | 160 | 90 | 93.77% | 60 | 100.5% | 98.67% | 97.08% | 95.66% | 94.49% | 93.5% | 92.6%
8532440 | 56.3552 | 100 | 160 | 4368.252 | 24516100 | 6.886 | 31009000 | -471738 | 30537300 | 1309863 | 7057700 | 56.3552 | 100 | 160 |  | 22425600 | 6.2988 | 29699200 | 838125 | 30537300 | 838125 | 661665 | 485204 | 308743 | 132283 | -44178.3 | -220639 | -397099 | -573561 | -750022 | -926482 | -1102940 | -1279400 | -1455860 | -1632330 | -1808790 | 1309863 | 1133403 | 956942 | 780481 | 604021 | 427559.7 | 251099 | 74639 | -101823 | -278284 | -454744 | -631202 | -807662 | -984122 | -1160592 | -1337052 | 17646079.6324 | -16336215.7412 | 92.58% | 160 | 100 | 92.58% | 70 | 97.5% | 96% | 94.74% | 93.62% | 92.7% | 91.93% | 91.24%
9178670 | 56.3552 | 110 | 160 | 4805.0772 | 25496300 | 6.5103 | 32985500 | 119332 | 33104800 | 1618948 | 7355940 | 56.3552 | 110 | 160 |  | 22912500 | 5.8505 | 31366600 | 1738280 | 33104800 | 1738280 | 1544170 | 1350070 | 1155960 | 961852 | 767745 | 573637 | 379531 | 185424 | -8683.41 | -202789 | -396897 | -591004 | -785110 | -979217 | -1173320 | 1618948 | 1424838 | 1230738 | 1036628 | 842520 | 648413 | 454305 | 260199 | 66092 | -128015.41 | -322121 | -516229 | -710336 | -904442 | -1098549 | -1292652 | 19410686.5044 | -17791738.9797 | 91.66% | 160 | 110 | 91.66% | 80 | 95.35% | 94.13% | 93.1% | 92.2% | 91.47% | 90.86% | 90.33%
9813020 | 59.1525 | 120 | 160 | 5241.9024 | 26470600 | 5.9028 | 35972600 | 665227 | 37688900 | 1918313 | 7653240 | 56.3552 | 120 | 160 |  | 23398200 | 5.4767 | 32993500 | 2583540 | 35577100 | 2583540 | 2371790 | 2160040 | 1948290 | 1736530 | 1524780 | 1313030 | 1101270 | 889521 | 677768 | 466016 | 254263 | 42509.2 | -169243 | -380996 | -592750 | 1918313 | 1706563 | 1494813 | 1283063 | 1071303 | 859553 | 647803 | 436043 | 224294 | 12541 | -199211 | -410964 | -622717.8 | -834470 | -1046223 | -1257977 | 21175284.1471 | -19256967.4485 | 90.94% | 160 | 120 | 90.94% | 90 | 93.77% | 92.76% | 91.92% | 91.19% | 90.6% | 90.12% | 89.69%
4529790 | 59.1525 | 40 | 165 | 1909.7226 | 18471400 | 11.8081 | 18937000 | -4347680 | 14589300 | -699350 | 5317170 | 59.1525 | 40 | 165 |  | 19587500 | 12.5216 | 19636300 | -5047030 | 14589300 | -5047030 | -5124540 | -5202040 | -5279550 | -5357050 | -5434560 | -5512060 | -5589570 | -5667080 | -5744580 | -5822090 | -5899590 | -5977100 | -6054600 | -6132110 | -6209620 | -699350 | -776860 | -854360 | -931870 | -1009370 | -1086880 | -1164380 | -1241890 | -1319400 | -1396900 | -1474410 | -1551910 | -1629420 | -1706920 | -1784430 | -1861940 | 7750569.1176 | -8449919.5588 | 109% | 165 | 40 | 109% | 100 | 92.58% | 91.73% | 91.04% | 90.44% | 89.96% | 89.58% | 89.25%
5349840 | 59.1525 | 50 | 165 | 2387.1533 | 19699200 | 10.0744 | 21461900 | -3429980 | 18031900 | -257200 | 5639420 | 59.1525 | 50 | 165 |  | 20109700 | 10.2844 | 21719100 | -3687180 | 18031900 | -3687180 | -3784070 | -3880950 | -3977830 | -4074710 | -4171590 | -4268480 | -4365360 | -4462240 | -4559120 | -4656000 | -4752890 | -4849770 | -4946650 | -5043530 | -5140420 | -257200 | -354090 | -450970 | -547850 | -644730 | -741610 | -838500 | -935380 | -1032260 | -1129140 | -1226020 | -1322910 | -1419790 | -1516670 | -1613550 | -1710440 | 9688213.2353 | -9945416.6176 | 102.7% | 165 | 50 | 102.7% | 110 | 91.66% | 90.95% | 90.37% | 89.88% | 89.49% | 89.19% | 88.93%
6133560 | 59.1525 | 60 | 165 | 2864.5839 | 20875600 | 8.8967 | 23919000 | -2529870 | 21389100 | 154240 | 5959900 | 59.1525 | 60 | 165 |  | 20629400 | 8.7918 | 23764700 | -2375630 | 21389100 | -2375630 | -2491890 | -2608150 | -2724410 | -2840670 | -2956920 | -3073180 | -3189440 | -3305700 | -3421960 | -3538220 | -3654470 | -3770730 | -3886990 | -4003250 | -4119510 | 154240 | 37980 | -78280 | -194540 | -310800 | -427050 | -543310 | -659570 | -775830 | -892090 | -1008350 | -1124600 | -1240860 | -1357120 | -1473380 | -1589640 | 11625838.2353 | -11471600.3676 | 98.67% | 165 | 60 | 98.67% | 120 | 90.94% | 90.34% | 89.86% | 89.45% | 89.14% | 88.9% | 88.7%
6888840 | 59.1525 | 70 | 165 | 3341.8777 | 22011700 | 8.0407 | 26314500 | -1655440 | 24659100 | 541890 | 6278750 | 59.1525 | 70 | 165 |  | 21146800 | 7.7248 | 25772600 | -1113550 | 24659100 | -1113550 | -1249190 | -1384820 | -1520460 | -1656090 | -1791730 | -1927360 | -2063000 | -2198630 | -2334270 | -2469900 | -2605540 | -2741170 | -2876810 | -3012440 | -3148080 | 541890 | 406250 | 270620 | 134980 | -650 | -136290 | -271920 | -407560 | -543190 | -678830 | -814460 | -950100 | -1085730 | -1221370 | -1357000 | -1492640 | 13563505.8824 | -13021617.9412 | 96% | 165 | 70 | 96%
7621010 | 59.1525 | 80 | 165 | 3819.2888 | 23115200 | 7.3884 | 28652600 | -812432 | 27840200 | 910315.6 | 6596110 | 59.1525 | 80 | 165 |  | 21662300 | 6.924 | 27742300 | 97883.6 | 27840200 | 97883.6 | -57128.2 | -212140 | -367151 | -522162 | -677174 | -832184 | -987197 | -1142210 | -1297220 | -1452230 | -1607240 | -1762250 | -1917260 | -2072280 | -2227290 | 910315.6 | 755303.8 | 600292 | 445281 | 290270 | 135258 | -19752 | -174765 | -329778 | -484788 | -639798 | -794808 | -949818 | -1104828 | -1259848 | -1414858 | 15501137.5588 | -14590822.2794 | 94.13% | 165 | 80 | 94.13%
8333840 | 59.1525 | 90 | 165 | 4296.6999 | 24191400 | 6.8732 | 30935800 | -5237.19 | 30930600 | 1262777.19 | 6912110 | 59.1525 | 90 | 165 |  | 22176000 | 6.3006 | 29673100 | 1257540 | 30930600 | 1257540 | 1083150 | 908765 | 734378 | 559990 | 385602 | 211215 | 36826.9 | -137561 | -311950 | -486337 | -660725 | -835113 | -1009500 | -1183890 | -1358280 | 1262777.19 | 1088387.19 | 914002.19 | 739615.19 | 565227.19 | 390839.19 | 216452.19 | 42064.09 | -132323.81 | -306712.81 | -481099.81 | -655487.81 | -829875.81 | -1004262.81 | -1178652.81 | -1353042.81 | 17438784.8382 | -16176006.8541 | 92.76% | 165 | 90 | 92.76%
9030150 | 59.1525 | 100 | 165 | 4774.1111 | 25244300 | 6.4551 | 33166000 | 762633 | 33928700 | 1601667 | 7226880 | 59.1525 | 100 | 165 |  | 22688100 | 5.8015 | 31564400 | 2364300 | 33928700 | 2364300 | 2170530 | 1976770 | 1783010 | 1589240 | 1395480 | 1201710 | 1007950 | 814184 | 620419 | 426656 | 232891 | 39126.2 | -154637 | -348402 | -542166 | 1601667 | 1407897 | 1214137 | 1020377 | 826607 | 632847 | 439077 | 245317 | 51551 | -142214 | -335977 | -529742 | -723506.8 | -917270 | -1111035 | -1304799 | 19376432.2353 | -17774766.4926 | 91.73% | 165 | 100 | 91.73% | Sum of Breakeven Efficiency | Column Labels 160: Column Labels
9712100 | 59.1525 | 110 | 165 | 5251.5222 | 26277000 | 6.1084 | 35344400 | 1488240 | 36832600 | 1928800 | 7540510 | 59.1525 | 110 | 165 |  | 23198700 | 5.3928 | 33415600 | 3417040 | 36832600 | 3417040 | 3203900 | 2990760 | 2777620 | 2564480 | 2351340 | 2138200 | 1925060 | 1711920 | 1498780 | 1285640 | 1072490 | 859354 | 646214 | 433073 | 219932 | 1928800 | 1715660 | 1502520 | 1289380 | 1076240 | 863100 | 649960 | 436820 | 223680 | 10540 | -202600 | -415750 | -628886 | -842026 | -1055167 | -1268308 | 21314058.9706 | -19385256.8603 | 90.95% | 165 | 110 | 90.95% |  | 160 | 165 | 170 | 175 | 180 | 185 | 190
10381400 | 62.0244 | 120 | 165 | 5728.9333 | 27303600 | 5.5487 | 38611100 | 2169040 | 41909000 | 2245630 | 7853100 | 59.1525 | 120 | 165 |  | 23708000 | 5.0519 | 35226000 | 4414670 | 39640700 | 4414670 | 4182160 | 3949640 | 3717120 | 3484600 | 3252090 | 3019570 | 2787050 | 2554540 | 2322020 | 2089500 | 1856980 | 1624470 | 1391950 | 1159430 | 926916 | 2245630 | 2013120 | 1780600 | 1548080 | 1315560 | 1083050 | 850530 | 618010 | 385500 | 152980 | -79540 | -312060 | -544570 | -777090 | -1009610 | -1242124 | 23251719.1176 | -21006086.0588 | 90.34% | 165 | 120 | 90.34% | 40 | 112.2% | 109% | 106.2% | 103.8% | 101.7% | 99.88% | 98.24%
4797100 | 62.0244 | 40 | 170 | 2081.9973 | 18862400 | 11.0104 | 19905000 | -3873690 | 16031300 | -530300 | 5394140 | 62.0244 | 40 | 170 |  | 19708700 | 11.5044 | 20435300 | -4403990 | 16031300 | -4403990 | -4488840 | -4573690 | -4658540 | -4743390 | -4828240 | -4913090 | -4997940 | -5082790 | -5167640 | -5252490 | -5337340 | -5422190 | -5507040 | -5591890 | -5676740 | -530300 | -615150 | -700000 | -784850 | -869700 | -954550 | -1039400 | -1124250 | -1209100 | -1293950 | -1378800 | -1463650 | -1548500 | -1633350 | -1718200 | -1803050 | 8485000 | -9015300 | 106.2% | 170 | 40 | 106.2% | 50 | 105.1% | 102.7% | 100.6% | 98.76% | 97.22% | 95.91% | 94.72%
5662820 | 62.0244 | 50 | 170 | 2602.4966 | 20157100 | 9.4129 | 22652100 | -2818820 | 19833200 | -62870 | 5733600 | 62.0244 | 50 | 170 |  | 20257400 | 9.4597 | 22714900 | -2881690 | 19833200 | -2881690 | -2987750 | -3093810 | -3199880 | -3305940 | -3412000 | -3518060 | -3624130 | -3730190 | -3836250 | -3942320 | -4048380 | -4154440 | -4260510 | -4366570 | -4472630 | -62870 | -168930 | -274990 | -381060 | -487120 | -593180 | -699240 | -805310 | -911370 | -1017430 | -1123500 | -1229560 | -1335620 | -1441690 | -1547750 | -1653810 | 10606295.5882 | -10669162.7941 | 100.6% | 170 | 50 | 100.6% | 60 | 100.5% | 98.67% | 97.08% | 95.66% | 94.49% | 93.5% | 92.6%
6489850 | 62.0244 | 60 | 170 | 3122.9959 | 21396900 | 8.3265 | 25329000 | -1779720 | 23549200 | 372030 | 6071000 | 62.0244 | 60 | 170 |  | 20803200 | 8.0955 | 24956900 | -1407690 | 23549200 | -1407690 | -1534970 | -1662240 | -1789520 | -1916790 | -2044070 | -2171350 | -2298620 | -2425900 | -2553170 | -2680450 | -2807720 | -2935000 | -3062280 | -3189550 | -3316830 | 372030 | 244750 | 117480 | -9800 | -137070 | -264350 | -391630 | -518900 | -646180 | -773450 | -900730 | -1028000 | -1155280 | -1282560 | -1409830 | -1537110 | 12727580.8824 | -12355551.6912 | 97.08% | 170 | 60 | 97.08% | 70 | 97.5% | 96% | 94.74% | 93.62% | 92.7% | 91.93% | 91.24%
7286630 | 62.0244 | 70 | 170 | 3643.4952 | 22593900 | 7.5363 | 27942500 | -764956 | 27177600 | 781699.2 | 6406530 | 62.0244 | 70 | 170 |  | 21346300 | 7.1202 | 27160800 | 16743.2 | 27177600 | 16743.2 | -131745 | -280234 | -428721 | -577210 | -725698 | -874186 | -1022670 | -1171160 | -1319650 | -1468140 | -1616630 | -1765120 | -1913600 | -2062090 | -2210580 | 781699.2 | 633211 | 484722 | 336235 | 187746 | 39258 | -109230 | -257714 | -406204 | -554694 | -703184 | -851674 | -1000164 | -1148644 | -1297134 | -1445624 | 14848820.8824 | -14067121.4912 | 94.74% | 170 | 70 | 94.74% | 80 | 95.35% | 94.13% | 93.1% | 92.2% | 91.47% | 90.86% | 90.33%
8058810 | 62.0244 | 80 | 170 | 4163.9945 | 23756200 | 6.9335 | 30497100 | 219390 | 30716500 | 1171020 | 6740390 | 62.0244 | 80 | 170 |  | 21887200 | 6.388 | 29326000 | 1390410 | 30716500 | 1390410 | 1220710 | 1051010 | 881308 | 711607 | 541905 | 372205 | 202505 | 32803.1 | -136897 | -306598 | -476299 | -646000 | -815701 | -985402 | -1155100 | 1171020 | 1001320 | 831620 | 661918 | 492217 | 322515 | 152815 | -16885 | -186586.9 | -356287 | -525988 | -695689 | -865390 | -1035091 | -1204792 | -1374490 | 16970082.9265 | -15799062.5757 | 93.1% | 170 | 80 | 93.1% | 90 | 93.77% | 92.76% | 91.92% | 91.19% | 90.6% | 90.12% | 89.69%
8810430 | 62.0244 | 90 | 170 | 4684.4938 | 24889400 | 6.4571 | 32995500 | 1168710 | 34164200 | 1543420 | 7072740 | 62.0244 | 90 | 170 |  | 22426100 | 5.8181 | 31452000 | 2712130 | 34164200 | 2712130 | 2521220 | 2330300 | 2139390 | 1948480 | 1757560 | 1566650 | 1375740 | 1184820 | 993911 | 802998 | 612083 | 421170 | 230256 | 39343.2 | -151570 | 1543420 | 1352510 | 1161590 | 970680 | 779770 | 588850 | 397940 | 207030 | 16110 | -174799 | -365712 | -556627 | -747540 | -938454 | -1129366.8 | -1320280 | 19091336.5294 | -17547916.2147 | 91.92% | 170 | 90 | 91.92% | 100 | 92.58% | 91.73% | 91.04% | 90.44% | 89.96% | 89.58% | 89.25%
9544480 | 62.0244 | 100 | 170 | 5204.9931 | 25997900 | 6.0702 | 35439600 | 2079330 | 37519000 | 1901420 | 7403720 | 62.0244 | 100 | 170 |  | 22963200 | 5.3617 | 33538200 | 3980750 | 37519000 | 3980750 | 3768630 | 3556500 | 3344370 | 3132250 | 2920120 | 2708000 | 2495870 | 2283740 | 2071620 | 1859490 | 1647370 | 1435240 | 1223110 | 1010990 | 798863 | 1901420 | 1689300 | 1477170 | 1265040 | 1052920 | 840790 | 628670 | 416540 | 204410 | -7710 | -219840 | -431960 | -644090 | -856220 | -1068340 | -1280467 | 21212597.7941 | -19311175.8971 | 91.04% | 170 | 100 | 91.04% | 110 | 91.66% | 90.95% | 90.37% | 89.88% | 89.49% | 89.19% | 88.93%
10263300 | 62.0244 | 110 | 170 | 5725.4925 | 27084900 | 5.7491 | 37830900 | 2948160 | 40779100 | 2246980 | 7733450 | 62.0244 | 110 | 170 |  | 23498700 | 4.9879 | 35583900 | 5195140 | 40779100 | 5195140 | 4961810 | 4728470 | 4495130 | 4261790 | 4028450 | 3795110 | 3561770 | 3328430 | 3095100 | 2861760 | 2628420 | 2395080 | 2161740 | 1928400 | 1695060 | 2246980 | 2013650 | 1780310 | 1546970 | 1313630 | 1080290 | 846950 | 613610 | 380270 | 146940 | -86400 | -319740 | -553080 | -786420 | -1019760 | -1253100 | 23333885.2941 | -21086900.1471 | 90.37% | 170 | 110 | 90.37% | 120 | 90.94% | 90.34% | 89.86% | 89.45% | 89.14% | 88.9% | 88.7%
10968600 | 65.1493 | 120 | 170 | 6245.9918 | 28166100 | 5.2175 | 41464800 | 3772560 | 46519800 | 2581620 | 8062030 | 62.0244 | 120 | 170 |  | 24032700 | 4.6761 | 37588600 | 6354180 | 43942800 | 6354180 | 6099630 | 5845080 | 5590530 | 5335980 | 5081420 | 4826870 | 4572320 | 4317770 | 4063220 | 3808670 | 3554120 | 3299570 | 3045010 | 2790460 | 2535910 | 2581620 | 2327070 | 2072520 | 1817970 | 1563420 | 1308860 | 1054310 | 799760 | 545210 | 290660 | 36110 | -218440 | -472990 | -727550 | -982100 | -1236650 | 25455138.2353 | -22873516.6176 | 89.86% | 170 | 120 | 89.86%
5088440 | 65.1493 | 40 | 175 | 2265.7757 | 19288800 | 10.281 | 20962600 | -3355560 | 17607000 | -349700 | 5482150 | 65.1493 | 40 | 175 |  | 19847000 | 10.5784 | 21312300 | -3705260 | 17607000 | -3705260 | -3798150 | -3891040 | -3983930 | -4076820 | -4169710 | -4262590 | -4355480 | -4448370 | -4541260 | -4634150 | -4727040 | -4819930 | -4912820 | -5005710 | -5098600 | -349700 | -442590 | -535480 | -628370 | -721260 | -814150 | -907030 | -999920 | -1092810 | -1185700 | -1278590 | -1371480 | -1464370 | -1557260 | -1650150 | -1743040 | 9288911.7647 | -9638612.1324 | 103.8% | 175 | 40 | 103.8%
6004160 | 65.1493 | 50 | 175 | 2832.2196 | 20656800 | 8.808 | 23952600 | -2150930 | 21801700 | 144550 | 5841410 | 65.1493 | 50 | 175 |  | 20426100 | 8.7097 | 23808100 | -2006380 | 21801700 | -2006380 | -2122490 | -2238600 | -2354710 | -2470830 | -2586940 | -2703050 | -2819160 | -2935270 | -3051380 | -3167500 | -3283610 | -3399720 | -3515830 | -3631940 | -3748060 | 144550 | 28440 | -87670 | -203780 | -319900 | -436010 | -552120 | -668230 | -784340 | -900450 | -1016570 | -1132680 | -1248790 | -1364900 | -1481010 | -1597130 | 11611180.8824 | -11466629.1912 | 98.76% | 175 | 50 | 98.76% | 0.2 | Column Labels 160: 16; Column Labels 165: 45.1%
6878670 | 65.1493 | 60 | 175 | 3398.6635 | 21966200 | 7.8053 | 26870000 | -960107 | 25909900 | 604307 | 6198300 | 65.1493 | 60 | 175 |  | 21001700 | 7.4626 | 26265700 | -355800 | 25909900 | -355800 | -495134 | -634468 | -773802 | -913136 | -1052470 | -1191800 | -1331140 | -1470470 | -1609810 | -1749140 | -1888480 | -2027810 | -2167140 | -2306480 | -2445810 | 604307 | 464973 | 325639 | 186305 | 46971 | -92363 | -231693 | -371033 | -510363 | -649703 | -789033 | -928373 | -1067703 | -1207033 | -1346373 | -1485703 | 13933416.1765 | -13329108.5882 | 95.66% | 175 | 60 | 95.66% | 0.3 | Column Labels 160: 24; Column Labels 165: 62%
7720970 | 65.1493 | 70 | 175 | 3965.1074 | 23230000 | 7.0752 | 29722100 | 207817 | 29929900 | 1037333 | 6553070 | 65.1493 | 70 | 175 |  | 21574400 | 6.571 | 28684700 | 1245150 | 29929900 | 1245150 | 1082590 | 920037 | 757480 | 594924 | 432368 | 269811 | 107253 | -55303 | -217859 | -380416 | -542972 | -705529 | -868085 | -1030640 | -1193200 | 1037333 | 874773 | 712220 | 549663 | 387107 | 224551 | 61994 | -100564 | -263120 | -425676 | -588233 | -750789 | -913346 | -1075902 | -1238457 | -1401017 | 16255650.1471 | -15218317.8235 | 93.62% | 175 | 70 | 93.62% | 0.4 | Column Labels 160: 32; Column Labels 165: 74%
8537100 | 65.1493 | 80 | 175 | 4531.5514 | 24456800 | 6.5177 | 32513500 | 1346430 | 33859900 | 1448770 | 6905960 | 65.1493 | 80 | 175 |  | 22144600 | 5.9015 | 31064700 | 2795200 | 33859900 | 2795200 | 2609430 | 2423650 | 2237870 | 2052090 | 1866310 | 1680530 | 1494750 | 1308970 | 1123190 | 937416 | 751637 | 565858 | 380079 | 194301 | 8522.17 | 1448770 | 1263000 | 1077220 | 891440 | 705660 | 519880 | 334100 | 148320 | -37460 | -223240 | -409014 | -594793 | -780572 | -966351 | -1152129 | -1337907.83 | 18577893.3015 | -17129118.6057 | 92.2% | 175 | 80 | 92.2% | 0.5 | Column Labels 160: 40; Column Labels 165: 82%
9331340 | 65.1493 | 90 | 175 | 5097.9953 | 25652700 | 6.0768 | 35247300 | 2450870 | 37698200 | 1842280 | 7257170 | 65.1493 | 90 | 175 |  | 22712400 | 5.3803 | 33405000 | 4293150 | 37698200 | 4293150 | 4084150 | 3875150 | 3666150 | 3457150 | 3248140 | 3039140 | 2830140 | 2621140 | 2412140 | 2203140 | 1994140 | 1785140 | 1576130 | 1367130 | 1158130 | 1842280 | 1633280 | 1424280 | 1215280 | 1006280 | 797270 | 588270 | 379270 | 170270 | -38730 | -247730 | -456730 | -665730 | -874740 | -1083740 | -1292740 | 20900138.2353 | -19057856.6176 | 91.19% | 175 | 90 | 91.19% | 0.6 | Column Labels 160: 48; Column Labels 165: 90%
10106900 | 65.1493 | 100 | 175 | 5664.4392 | 26822200 | 5.7185 | 37925700 | 3517270 | 41443000 | 2220530 | 7606860 | 65.1493 | 100 | 175 |  | 23278300 | 4.9629 | 35705200 | 5737800 | 41443000 | 5737800 | 5505580 | 5273350 | 5041130 | 4808910 | 4576680 | 4344460 | 4112230 | 3880010 | 3647790 | 3415560 | 3183340 | 2951120 | 2718890 | 2486670 | 2254450 | 2220530 | 1988310 | 1756080 | 1523860 | 1291640 | 1059410 | 827190 | 594960 | 362740 | 130520 | -101710 | -333930 | -566150 | -798380 | -1030600 | -1262820 | 23222360.2941 | -21001830.1471 | 90.44% | 175 | 100 | 90.44% | 0.7 | Column Labels 160: 56; Column Labels 165: 94.5%
10866200 | 65.1493 | 110 | 175 | 6230.8831 | 27968900 | 5.4209 | 40550100 | 4542420 | 45092500 | 2585570 | 7955170 | 65.1493 | 110 | 175 |  | 23842400 | 4.6211 | 37964500 | 7127990 | 45092500 | 7127990 | 6872550 | 6617100 | 6361660 | 6106210 | 5850770 | 5595320 | 5339870 | 5084430 | 4828980 | 4573540 | 4318090 | 4062640 | 3807200 | 3551750 | 3296310 | 2585570 | 2330130 | 2074680 | 1819240 | 1563790 | 1308350 | 1052900 | 797450 | 542010 | 286560 | 31120 | -224330 | -479780 | -735220 | -990670 | -1246110 | 25544577.9412 | -22959003.9706 | 89.88% | 175 | 110 | 89.88% | 0.8 | Column Labels 160: 64; Column Labels 165: 97.5%
11611200 | 62.5005 | 120 | 175 | 6797.3271 | 29083900 | 5.3862 | 41977700 | 5523540 | 46368300 | 2939050 | 8302220 | 65.1493 | 120 | 175 |  | 24404800 | 4.3359 | 40182400 | 8462590 | 48645000 | 8462590 | 8183920 | 7905250 | 7626580 | 7347910 | 7069250 | 6790580 | 6511910 | 6233240 | 5954570 | 5675900 | 5397240 | 5118570 | 4839900 | 4561230 | 4282560 | 2939050 | 2660380 | 2381710 | 2103040 | 1824370 | 1545710 | 1267040 | 988370 | 709700 | 431030 | 152360 | -126300 | -404970 | -683640 | -962310 | -1240980 | 27866838.2353 | -24927790.3676 | 89.45% | 175 | 120 | 89.45% | 0.9 | Column Labels 160: 72; Column Labels 165: 99%
5371540 | 62.5005 | 40 | 180 | 2467.9984 | 19704600 | 9.642 | 22032100 | -2813320 | 19218800 | -169510 | 5562400 | 62.5005 | 40 | 180 |  | 19975200 | 9.7744 | 22201600 | -2982830 | 19218800 | -2982830 | -3083970 | -3185110 | -3286250 | -3387390 | -3488530 | -3589670 | -3690810 | -3791950 | -3893090 | -3994230 | -4095370 | -4196510 | -4297650 | -4398790 | -4499930 | -169510 | -270650 | -371790 | -472930 | -574070 | -675210 | -776350 | -877490 | -978630 | -1079770 | -1180910 | -1282050 | -1383190 | -1484330 | -1585470 | -1686610 | 10114000 | -10283510 | 101.7% | 180 | 40 | 101.7% | 1 | Column Labels 160: 80; Column Labels 165: 100%
6335060 | 62.5005 | 50 | 180 | 3084.998 | 21142700 | 8.2766 | 25267900 | -1452700 | 23815200 | 351310 | 5939530 | 62.5005 | 50 | 180 |  | 20582000 | 8.0571 | 24916600 | -1101390 | 23815200 | -1101390 | -1227810 | -1354240 | -1480660 | -1607090 | -1733510 | -1859940 | -1986360 | -2112780 | -2239210 | -2365630 | -2492060 | -2618480 | -2744910 | -2871330 | -2997760 | 351310 | 224890 | 98460 | -27960 | -154390 | -280810 | -407240 | -533660 | -660080 | -786510 | -912930 | -1039360 | -1165780 | -1292210 | -1418630 | -1545060 | 12642452.9412 | -12291141.4706 | 97.22% | 180 | 50 | 97.22% | 1.1 | Column Labels 160: 88; Column Labels 165: 99.8%
7254860 | 62.5005 | 60 | 180 | 3701.9976 | 22518700 | 7.346 | 28428500 | -103940 | 28324500 | 835678 | 6313990 | 62.5005 | 60 | 180 |  | 21185000 | 6.9109 | 27592800 | 731738 | 28324500 | 731738 | 580029 | 428319 | 276610 | 124901 | -26809.4 | -178519 | -330229 | -481938 | -633647 | -785357 | -937067 | -1088780 | -1240490 | -1392200 | -1543910 | 835678 | 683969 | 532259 | 380550 | 228841 | 77130.6 | -74579 | -226289 | -377998 | -529707 | -681417 | -833127 | -984840 | -1136550 | -1288260 | -1439970 | 15170987.2059 | -14335307.5029 | 94.49% | 180 | 60 | 94.49% | 1.2 | Column Labels 160: 96; Column Labels 165: 99.3%
8140490 | 62.5005 | 70 | 180 | 4318.9972 | 23846300 | 6.6678 | 31521800 | 1223350 | 32745100 | 1291790 | 6686100 | 62.5005 | 70 | 180 |  | 21784600 | 6.0913 | 30230000 | 2515140 | 32745100 | 2515140 | 2338150 | 2161150 | 1984160 | 1807160 | 1630170 | 1453170 | 1276180 | 1099190 | 922191 | 745196 | 568202 | 391206 | 214213 | 37217.4 | -139777 | 1291790 | 1114800 | 937800 | 760810 | 583810 | 406820 | 229820 | 52830 | -124160 | -301159 | -478154 | -655148 | -832144 | -1009137 | -1186132.6 | -1363127 | 17699452.1765 | -16407660.8632 | 92.7% | 180 | 70 | 92.7% | 1.3 | Column Labels 160: 104; Column Labels 165: 0.985
8998370 | 62.5005 | 80 | 180 | 4935.9968 | 25134600 | 6.1495 | 34552800 | 2522410 | 37075200 | 1725090 | 7056130 | 62.5005 | 80 | 180 |  | 22381400 | 5.4759 | 32827700 | 4247500 | 37075200 | 4247500 | 4045220 | 3842940 | 3640670 | 3438390 | 3236110 | 3033830 | 2831550 | 2629270 | 2426990 | 2224710 | 2022430 | 1820150 | 1617870 | 1415590 | 1213310 | 1725090 | 1522810 | 1320530 | 1118260 | 915980 | 713700 | 511420 | 309140 | 106860 | -95420 | -297700 | -499980 | -702260 | -904540 | -1106820 | -1309100 | 20227942.6471 | -18502848.8235 | 91.47% | 180 | 80 | 91.47%
9833050 | 62.5005 | 90 | 180 | 5552.9964 | 26390100 | 5.7393 | 37524800 | 3788130 | 41312900 | 2139440 | 7424320 | 62.5005 | 90 | 180 |  | 22975600 | 4.9967 | 35385300 | 5927570 | 41312900 | 5927570 | 5700000 | 5472440 | 5244870 | 5017310 | 4789740 | 4562180 | 4334620 | 4107050 | 3879490 | 3651920 | 3424360 | 3196790 | 2969230 | 2741660 | 2514100 | 2139440 | 1911870 | 1684310 | 1456740 | 1229180 | 1001610 | 774050 | 546490 | 318920 | 91360 | -136210 | -363770 | -591340 | -818900 | -1046470 | -1274030 | 22756454.4118 | -20617017.2059 | 90.6% | 180 | 90 | 90.6%
10647900 | 62.5005 | 100 | 180 | 6169.996 | 27617700 | 5.4056 | 40440100 | 5016460 | 45456600 | 2537660 | 7790860 | 62.5005 | 100 | 180 |  | 23567700 | 4.6129 | 37902400 | 7554120 | 45456600 | 7554120 | 7301270 | 7048420 | 6795570 | 6542720 | 6289870 | 6037020 | 5784170 | 5531320 | 5278470 | 5025620 | 4772770 | 4519920 | 4267080 | 4014230 | 3761380 | 2537660 | 2284810 | 2031960 | 1779110 | 1526260 | 1273410 | 1020560 | 767710 | 514860 | 262010 | 9160 | -243690 | -496540 | -749380 | -1002230 | -1255080 | 25284942.6471 | -22747285.0735 | 89.96% | 180 | 100 | 89.96%
11445600 | 62.5005 | 110 | 180 | 6786.9956 | 28821100 | 5.1283 | 43300300 | 6204040 | 49504300 | 2921920 | 8155890 | 62.5005 | 110 | 180 |  | 24157700 | 4.2985 | 40378400 | 9125960 | 49504300 | 9125960 | 8847830 | 8569700 | 8291560 | 8013430 | 7735290 | 7457160 | 7179020 | 6900890 | 6622760 | 6344620 | 6066490 | 5788350 | 5510220 | 5232080 | 4953950 | 2921920 | 2643790 | 2365660 | 2087520 | 1809390 | 1531250 | 1253120 | 974980 | 696850 | 418720 | 140580 | -137550 | -415690 | -693820 | -971960 | -1250090 | 27813430.8824 | -24891506.6912 | 89.49% | 180 | 110 | 89.49%
12228100 | 65.272 | 120 | 180 | 7403.9952 | 30016900 | 4.6881 | 47464900 | 7347990 | 56158300 | 3293910 | 8519560 | 62.5005 | 120 | 180 |  | 24746000 | 4.0363 | 42812500 | 10641900 | 53454500 | 10641900 | 10338500 | 10035100 | 9731690 | 9428270 | 9124850 | 8821430 | 8518010 | 8214590 | 7911170 | 7607750 | 7304330 | 7000910 | 6697500 | 6394070 | 6090660 | 3293910 | 2990510 | 2687110 | 2383700 | 2080280 | 1776860 | 1473440 | 1170020 | 866600 | 563180 | 259760 | -43660 | -347080 | -650490 | -953920 | -1257330 | 30341777.9412 | -27047838.9706 | 89.14% | 180 | 120 | 89.14%
5650030 | 65.272 | 40 | 185 | 2664.9286 | 20115000 | 9.0708 | 23127200 | -2240050 | 20887100 | 13220 | 5635140 | 65.272 | 40 | 185 |  | 20093900 | 9.0613 | 23113900 | -2226830 | 20887100 | -2226830 | -2336530 | -2446240 | -2555950 | -2665650 | -2775360 | -2885060 | -2994770 | -3104480 | -3214180 | -3323890 | -3433600 | -3543300 | -3653010 | -3762720 | -3872420 | 13220 | -96480 | -206190 | -315900 | -425600 | -535310 | -645010 | -754720 | -864430 | -974130 | -1083840 | -1193550 | -1303250 | -1412960 | -1522670 | -1632370 | 10970633.8235 | -10957410.6618 | 99.88% | 185 | 40 | 99.88%
6659710 | 65.272 | 50 | 185 | 3331.1608 | 21621100 | 7.7999 | 26614400 | -715191 | 25899200 | 560834 | 6028290 | 65.272 | 50 | 185 |  | 20726000 | 7.477 | 26053600 | -154357 | 25899200 | -154357 | -291489 | -428622 | -565756 | -702889 | -840022 | -977155 | -1114290 | -1251420 | -1388550 | -1525690 | -1662820 | -1799950 | -1937090 | -2074220 | -2211350 | 560834 | 423702 | 286569 | 149435 | 12302 | -124831 | -261964 | -399099 | -536229 | -673359 | -810499 | -947629 | -1084759 | -1221899 | -1359029 | -1496159 | 13713303.5294 | -13152469.1397 | 95.91% | 185 | 50 | 95.91%
7623130 | 65.272 | 60 | 185 | 3997.393 | 23061400 | 6.9329 | 30024000 | 799773 | 30823800 | 1069977 | 6418470 | 65.272 | 60 | 185 |  | 21353700 | 6.4196 | 28954100 | 1869750 | 30823800 | 1869750 | 1705190 | 1540630 | 1376070 | 1211510 | 1046950 | 882392 | 717832 | 553273 | 388713 | 224153 | 59592.6 | -104967 | -269527 | -434087 | -598646 | 1069977 | 905417 | 740857 | 576297 | 411737 | 247177 | 82619 | -81941 | -246500 | -411060 | -575620 | -740180.4 | -904740 | -1069300 | -1233860 | -1398419 | 16455971.1471 | -15385994.5235 | 93.5% | 185 | 60 | 93.5%
8550410 | 65.272 | 70 | 185 | 4663.6251 | 24450500 | 6.3005 | 33364300 | 2294710 | 35659000 | 1549310 | 6806080 | 65.272 | 70 | 185 |  | 21977800 | 5.6633 | 31815000 | 3844020 | 35659000 | 3844020 | 3652040 | 3460050 | 3268060 | 3076080 | 2884090 | 2692100 | 2500120 | 2308130 | 2116140 | 1924160 | 1732170 | 1540190 | 1348200 | 1156210 | 964226 | 1549310 | 1357330 | 1165340 | 973350 | 781370 | 589380 | 397390 | 205410 | 13420 | -178570 | -370550 | -562540 | -754520 | -946510 | -1138500 | -1330484 | 19198642.6471 | -17649330.3235 | 91.93% | 185 | 70 | 91.93%
9448340 | 65.272 | 80 | 185 | 5329.8573 | 25798000 | 5.8167 | 36640600 | 3762500 | 40403100 | 2004580 | 7191430 | 65.272 | 80 | 185 |  | 22598700 | 5.0954 | 34636000 | 5767080 | 40403100 | 5767080 | 5547670 | 5328260 | 5108840 | 4889430 | 4670020 | 4450610 | 4231190 | 4011780 | 3792370 | 3572950 | 3353540 | 3134130 | 2914710 | 2695300 | 2475890 | 2004580 | 1785170 | 1565760 | 1346340 | 1126930 | 907520 | 688110 | 468690 | 249280 | 29870 | -189550 | -408960 | -628370 | -847790 | -1067200 | -1286610 | 21941295.5882 | -19936712.7941 | 90.86% | 185 | 80 | 90.86%
10321700 | 65.272 | 90 | 185 | 5996.0894 | 27110800 | 5.4336 | 39856500 | 5197790 | 45054300 | 2439850 | 7574790 | 65.272 | 90 | 185 |  | 23216800 | 4.6531 | 37416600 | 7637640 | 45054300 | 7637640 | 7390800 | 7143960 | 6897120 | 6650280 | 6403440 | 6156600 | 5909760 | 5662920 | 5416080 | 5169240 | 4922400 | 4675560 | 4428720 | 4181880 | 3935040 | 2439850 | 2193010 | 1946170 | 1699330 | 1452490 | 1205650 | 958810 | 711970 | 465130 | 218290 | -28550 | -275390 | -522230 | -769070 | -1015910 | -1262750 | 24684000 | -22244150 | 90.12% | 185 | 90 | 90.12%
11174200 | 65.272 | 100 | 185 | 6662.3216 | 28394100 | 5.1217 | 43014400 | 6596330 | 49610700 | 2858110 | 7956360 | 65.272 | 100 | 185 |  | 23832600 | 4.2989 | 40156300 | 9454440 | 49610700 | 9454440 | 9180180 | 8905910 | 8631640 | 8357380 | 8083110 | 7808840 | 7534580 | 7260310 | 6986050 | 6711780 | 6437510 | 6163250 | 5888980 | 5614710 | 5340450 | 2858110 | 2583850 | 2309580 | 2035310 | 1761050 | 1486780 | 1212510 | 938250 | 663980 | 389720 | 115450 | -158820 | -433080 | -707350 | -981620 | -1255880 | 27426629.4118 | -24568517.2059 | 89.58% | 185 | 100 | 89.58%
12008500 | 65.272 | 110 | 185 | 7328.5537 | 29651700 | 4.8623 | 46116000 | 7954620 | 54070700 | 3261680 | 8336310 | 65.272 | 110 | 185 |  | 24446200 | 4.0087 | 42854400 | 11216300 | 54070700 | 11216300 | 10914600 | 10612900 | 10311200 | 10009500 | 9707810 | 9406120 | 9104430 | 8802730 | 8501040 | 8199350 | 7897650 | 7595960 | 7294270 | 6992580 | 6690880 | 3261680 | 2959980 | 2658280 | 2356580 | 2054880 | 1753190 | 1451500 | 1149810 | 848110 | 546420 | 244730 | -56970 | -358660 | -660350 | -962040 | -1263740 | 30169388.2353 | -26907721.6176 | 89.19% | 185 | 110 | 89.19%
12826800 | 68.3336 | 120 | 185 | 7994.7859 | 30902600 | 4.437 | 50721400 | 9269650 | 61534700 | 3652250 | 8714790 | 65.272 | 120 | 185 |  | 25057800 | 3.7666 | 45510300 | 12921900 | 58432300 | 12921900 | 12592800 | 12263700 | 11934600 | 11605500 | 11276400 | 10947200 | 10618100 | 10289000 | 9959870 | 9630750 | 9301630 | 8972520 | 8643400 | 8314280 | 7985160 | 3652250 | 3323150 | 2994050 | 2664950 | 2335850 | 2006750 | 1677550 | 1348450 | 1019350 | 690220 | 361100 | 31980 | -297130 | -626250 | -955370 | -1284490 | 32911810.2941 | -29259523.8971 | 88.9% | 185 | 120 | 88.9%
5948210 | 68.3336 | 40 | 190 | 2884.4005 | 20555000 | 8.5379 | 24315800 | -1611640 | 22704200 | 209000 | 5712900 | 68.3336 | 40 | 190 |  | 20221400 | 8.3993 | 24106800 | -1402640 | 22704200 | -1402640 | -1521690 | -1640740 | -1759790 | -1878840 | -1997890 | -2116940 | -2235990 | -2355040 | -2474090 | -2593150 | -2712200 | -2831250 | -2950300 | -3069350 | -3188400 | 209000 | 89950 | -29100 | -148150 | -267200 | -386250 | -505300 | -624350 | -743400 | -862450 | -981510 | -1100560 | -1219610 | -1338660 | -1457710 | -1576760 | 11905088.2353 | -11696085.3676 | 98.24% | 190 | 40 | 98.24%
7007180 | 68.3336 | 50 | 190 | 3605.5006 | 22133700 | 7.3549 | 28076300 | 92915.5 | 28169200 | 785143.5 | 6123210 | 68.3336 | 50 | 190 |  | 20880600 | 6.9385 | 27291200 | 878059 | 28169200 | 878059 | 729245 | 580430 | 431617 | 282803 | 133990 | -14824 | -163638 | -312452 | -461265 | -610080 | -758893 | -907707 | -1056520 | -1205330 | -1354150 | 785143.5 | 636329.5 | 487514.5 | 338701.5 | 189887.5 | 41074.5 | -107739.5 | -256553.5 | -405367.5 | -554180.5 | -702995.5 | -851808.5 | -1000622.5 | -1149435.5 | -1298245.5 | -1447065.5 | 14881372.7941 | -14096230.0221 | 94.72% | 190 | 50 | 94.72%
8017160 | 68.3336 | 60 | 190 | 4326.6007 | 23642700 | 6.547 | 31756400 | 1789700 | 33546100 | 1320660 | 6530260 | 68.3336 | 60 | 190 |  | 21535000 | 5.9633 | 30435700 | 3110360 | 33546100 | 3110360 | 2931790 | 2753210 | 2574630 | 2396050 | 2217480 | 2038900 | 1860320 | 1681750 | 1503170 | 1324590 | 1146020 | 967442 | 788865 | 610289 | 431713 | 1320660 | 1142090 | 963510 | 784930 | 606350 | 427780 | 249200 | 70620 | -107950 | -286530 | -465110 | -643680 | -822258 | -1000835 | -1179411 | -1357987 | 17857665.4412 | -16537004.3456 | 92.6% | 190 | 60 | 92.6%
8988880 | 68.3336 | 70 | 190 | 5047.7009 | 25097500 | 5.957 | 35365000 | 3468010 | 38833000 | 1824700 | 6934490 | 68.3336 | 70 | 190 |  | 22185300 | 5.2657 | 33540300 | 5292710 | 38833000 | 5292710 | 5084380 | 4876030 | 4667690 | 4459360 | 4251020 | 4042680 | 3834340 | 3626000 | 3417660 | 3209320 | 3000980 | 2792640 | 2584300 | 2375960 | 2167620 | 1824700 | 1616370 | 1408020 | 1199680 | 991350 | 783010 | 574670 | 366330 | 157990 | -50350 | -258690 | -467030 | -675370 | -883710 | -1092050 | -1300390 | 20833948.5294 | -19009244.2647 | 91.24% | 190 | 70 | 91.24%
9929540 | 68.3336 | 80 | 190 | 5768.801 | 26508200 | 5.5053 | 38907900 | 5120360 | 44028200 | 2303330 | 7336280 | 68.3336 | 80 | 190 |  | 22832100 | 4.7419 | 36604500 | 7423690 | 44028200 | 7423690 | 7185590 | 6947480 | 6709380 | 6471280 | 6233180 | 5995080 | 5756970 | 5518870 | 5280770 | 5042670 | 4804570 | 4566460 | 4328360 | 4090260 | 3852160 | 2303330 | 2065230 | 1827120 | 1589020 | 1350920 | 1112820 | 874720 | 636610 | 398510 | 160410 | -77690 | -315790 | -553900 | -792000 | -1030100 | -1268200 | 23810204.4118 | -21506875.9559 | 90.33% | 190 | 80 | 90.33%
10844300 | 68.3336 | 90 | 190 | 6489.9011 | 27882200 | 5.1473 | 42388800 | 6741100 | 49129900 | 2760840 | 7735900 | 68.3336 | 90 | 190 |  | 23476000 | 4.3339 | 39627900 | 9501940 | 49129900 | 9501940 | 9234080 | 8966210 | 8698350 | 8430480 | 8162620 | 7894760 | 7626890 | 7359020 | 7091160 | 6823290 | 6555430 | 6287570 | 6019700 | 5751840 | 5483970 | 2760840 | 2492980 | 2225110 | 1957250 | 1689380 | 1421520 | 1153660 | 885790 | 617920 | 350060 | 82190 | -185670 | -453530 | -721400 | -989260 | -1257130 | 26786466.1765 | -24025624.3382 | 89.69% | 190 | 90 | 89.69%
11736800 | 68.3336 | 100 | 190 | 7211.0012 | 29225000 | 4.8556 | 45810300 | 8325800 | 54136100 | 3200400 | 8133590 | 68.3336 | 100 | 190 |  | 24117200 | 4.007 | 42609900 | 11526200 | 54136100 | 11526200 | 11228600 | 10930900 | 10633300 | 10335700 | 10038100 | 9740440 | 9442810 | 9145180 | 8847550 | 8549920 | 8252300 | 7954670 | 7657040 | 7359410 | 7061790 | 3200400 | 2902800 | 2605100 | 2307500 | 2009900 | 1712300 | 1414640 | 1117010 | 819380 | 521750 | 224120 | -73500 | -371130 | -668760 | -966390 | -1264010 | 29762757.3529 | -26562356.1765 | 89.25% | 190 | 100 | 89.25%
12610200 | 68.3336 | 110 | 190 | 7932.1013 | 30540600 | 4.6129 | 49174400 | 9870790 | 59045200 | 3624410 | 8529550 | 68.3336 | 110 | 190 |  | 24756000 | 3.7392 | 45550000 | 13495200 | 59045200 | 13495200 | 13167800 | 12840400 | 12513000 | 12185700 | 11858300 | 11530900 | 11203500 | 10876100 | 10548700 | 10221300 | 9893920 | 9566530 | 9239140 | 8911750 | 8584360 | 3624410 | 3297010 | 2969610 | 2642210 | 2314910 | 1987510 | 1660110 | 1332710 | 1005310 | 677910 | 350510 | 23130 | -304260 | -631650 | -959040 | -1286430 | 32738941.1765 | -29114523.0882 | 88.93% | 190 | 110 | 88.93%
13466600 | 60.1 | 120 | 190 | 8653.2015 | 31788300 | 5.0043 | 48136500 | 11372900 | 55206100 | 4034900 | 8923930 | 68.3336 | 120 | 190 |  | 25392800 | 3.5158 | 48447500 | 15407800 | 63855300 | 15407800 | 15050600 | 14693500 | 14336300 | 13979200 | 13622000 | 13264900 | 12907700 | 12550500 | 12193400 | 11836200 | 11479100 | 11121900 | 10764800 | 10407600 | 10050500 | 4034900 | 3677700 | 3320600 | 2963400 | 2606300 | 2249100 | 1892000 | 1534800 | 1177600 | 820500 | 463300 | 106200 | -251000 | -608100 | -965300 | -1322400 | 35715470.5882 | -31680585.2941 | 88.7% | 190 | 120 | 88.7%

## Parametric Results-Atlas Copco
Standard Turbine using Atlas Copco Performance Curve ( probably incorrectly)
Brine Effectiveness | Specified Plant Cost ($) | Plant Efficiency (%) | Production Well Flow Rate (kg/s per well) | Resource Temperature ('C) | Gross Turbine Output (kW) | Net capital cost ($) | Net capital cost per watt ($/W) | Present value of annual costs ($) | Net present value (after-tax) ($) | Present value of PPA revenue ($) | NPV Diff vs. Custom
3.3448 | 5243530 | 42.02 | 40 | 160 | 1406.025 | 19453800 | 18.3205 | 17069400 | -7449750 | 9619630 | -2658760 | Sum of Gross Turbine Output (kW) | Column Labels
3.8875 | 5549320 | 48.84 | 50 | 160 | 1956.0249 | 19957000 | 12.9359 | 19590700 | -5624390 | 13966300 | -1622420 | Row Labels | 160 | 165 | 170 | 175 | 180 | 185 | 190
4.1703 | 5853620 | 52.39 | 60 | 160 | 2479.151 | 20456200 | 10.3009 | 21886300 | -4034550 | 17851800 | -802270 | 40 | 1406.025 | 1574.2909 | 1770.9931 | 1941.6472 | 2141.2914 | 2345.0552 | 2560.8215
4.32 | 6156500 | 54.27 | 70 | 160 | 2954.3175 | 20952000 | 8.73 | 23999600 | -2637830 | 21361800 | -148260 | 50 | 1956.0249 | 2173.7276 | 2412.6168 | 2663.1493 | 2903.8178 | 3179.7156 | 3438.6445
4.3835 | 6458070 | 55.07 | 80 | 160 | 3420.5745 | 21444500 | 7.7048 | 25920800 | -1444430 | 24476400 | 334840 | 60 | 2479.151 | 2755.2699 | 3029.5551 | 3333.8615 | 3623.1805 | 3940.3168 | 4295.0128
4.396 | 6758440 | 55.23 | 90 | 160 | 3816.1323 | 21934200 | 6.9848 | 27672000 | -432911 | 27239100 | 672629 | 70 | 2954.3175 | 3302.8199 | 3597.1062 | 3943.2634 | 4286.0866 | 4697.915 | 5048.4718
4.3722 | 7057700 | 54.93 | 100 | 160 | 4222.726 | 22421000 | 6.4609 | 29248800 | 391877 | 29640700 | 863615 | 80 | 3420.5745 | 3783.0792 | 4126.785 | 4559.105 | 4908.2308 | 5347.3017 | 5751.6071
4.3311 | 7355940 | 54.41 | 110 | 160 | 4568.2336 | 22905700 | 6.0579 | 30690400 | 1068300 | 31758700 | 948968 | 90 | 3816.1323 | 4230.4964 | 4653.8214 | 5041.7276 | 5475.0143 | 5922.4544 | 6386.603
4.2528 | 7653240 | 53.43 | 120 | 160 | 4875.0208 | 23387000 | 5.7737 | 31884300 | 1484430 | 33368700 | 819203 | 100 | 4222.726 | 4628.4328 | 5060.5056 | 5507.7107 | 5970.2871 | 6460.8406 | 6937.731
3.8091 | 5317170 | 45.73 | 40 | 165 | 1574.2909 | 19569600 | 16.1821 | 17861200 | -6805740 | 11055500 | -2458060 | 110 | 4568.2336 | 5015.838 | 5469.1565 | 5949.5249 | 6426.3779 | 6978.2903 | 7518.7108
4.3559 | 5639420 | 52.29 | 50 | 165 | 2173.7276 | 20098200 | 11.6274 | 20584700 | -4811150 | 15773500 | -1381170 | 120 | 4875.0208 | 5358.4753 | 5850.0337 | 6381.9101 | 6928.3162 | 7437.8626 | 8021.0947
4.6493 | 5959900 | 55.81 | 60 | 165 | 2755.2699 | 20622700 | 9.3153 | 23101700 | -3032560 | 20069100 | -502690
4.8112 | 6278750 | 57.76 | 70 | 165 | 3302.8199 | 21143600 | 7.9098 | 25450400 | -1432850 | 24017500 | 222590
4.8653 | 6596110 | 58.41 | 80 | 165 | 3783.0792 | 21660300 | 7.0114 | 27545900 | -96689.6 | 27449200 | 715742.4 | Net Capital Costs ($/W) | Column Labels 160: Column Labels
4.8717 | 6912110 | 58.48 | 90 | 165 | 4230.4964 | 22174000 | 6.3725 | 29472900 | 1059280 | 30532200 | 1064517.19 |  | 160 | 165 | 170 | 175 | 180 | 185 | 190
4.8425 | 7226880 | 58.13 | 100 | 165 | 4628.4328 | 22684600 | 5.9026 | 31226300 | 2029360 | 33255700 | 1266727 | 40 | 18.3205 | 16.1821 | 14.3131 | 12.9577 | 11.7876 | 10.7461 | 9.8614
4.7674 | 7540510 | 57.23 | 110 | 165 | 5015.838 | 23191600 | 5.5722 | 32716400 | 2724320 | 35440700 | 1236080 | 50 | 12.9359 | 11.6274 | 10.4887 | 9.5638 | 8.7443 | 8.022 | 7.421
4.6823 | 7853100 | 56.21 | 120 | 165 | 5358.4753 | 23696200 | 5.3137 | 34058600 | 3258030 | 37316700 | 1088990 | 60 | 10.3009 | 9.3153 | 8.4524 | 7.746 | 7.1261 | 6.5737 | 6.09
4.3334 | 5394140 | 49.81 | 40 | 170 | 1770.9931 | 19691600 | 14.3131 | 18748600 | -6074940 | 12673600 | -2201250 | 70 | 8.73 | 7.9098 | 7.2354 | 6.6468 | 6.143 | 5.6695 | 5.2906
4.8642 | 5733600 | 55.91 | 50 | 170 | 2412.6168 | 20246700 | 10.4887 | 21659500 | -3927270 | 17732200 | -1108450 | 80 | 7.7048 | 7.0114 | 6.4203 | 5.9042 | 5.482 | 5.0994 | 4.7649
5.1673 | 6071000 | 59.39 | 60 | 170 | 3029.5551 | 20797600 | 8.4524 | 24411300 | -1948290 | 22463000 | -168570 | 90 | 6.9848 | 6.3725 | 5.8427 | 5.419 | 5.0366 | 4.6931 | 4.41
5.3096 | 6406530 | 61.03 | 70 | 170 | 3597.1062 | 21343900 | 7.2354 | 26920500 | -221331 | 26699200 | 543625 | 100 | 6.4609 | 5.9026 | 5.45 | 5.0606 | 4.7114 | 4.414 | 4.1388
5.3693 | 6740390 | 61.71 | 80 | 170 | 4126.785 | 21886400 | 6.4203 | 29239200 | 1304380 | 30543600 | 1084990 | 110 | 6.0579 | 5.5722 | 5.1502 | 4.7883 | 4.483 | 4.1902 | 3.929
5.3731 | 7072740 | 61.76 | 90 | 170 | 4653.8214 | 22425300 | 5.8427 | 31369900 | 2630730 | 34000600 | 1462020 | 120 | 5.7737 | 5.3137 | 4.9174 | 4.5969 | 4.2936 | 4.0145 | 3.7655
5.308 | 7403720 | 61.01 | 100 | 170 | 5060.5056 | 22959700 | 5.45 | 33188000 | 3633810 | 36821800 | 1554480
5.2246 | 7733450 | 60.05 | 110 | 170 | 5469.1565 | 23491100 | 5.1502 | 34834200 | 4452350 | 39286500 | 1504190 | Sum of Net present value (after-tax) ($) | Column Labels 160: Column Labels
5.1292 | 8062030 | 58.95 | 120 | 170 | 5850.0337 | 24019900 | 4.9174 | 36315000 | 5092410 | 41407400 | 1319850 |  | 160 | 165 | 170 | 175 | 180 | 185 | 190
4.8202 | 5482150 | 53.14 | 40 | 175 | 1941.6472 | 19829500 | 12.9577 | 19583700 | -5417540 | 14166100 | -2061980 | 40 | -7449750 | -6805740 | -6074940 | -5417540 | -4717650 | -3954980 | -3176820
5.3788 | 5841410 | 59.3 | 50 | 175 | 2663.1493 | 20415400 | 9.5638 | 22755600 | -3048870 | 19706800 | -897940 | 50 | -5624390 | -4811150 | -3927270 | -3048870 | -2100750 | -1091800 | -96172.6
5.6922 | 6198300 | 62.75 | 60 | 175 | 3333.8615 | 20996500 | 7.746 | 25747700 | -868943 | 24878700 | 91164 | 60 | -4034550 | -3032560 | -1948290 | -868943 | 270414 | 1480990 | 2735730
5.8419 | 6553070 | 64.4 | 70 | 175 | 3943.2634 | 21572500 | 6.6468 | 28496000 | 1058180 | 29554200 | 850363 | 70 | -2637830 | -1432850 | -221331 | 1058180 | 2364900 | 3822840 | 5194070
5.9069 | 6905960 | 65.12 | 80 | 175 | 4559.105 | 22144500 | 5.9042 | 31056300 | 2786840 | 33843100 | 1440410 | 80 | -1444430 | -96689.6 | 1304380 | 2786840 | 4224670 | 5749600 | 7307460
5.8676 | 7257170 | 64.68 | 90 | 175 | 5041.7276 | 22710900 | 5.419 | 33253000 | 4142590 | 37395600 | 1691720 | 90 | -432911 | 1059280 | 2630730 | 4142590 | 5745320 | 7425100 | 9034070
5.7948 | 7606860 | 63.88 | 100 | 175 | 5507.7107 | 23273700 | 5.0606 | 35248400 | 5285350 | 40533800 | 1768080 | 100 | 391877 | 2029360 | 3633810 | 5285350 | 7019890 | 8730870 | 10566400
5.7017 | 7955170 | 62.85 | 110 | 175 | 5949.5249 | 23833100 | 4.7883 | 37054400 | 6226440 | 43280800 | 1684020 | 110 | 1068300 | 2724320 | 4452350 | 6226440 | 7968700 | 9893430 | 11893300
5.5705 | 8302220 | 61.41 | 120 | 175 | 6381.9101 | 24388400 | 4.5969 | 38567800 | 6863130 | 45430900 | 1339590 | 120 | 1484430 | 3258030 | 5092410 | 6863130 | 8801760 | 10863700 | 13006900
5.3333 | 5562400 | 51.78 | 40 | 180 | 2141.2914 | 19957400 | 11.7876 | 20450100 | -4717650 | 15732500 | -1904330
5.9286 | 5939530 | 57.56 | 50 | 180 | 2903.8178 | 20571800 | 8.7443 | 23907600 | -2100750 | 21806800 | -648050 | Sum of Specified Plant Cost ($) | Column Labels 160: Column Labels
6.2421 | 6313990 | 60.6 | 60 | 180 | 3623.1805 | 21180300 | 7.1261 | 27127000 | 270414 | 27397400 | 374354 |  | 160 | 165 | 170 | 175 | 180 | 185 | 190
6.3824 | 6686100 | 61.97 | 70 | 180 | 4286.0866 | 21783100 | 6.143 | 30078300 | 2364900 | 32443200 | 1141550 | 40 | 5243530 | 5317170 | 5394140 | 5482150 | 5562400 | 5635140 | 5712900
6.4298 | 7056130 | 62.43 | 80 | 180 | 4908.2308 | 22381200 | 5.482 | 32804600 | 4224670 | 37029300 | 1702260 | 50 | 5549320 | 5639420 | 5733600 | 5841410 | 5939530 | 6028290 | 6123210
6.3853 | 7424320 | 62 | 90 | 180 | 5475.0143 | 22973800 | 5.0366 | 35201300 | 5745320 | 40946700 | 1957190 | 60 | 5853620 | 5959900 | 6071000 | 6198300 | 6313990 | 6418470 | 6530260
6.3018 | 7790860 | 61.18 | 100 | 180 | 5970.2871 | 23562200 | 4.7114 | 37363100 | 7019890 | 44383000 | 2003430 | 70 | 6156500 | 6278750 | 6406530 | 6553070 | 6686100 | 6806080 | 6934490
6.1698 | 8155890 | 59.9 | 110 | 180 | 6426.3779 | 24145900 | 4.483 | 39210000 | 7968700 | 47178700 | 1764660 | 80 | 6458070 | 6596110 | 6740390 | 6905960 | 7056130 | 7191430 | 7336280
6.0465 | 8519560 | 58.71 | 120 | 180 | 6928.3162 | 24727200 | 4.2936 | 40954600 | 8801760 | 49756400 | 1453770 | 90 | 6758440 | 6912110 | 7072740 | 7257170 | 7424320 | 7574790 | 7735900
5.8848 | 5635140 | 54.99 | 40 | 185 | 2345.0552 | 20076200 | 10.7461 | 21369000 | -3954980 | 17414000 | -1714930 | 100 | 7057700 | 7226880 | 7403720 | 7606860 | 7790860 | 7956360 | 8133590
6.5081 | 6028290 | 60.81 | 50 | 185 | 3179.7156 | 20716400 | 8.022 | 25107000 | -1091800 | 24015200 | -376609 | 110 | 7355940 | 7540510 | 7733450 | 7955170 | 8155890 | 8336310 | 8529550
6.8198 | 6418470 | 63.73 | 60 | 185 | 3940.3168 | 21349800 | 6.5737 | 28561500 | 1480990 | 30042500 | 681217 | 120 | 7653240 | 7853100 | 8062030 | 8302220 | 8519560 | 8714790 | 8923930
6.977 | 6806080 | 65.2 | 70 | 185 | 4697.915 | 21977600 | 5.6695 | 31793600 | 3822840 | 35616400 | 1528130
6.9796 | 7191430 | 65.22 | 80 | 185 | 5347.3017 | 22598500 | 5.0994 | 34618400 | 5749600 | 40368000 | 1987100
6.9251 | 7574790 | 64.71 | 90 | 185 | 5922.4544 | 23214700 | 4.6931 | 37202000 | 7425100 | 44627100 | 2227310
6.8005 | 7956360 | 63.55 | 100 | 185 | 6460.8406 | 23825200 | 4.414 | 39425700 | 8730870 | 48156500 | 2134540
6.6792 | 8336310 | 62.41 | 110 | 185 | 6978.2903 | 24432600 | 4.1902 | 41518600 | 9893430 | 51412100 | 1938810
6.5479 | 8714790 | 61.19 | 120 | 185 | 7437.8626 | 25036800 | 4.0145 | 43432000 | 10863700 | 54295700 | 1594050
6.4538 | 5712900 | 58.15 | 40 | 190 | 2560.8215 | 20203200 | 9.8614 | 22315200 | -3176820 | 19138300 | -1565180
7.087 | 6123210 | 63.86 | 50 | 190 | 3438.6445 | 20870600 | 7.421 | 26307300 | -96172.6 | 26211200 | -189088.1
7.4239 | 6530260 | 66.9 | 60 | 190 | 4295.0128 | 21531100 | 6.09 | 30057400 | 2735730 | 32793200 | 946030
7.5478 | 6934490 | 68.01 | 70 | 190 | 5048.4718 | 22184300 | 5.2906 | 33440700 | 5194070 | 38634800 | 1726060
7.5469 | 7336280 | 68 | 80 | 190 | 5751.6071 | 22830900 | 4.7649 | 36487200 | 7307460 | 43794600 | 2187100
7.4509 | 7735900 | 67.14 | 90 | 190 | 6386.603 | 23471200 | 4.41 | 39155400 | 9034070 | 48189500 | 2292970
7.3387 | 8133590 | 66.13 | 100 | 190 | 6937.731 | 24107300 | 4.1388 | 41640700 | 10566400 | 52207100 | 2240600
7.2128 | 8529550 | 64.99 | 110 | 190 | 7518.7108 | 24739600 | 3.929 | 43932300 | 11893300 | 55825600 | 2022510
7.0738 | 8923930 | 63.74 | 120 | 190 | 8021.0947 | 25368200 | 3.7655 | 46023000 | 13006900 | 59029900 | 1634000

## Results - Spec Plant cost
Comparison of Specified Plant Cost (Plant cost = (turbine + ACC + HX ….) * Direct Cost Mulitplier)
Custom Turbine is built to specific size of plant, cost varies with size and operating conditions (per GETEM)
Standard Turbine is fixed size/fixed price
Assumed that Balance of Plant (BOP) is same for both cases
Production Well Flow Rate (kg/s per well) | Resource Temperature ('C) | Custom Specifed Plant Cost ($) | Standard Specifed Plant Cost ($) | Plant Cost Savings (Custom - Standard)
40 | 160 | 4271570 | 5243530 | -971960 | Sum of Plant Cost Savings (Custom - Standard) | Column Labels
50 | 160 | 5047370 | 5549320 | -501950 | Row Labels | 160 | 165 | 170 | 175 | 180 | 185 | 190
60 | 160 | 5789090 | 5853620 | -64530 | 40 | -971960 | -787380 | -597040 | -393710 | -190860 | 14890 | 235310
70 | 160 | 6504140 | 6156500 | 347640 | 50 | -501950 | -289580 | -70780 | 162750 | 395530 | 631420 | 883970
80 | 160 | 7197510 | 6458070 | 739440 | 60 | -64530 | 173660 | 418850 | 680370 | 940870 | 1204660 | 1486900
90 | 160 | 7872730 | 6758440 | 1114290 | 70 | 347640 | 610090 | 880100 | 1167900 | 1454390 | 1744330 | 2054390
100 | 160 | 8532440 | 7057700 | 1474740 | 80 | 739440 | 1024900 | 1318420 | 1631140 | 1942240 | 2256910 | 2593260
110 | 160 | 9178670 | 7355940 | 1822730 | 90 | 1114290 | 1421730 | 1737690 | 2074170 | 2408730 | 2746910 | 3108400
120 | 160 | 9813020 | 7653240 | 2159780 | 100 | 1474740 | 1803270 | 2140760 | 2500040 | 2857040 | 3217840 | 3603210
40 | 165 | 4529790 | 5317170 | -787380 | 110 | 1822730 | 2171590 | 2529850 | 2911030 | 3289710 | 3672190 | 4080650
50 | 165 | 5349840 | 5639420 | -289580 | 120 | 2159780 | 2528300 | 2906570 | 3308980 | 3708540 | 4112010 | 4542670
60 | 165 | 6133560 | 5959900 | 173660
70 | 165 | 6888840 | 6278750 | 610090
80 | 165 | 7621010 | 6596110 | 1024900
90 | 165 | 8333840 | 6912110 | 1421730
100 | 165 | 9030150 | 7226880 | 1803270
110 | 165 | 9712100 | 7540510 | 2171590
120 | 165 | 10381400 | 7853100 | 2528300
40 | 170 | 4797100 | 5394140 | -597040
50 | 170 | 5662820 | 5733600 | -70780
60 | 170 | 6489850 | 6071000 | 418850
70 | 170 | 7286630 | 6406530 | 880100
80 | 170 | 8058810 | 6740390 | 1318420
90 | 170 | 8810430 | 7072740 | 1737690
100 | 170 | 9544480 | 7403720 | 2140760
110 | 170 | 10263300 | 7733450 | 2529850
120 | 170 | 10968600 | 8062030 | 2906570
40 | 175 | 5088440 | 5482150 | -393710
50 | 175 | 6004160 | 5841410 | 162750
60 | 175 | 6878670 | 6198300 | 680370
70 | 175 | 7720970 | 6553070 | 1167900 | Sum of Difference (Standard - Custom) | Column Labels 160: Column Labels
80 | 175 | 8537100 | 6905960 | 1631140 |  | 160 | 165 | 170 | 175 | 180 | 185 | 190
90 | 175 | 9331340 | 7257170 | 2074170 | 40 | -971960 | -787380 | -597040 | -393710 | -190860 | 14890 | 235310
100 | 175 | 10106900 | 7606860 | 2500040 | 50 | -501950 | -289580 | -70780 | 162750 | 395530 | 631420 | 883970
110 | 175 | 10866200 | 7955170 | 2911030 | 60 | -64530 | 173660 | 418850 | 680370 | 940870 | 1204660 | 1486900
120 | 175 | 11611200 | 8302220 | 3308980 | 70 | 347640 | 610090 | 880100 | 1167900 | 1454390 | 1744330 | 2054390
40 | 180 | 5371540 | 5562400 | -190860 | 80 | 739440 | 1024900 | 1318420 | 1631140 | 1942240 | 2256910 | 2593260
50 | 180 | 6335060 | 5939530 | 395530 | 90 | 1114290 | 1421730 | 1737690 | 2074170 | 2408730 | 2746910 | 3108400
60 | 180 | 7254860 | 6313990 | 940870 | 100 | 1474740 | 1803270 | 2140760 | 2500040 | 2857040 | 3217840 | 3603210
70 | 180 | 8140490 | 6686100 | 1454390 | 110 | 1822730 | 2171590 | 2529850 | 2911030 | 3289710 | 3672190 | 4080650
80 | 180 | 8998370 | 7056130 | 1942240 | 120 | 2159780 | 2528300 | 2906570 | 3308980 | 3708540 | 4112010 | 4542670
90 | 180 | 9833050 | 7424320 | 2408730
100 | 180 | 10647900 | 7790860 | 2857040
110 | 180 | 11445600 | 8155890 | 3289710
120 | 180 | 12228100 | 8519560 | 3708540
40 | 185 | 5650030 | 5635140 | 14890
50 | 185 | 6659710 | 6028290 | 631420
60 | 185 | 7623130 | 6418470 | 1204660
70 | 185 | 8550410 | 6806080 | 1744330
80 | 185 | 9448340 | 7191430 | 2256910
90 | 185 | 10321700 | 7574790 | 2746910
100 | 185 | 11174200 | 7956360 | 3217840
110 | 185 | 12008500 | 8336310 | 3672190
120 | 185 | 12826800 | 8714790 | 4112010
40 | 190 | 5948210 | 5712900 | 235310
50 | 190 | 7007180 | 6123210 | 883970
60 | 190 | 8017160 | 6530260 | 1486900
70 | 190 | 8988880 | 6934490 | 2054390
80 | 190 | 9929540 | 7336280 | 2593260
90 | 190 | 10844300 | 7735900 | 3108400
100 | 190 | 11736800 | 8133590 | 3603210
110 | 190 | 12610200 | 8529550 | 4080650
120 | 190 | 13466600 | 8923930 | 4542670

## Max BE vs. Resource Temp
Maximum brine effectiveness (Plant Efficiency = 100%) vs. Plant Brine Efficiency (W/lb/hr) from SAM for Binary Plant
Plant Efficiency (%) | Resource Temperature ('C) | Plant Brine Efficiency
100 | 150 | 7.2186
100 | 155 | 7.5897
100 | 160 | 7.96
100 | 165 | 8.3301
100 | 170 | 8.7003
100 | 175 | 9.0712
100 | 180 | 10.2996
100 | 185 | 10.7017
100 | 190 | 11.0978
100 | 195 | 11.4883
100 | 200 | 11.8736