## Sheet1
LOCATION | PRODUCTION | WELLS | ROCK TYPES | T°C | RESERVOIR VOLUME km3 | COMMENTS | REFERENCES
Idaho
Raft River | geothermal 10 MWe 4700 gpm | 5 | Precambrian metamorphic | 135-150 | 4 | Tertiary and Quaternary sedimentary basin fill overlies Precambrian units, comprising metasedimentary quartzite, schist, and quartz monzanite, which host the reservoir. | Blackett and Kolesaar, 1983; Nash and Moore, 2012; Ayling and Moore, 2013
Nevada
Beowawe | geothermal 18 MWe 5000 gpm | 3 | sedimentary and volcanic | 200 | 0.25 | Ordovician quartzite, chert, and siltstone overlain by Tertiary volcanic rocks comprise the stratigraphy. The reservoir is localized along the Malpais range front fault. The large volume silica sinter implies production >50 cubic kms of hot water. | Sibbett, 1983; Cole and Ravinsky, 1984; Hoang et al., 1987; Faulder et al., 1997; Watt et al., 2007; Benoit, 2013; Simmons et al., 2017.
Blue Mountain | geothermal 49.5 MWe 15,000 gpm max | 6 | sedimentary and volcanic | 160 | 1 | Mesozoic metasedimentary rocks, intruded by dikes and stocks host, underlie Quaternary basin fill. A complex fault-fracture mesh contains northeast-southwest and north-south trending faults which appear to control fluid flow. Temperature and production declined after the power plant was commissioned. | Casteel et al., 2010; Swyer et al., 2016
Dixie Valley | geothermal 70 MWe 13,000 gpm | 11 | sedimentary and volcanic | 250 | 2 | Fractured Mesozic metamorphic and igneous rocks overlain by a relatively thin sequence of basalts and tuffs and Quaternary basin fill comprise the stratigraphy. The reservoir is localized along the Stillwater range front fault. The reservoir is divided into two sectors named section 7 wells and section 33 wells. | Waibel, 1987; Blackwell et al., 2007; Benoit, 2013, 2015
Patua | geothermal 30 MWe 9100 gpm | 7 | crystalline igneous and volcanic | 150 | 9.4 | Fractured granitic (Mesozoic-Tertiary?) basement rocks host the reservoir and underlie Tertiary volcanic sequence and Quatenary alluvium-lacustrine deposits. Net production is ~20 MWe. | Coombs et al., 2012; Garg et al., 2015
San Emidio | geothermal 11.8 MWe 4500 gpm | 3 | sedimentary and volcanic | 160 | 0.5 | Mesozoic meta-sedimentary basement rocks underlie Tertiary volcanic-sedimentary sequence and Quatenary alluvium-lacustrine deposits. Recent announcements indicate the resource is larger than the existing field. | Rhodes et al., 2010
Soda Lake | geothermal 23 MWe 5400 gpm | 4 | sedimentary and volcanic | 200 | 0.5 | Granitic (Mesozoic-Tertiary?) basement rocks underlie Tertiary volcanic sequence and thick Quatenary alluvium-lacustrine deposits. The average net production is 7-8 MWe. Reservoir fluid flow and production intervals are distributed, indicating complex permeability structure. | McNitt, 1990; McLachlan et al., 2011; Benoit, 2016
New Mexico
Lightning Dock | geothermal 4 MWe 1500-1600 gpm | 1 | volcanic | 155 | 0.65 | Tertiary rhyolite volcanic welded tuff is the main host rock. Maximum temperatures 165 deg C. New 13.7 MWe power plant is to be commissioned in 2019. | Elston et al., 1983; Dahal et al., 2012; Crowell, J. and Crowell, A., 2014
Tularosa | geothermal-DOE Play Fairway | nil | sedimentary and volcanic | <100 | 10x15 km2 | Southern Rio Grande rift valley with elevated heat flow and the project is at an exploration phase. Water samples were collected from shallow ground water wells. | Nash et al., 2016, 2017; Brandt et al., 2017
Oregon
Neal Hot Springs | geothermal 22 MWe 12,000 gpm | 4 | volcanic | 145 | <1 | Miocene volcanic rocks crop out and host the geothermal reservoir. Production is associated with the Neal fault zone, which localized hot spring discharge at the surface. | Edwards, 2013; Warren, 2016
Utah
Roosevelt Hot Springs | geothermal 38 MWe 3900 gpm | 4 | crystalline igneous and metamorphic | 250 | 2 | Fractured crystalline basement rocks comprising Precambrian gneiss and Tertiary granitic plutons form the reservoir and underlie veneer of Quatenary alluvium. Fluid flow is controlled by fault-fracture mesh east of the Opal Mound fault. | Capuano and Cole, 1982; Nielson et al., 1986; Allis et al., 2016; Simmons et al., 2016
Thermo | geothermal 10 MWe 10,000 gpm | 5 | sedimentary and igneous | 130 | 1.25 | Paleozoic-Mesozoic sequence comprising marine carbonates and siliciclastic units forms the reservoir and overlies basement made of crystalline gneiss and granite. Overlying strata is made of Tertiary-Quaternary volcanic rocks and unconsolidated basin fill. Geothermal production comes from distributed permeability in the Redwall limestone. | Anderson et al., 2012
Sevier Thermal Belt | hot springs, geothermal, oil and gas | >20 | igneous and sedimentary; minor metamorphic rocks | 80-250 | 100x150 km2 | Comprises Cove Ft, Roosevelt Hot Springs, and Thermo geothermal production fields, localized hot springs, Quaternary volcanic centers, and possible sedimentary hosted geothermal resources near Pavant Butte. Crater comprises numerous springs (up to 87° C) with an aggregate flow rate of 90-140 kg/s, equivalent to a power output of ~20-45 MWth. The Meadow-Hatton thermal springs have cooler temperatures (40-60° C) and lower flows (<5 kg/s), but they are located within and around a thick travertine mound that covers ~1 km2. Joseph and Monroe hot springs (60-77° C) are associated with Quaternary faults, with power outputs of 5.0 and 0.4 MWth, respectively. | Hintze, 1980; Cole, 1983; Rush, 1983; Maybe and Budding, 1987; Ross et al., 1993; Blackett and Wakefield, 2002; Blackett, 2007; Simmons et al., 2015; Wannamaker et al., 2016; Allis et al. 2015; 2017
Newcastle | geothermal direct use | 7 | alluvial basin fill | 110 | 0.65 | Unconsolidated silt, sand and gravel beds associated with young basin fill alluvium. Production wells drilled between 500-1000'. Geothermal energy used to heat greenhouses during cooler months. Just one production well was sampled during summer, which could produce 750 gpm but was not in use. | Blackett et al., 1989; Allred, 2004; Blackett, 2004
Paradox Basin Aneth field | oil and gas | 785 | sedimentary | 50 | 10x20 km2 | Major reservoirs Ismay and Desert Creek zones are hosted in Pennsylvanian limestone units that are interbedded with shale units and thin beds of anhdyrite. The Paradox Salt directly underlies these units and ranges from <100 to >1000 ft thickness. Black, organic-rich marine shale within the Pennsylvanian Paradox Formation represent probable source rocks. | Petersen, 1992; Chidsey et al, 1996
Uinta Basin | oil and gas | >10,000 | sedimentary | 60-130 | 50x200 km2 | Major reservoirs are hosted in: Eocene Uinta, Green River and Colton/Wasatch formations; Cretaceous Mesaverde formation; Jurassic Entrada and Wingate formations; Permian Park City formation, and Pennsylvanian Weber formation. The primary source rocks are Eocene lacustrine shales and Cretaceous coal-bearing shales. | Hunt, 1956; Freethey et al., 1991; Fouch et al., 1992; Hintze and Kowalis, 2009; Hardwick et al., 2015
Notes
Geothermal power production refers to plant size.
Wells refers to production wells, only.
Rock types refers to lithologies in the vicinity of the reservoir.
Temperature refers to approximate reservoir temperatures.
The reservoir volume is a minimum estimate based on the area of the production zone times a thickness of 1 km, except Raft River which is ~0.5 km thick ; the areas of the Sevier Thermal Belt, Tularosa, the Paradox Basin, and the Uinta Basin are substituted for volumes.
References
Allis, R, Hardwick, C., Gwynn, M., and Johnson, S., 2015, Pavant Butte, Utah geothermal prospect revisited. GRC Transactions, v. 39, p. 379-387.
Allis, R.G., Moore, J.N., Davatzes, N., Gwynn, M., Hardwick, C., Kirby, S., Pankow, K., Potter, S., and Simmons, S.F., 2016, EGS Concept Testing and Development at the Milford, Utah FORGE Site. Proceedings, 41st Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, CA, p. 886-898.
Allis, R, Gwynn, M., Hardwick, C., Kirby, S., Bower, R., Moore, J., Wannamaker, P., and Simmons, S., 2017, Characteristics of the Cove Fort-Dog Valley-Twin Peaks thermal anomaly, Utah. Proceedings, 42nd Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, CA, 10 p.
Allred, J., 2004, Milagro greenhouses, Newcastle, UT. Geoheat Center Bulletin, v. 25, p. 34-39.
Anderson, W. V., Bruhn, R. L., and Moore, J. N., 2012, Implications of thrust and detachment faulting for the structural geology of Thermo Hot Springs region, Beaver Co, Utah. GRC Transactions, v. 36, p. 883-889.
Ayling, B. and Moore, J., 2013, Fluid geochemistry at the Raft River geothermal field, Idaho, USA: New data and hydrogeological implications: Geothermics, v. 47, p. 116-126.
Benoit, D., 2013, An empirical injection limitation in fault-hosted Basin and Range geothermal systems. GRC Transactions, v. 37, p. 887-894.
Benoit, D., 2015, A case history of the Dixie Valley geothermal field, 1963-2014. GRC Transactions, v. 39, p. 3-11.
Benoit, D., 2016, Soda Lake geothermal field case history 1972 to 2016. GRC Transactions, v. 40, p. 523-534.
Blackett, R. E., 2007, Review of selected geothermal areas in southwestern Utah. GRC Transactions, v. 31, p. 111-116.
Blackett, R.E., Kolesar, P.T., 1983. Geology and alteration of the Raft River geothermal system, Idaho. Geothermal Resources Council Transactions, v. 7, 123–127.
Blackett, R.E., Shubat, M., Chapman, D.S., Forster, C.B., and Schlinger, C.M., 1989. Assessment of geothermal resources at Newcastle, Utah.Geothermal Resources Council Transactions, v. 13, p.109-116.
Blackwell, D. D., R. P. Smith, and M. C. Richards, 2007, Exploration and development at Dixie Valley, Nevada: summary of DOE studies. Proceedings 32nd Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, California, 16p.
Brandt, A. W., Pfaff, B., and Nash, G., 2017, Applied tectonic morphology to geothermal exploration in the Tularosa basin, New Mexico. Proceedings 42nd Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford California, 13 p.
Capuano, R. M., Cole, D. R., 1982, Fluid-mineral equilibria in a hydrothermal system: Geochimica Cosmochimica Acta, v. 46, p. 1353-1364.
Casteel, J., Trazona, R., Melosh, G., Niggemann, K., and Fairbank, B., 2010, A preliminary conceptual model for the Blue Mountain geothermal system, Humboldt county, Nevada. Proceedings World Geothermal Congress, Bali, Indonesia, 6 pp.
Chidsey, T.C., Jr., Eby, D.E., and Lorenz, D.M., 1996, Geological and reservoir characterization of small shallow-shelf fields, southern Paradox Basin, Utah, in Huffman, A.C., Jr., Lund, W.R., and Godwin, L.H., editors, Geology and resources of the Paradox Basin: Utah Geological Association Publication 25, p. 39-56.
Cole, D.R., 1983, Chemical and Isotopic investigation of warm springs associated with normal faults in Utah. Journal of Volcanology and Geothermal Research, v. 16, p. 65-98
Cole, D.R., and Ravinsky, L.I. , 1984, Hydrothermal Alteration Zoning in the Beowawe Geothermal System, Eureka and Lander Counties, Nevada. Economic Geology, v. 79, p. 759-767.
Coombs, J., Peterson, N., Garg, S.K., and Goranson, C., 2012, Reservoir testing and analysis at the Patua geothermal field, northwestern Nevada. GRC Transactions, v. 36, p. 31-36
Dahal, S., McDonald, M. R., Bubach, B. & Crowell, A. M., 2012, Evaluation of Geothermal Potential of Lightning Dock KGRA, New Mexico. Transactions of the Geothermal Resources Council, v. 36, p. 637-640.
Edwards, J.H., 2013, Structural Controls of the Neal Hot Springs Geothermal System, Eastern Oregon: MS. Thesis, University of Nevada, Reno, 93p.
Elston, W. E., Deal, E. G. & Logsdon, M. J., 1983, Geology and geothermal waters of Lightning Dock region, Animas Valley and Pyramid Mountains, Hidalgo County, New Mexico. New Mexico Bureau of Mines and Mineral Resources, Circular no.177, 44 pp.
Faulder, D. D., Johnson, S. D., and Benoit, W. R., 1997, Flow and permeability structure of the Beowawe, Nevada hydrothermal system. Proceedings 22nd Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, California, 11 pp.
Fouch, T.D., Nuccio, V.F., Osmond, J.C., MacMillan, L., Cashion, W.B., and Wandrey, C.J., 1992, Oil and gas in uppermost Cretaceous and Tertiary rock, Uinta Basin, Utah. In Fouch, T.D., Nuccio, V.F., and Chidsey, T.C., Jr., editors, Hydrocarbon and mineral resources of the Uinta Basin, Utah and Colorado: Utah Geological Association Publication 20, p. 9–47.
Freethey, G.W., and Cordy, G.E., 1991, Geohydrology of Mesozoic rocks in the upper Colorado River basin in Arizona, Colorado, New Mexico, Utah, and Wyoming, excluding the San Juan Basin. U.S. Geological Survey Professional Paper 1411-C, 130 p.
Garg, S.K., Goranson, C., Johnson, S. and Casteel, J., 2015, Reservoir testing and modeling of the Patua geothermal field, Nevada, USA. Proceedings World Geothermal Congress, Melbourne, Australia,16 pp.
Hardwick, C.L., Willis, H.W., and Gwynn, M.L., 2015, A basin-scale assessment of co-produced waters in oil and gas fields: Uinta basin, Utah, USA. GRC Transactions, v. 39, p. 661-669
Hintze, L.F., and Kowallis, B.J., 2009, Geologic history of Utah: Brigham Young University Geology Studies Special Publication 9, 225 p.
Hoang, V. T., James, E. D., and Epperson, I. J., 1987, Development drilling, testing, and initial production of the Beowawe geothermal field. Proceedings 12th Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, California, p. 159-162.
Hunt, C.B., 1956, Cenozoic geology of the Colorado Plateau: U.S. Geological Survey Professional Paper 279, 99 p.
Mabey, D.R., and Budding, K.E., 1987, High temperature geothermal resources of Utah. Utah Geological and Mineralogical Survey, Bulletin 123, 64 pp.
McLachlan, H. S., Benoit, W. R., Faulds, J. E., 2011, Structural framework of the Soda Lake geothermal area, Churchill County, Nevada. GRC Transactions, v. 35, p. 925 – 930.
McNitt, J. R., 1990, Stratigraphic and structural controls of the occurrence of thermal fluid at the Soda Lakes geothermal field, Nevada. GRC Transactions, v. 14, Part II, p. 1507 – 1512.
Nash, G., and Moore, J.N., 2012, Raft River EGS project: A GIS-centric review of geology. Geothermal Resources Council Transactions, v. 36, p. 951-958.
Nash, G., Bennett, C.R., Barker, B.J., Moore, J.N., Swanson, B., Brandt, A. W., and Simmons, S, 2016, A comparison of two geothermal play fairway modeling methods as applied to theTularosa basin, New Mexico and Texas. Proceedings 41st Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford California, 9 p.
Nash, G., Brandt, A. W., Pfaff, B., Hardwick, C., Gwynn, M., Blake, K., Simmons, S., and Bennett, C.R., 2017, Phase 2: Updated play fairway analysis of the Tularosa basin, New Mexico. Geothermal Resources Council Transactions, v. 41, 16 p.
Nielson, D. L., Evans, S.H., and Sibbett, B.S., 1986, Magmatic, structural, and hydrothermal evolution of the Mineral Mountains intrusive complex, Utah, GSA Bulletin, v. 97, p. 765-777.
Petersen, J.A., 1992, Aneth field — USA Paradox basin, Utah. N.H Foster, E.A Beaumont (Eds.), Stratigraphic Traps III: AAPG Treatise of Petroleum Geology, Atlas of Oil and Gas Fields, p. 41-81
Rhodes, G.T., Faulds, J.E. and Teplow, W., 2010, Structural controls of the San Emidio Desert geothermal field, northwestern Nevada. GRC Transactions, v. 34, p. 819-822.
Rush, E.F., 1983, Reconnaissance of the hydrothermal resources of Utah. U.S. Geological Survey Professional Paper 1044-H, 44 p.
Sibbett, B.S., 1983, Structural control and alteration at Beowawe KRGA, Nevada. GRC Transactions, v. 7, p. 187-191.
Simmons, S.F., Kirby, S., Moore, J.N., Wannamaker, P., and Allis, R., 2015, Comparative analysis of fluid chemistry from Cove Fort, Roosevelt and Thermo: Implications for geothermal resources and hydrothermal systems on the east edge of the Great Basin. GRC Transactions, v. 39, p. 55-61.
Simmons, S. F., Kirby, S., Jones, C., Moore, J., and Allis, R., 2016, The Geology, Geochemistry, and Hydrology of the EGS FORGE Site, Milford Utah. Proceedings, 41st Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, CA, p. 1181-1190.
Simmons, S. F., Allis, R., Moore, J., Gwynn, M., Hardwick, C., Kirby, S., and Wannamaker, P., 2017, Conceptual models of geothermal resources in the eastern Great Basin. Proceedings 42nd Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, California, 9 pp.
Swyer, M.W., Uddenberg, M., Claudhouhos, T. T., and Petty, S., 2016, New injection strategies at Blue Mountain, Nevada through tracer test analysis, injection-production correlation, and an improved conceptual model. Proceedings 41st on Geothermal Reservoir Engineering, Stanford University, Stanford, California, 15 pp.
Waibel, A. F., 1987, An overview of the geology and secondary mineralogy of the high temperature geothermal system in Dixie Valley, Nevada. GRC Transactions, v. 11, p. 479 – 486.
Wannamaker, P. E., Pankow, K. L., Moore, J. N., Nash, G. D., Maris, V., Simmons, S.F., and Hardwick, C. L., 2016, A Play Fairway Analysis for Structurally Controlled Geothermal Systems in the Eastern Great Basin Extensional Regime, Utah: Proceedings, 41st Workshop on Geothermal Reservoir Engineering, Stanford University, Stanford, CA, p. 308-323.
Warren, I., 2016, Exploration and development of the Neal Hot Springs geothermal resource, Malheur County, Oregon. AAPG Datapages/Search and Discovery Article #90266 © 2016 AAPG Pacific Section and Rocky Mountain Section Joint Meeting, Las Vegas, Nevada, October 2-5, 2016
Watt, J. T., Glen, J. M.G., John, D.A., Ponce, D.A., 2007, Three-dimensional geologic model of the northern Nevada rift and the Beowawe geothermal system, north-central Nevada. Geosphere, v. 3, p. 667-682.