## Totals
| 2015 |  |  |  | 2020
| Total plants listed | 102 |  |  | Total plants | 97
| Plants that shouldn't have been on list | 4 |  |  | Non-operational plants | 4
| Total actual plants | 98 |  |  | Operational plants | 93
| Plants retired since 2015 | 7 |  |  | New plants to come online since 2015 | 7*
* doesn't include added capacity at Goulds I, since that's an existing plant already on the list
This leaves a discrepancy, as 98-7+7 should come out to 98 total plants, not 97
But that can be accounted for because:
Mcginness 1&2 are listed separately on the 2015 list and combined on the 2020 list (equates to 1 more plant on the 2015 list)
Navy I is listed as 1 plant on the 2015 list but 3 separate plants on the 2020 list (equates to 2 less plants on 2015 list)
If those are factored in, there were actually 97 plants online in 2015, which matches current totals
Plants that have come online since 2016
Name | Plant Type | Resource Type | MW | Notes
Brady (Brady Complex) | Binary | CH Produced | 21.5
Elmore (ST-302) | Back Pressure | CH Expansion | 8.41
Lightning Dock | Binary | CH Produced | 14.5 | Repower
McGinness Hills 3 | Binary | CH Produced | 74
Soda Lake 3 | Binary | CH Produced | 26.5
Tungsten Mountain | Binary | CH Unproduced | 37
Wabuska 3 | Binary | CH Produced | 4.4 | Repower?
|  | Total MW | 186.31
Plants that have gone offline since 2016
Name | Plant Type | Status | MW
GEM III (Ormesa Complex) | Double Flash | Retired | 21.6
Ormesa IH (Ormesa Complex) | Binary | Retired | 8.8
Soda Lake I | Binary | Retired | 5.1
Steamboat I (Steamboat Complex) | Binary | Retired | 2.4
Steamboat IA (Steamboat Complex) | Binary | Retired | 2
Wabuska I | Binary | Retired | 1.6
Wabuska II | Binary | Retired | 1.6
Amedee (Wendel) | Binary | Non-operational | 3
Bottle Rock | Dry Steam | Non-operational | 55
Honey Lake | Binary | Non-operational | 1.5
Wineagle | Binary | Non-operational | 0.7
| Total MW |  | 103.3

## Master List
Plant Name | Field Name | Company | Nameplate Capacity (MW) | Operational Year | Primary Plant Type | Turbine | Status | Decommission date | EIA Plant ID | Notes
Aidlin Unit 1 | CA - The Geysers | Calpine | *11.2 | 1989 | Dry Steam | Fuji | *Operational | *N/A | 52158 | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Aidlin Unit 2 | CA - The Geysers | Calpine | *11.2 | 1989 | Dry Steam | Fuji | *Operational | *N/A | 52158 | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Amedee (Wendel) | CA - Honey Lake | Amedee Geothermal Venture (Oski Energy) | * | 1988 | Binary | Barber Nichols | *Non-operational |  | 50964 | *Didn't respond to 2020 survey, Ann Robertson-Tait lists it as non-operational
Beowawe | NV - Beowawe | Terra Gen | *17 | 1985 | Double Flash | Mitsubishi | *Operational | *N/A | 10287 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Beowawe 2 | NV - Beowawe | Terra Gen | *3.6 | 2011 | Binary | TAS Energy | *Operational | *N/A | 10287 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Big Geyser | CA - The Geysers | Calpine | *95 | 1980 | Dry Steam | General Electric | *Operational | *N/A | 286F | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
BLM East Unit 1 | CA - Coso | Navy | 30 | 1988 | Double Flash | Fuji | Operational | N/A | 10875
BLM East Unit 2 | CA - Coso | Navy | 30 | 1988 | Double Flash | Fuji | Operational | N/A | 10875
BLM West Unit 1 | CA - Coso | Navy | 30 | 1988 | Double Flash | Fuji | Operational | N/A | 10875
Blundell 1 | UT - Roosevelt | PacifiCorp | *30.7 | 1984 | Single Flash | General Electric | *Operational | *N/A | 299 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Blundell 2 | UT - Roosevelt | PacifiCorp | *14.1 | 2007 | Binary | Ormat | *Operational | *N/A | 299 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Bottle Rock | CA - The Geysers | Altarock/Cyrq | * | 1985 | Dry Steam | Fuji | Non-operational | * | 902 | * "mothballed" according to Susan Petty
Brady (Brady Complex) | NV - Brady Hot Spring | Ormat | 21.5 | 2018 | Binary | Ormat | Operational | N/A | 55991
Brady Hot Spring (Brady Complex) | NV - Brady Hot Spring | Ormat | 26.1 | 1992 | Double Flash | Ormat | Retired | 2019 | 55991
Calistoga | CA - The Geysers | Calpine | *97 | 1984 | Dry Steam | Toshiba | *Operational | *N/A | 50066 | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
CE Turbo | CA - Salton Sea | CalEnergy | 10.35 | 2000 | Single Flash | GE Rotoflow | Operational | N/A | 55984
Chena Unit 1 | AK - Chena Hot Springs | Chena Hot Springs | *0.7 | 2006 | Binary | Turboden | *Operational | *N/A | none found | *Chena declined to participate in 2020 survey, so 2015 data used
Chena Unit 2 | AK - Chena Hot Springs | Chena Hot Springs | *0.4 | 2013 | Binary |  | *Operational | *N/A | none found | *Chena declined to participate in 2020 survey, so 2015 data used
Cobb Creek | CA - The Geysers | Calpine | *110 | 1979 | Dry Steam | Toshiba | *Operational | *N/A | 286E | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Cove Fort | UT - Cove Fort | Enel | 30.8 | 2013 | Binary | Ormat | Operational | N/A | 58570
Del Ranch (Hoch) | CA - Salton Sea | CalEnergy | 45.5 | 1989 | Double Flash | Fuji | Operational | N/A | 10632
Desert Peak II (Brady Complex) | NV - Brady Hot Spring | Ormat | 26 | 2007 | Binary | Ormat | Operational | N/A | 10018
Desert Peak II EGS (Brady Complex) | NV - Brady Hot Spring | Ormat |  |  | EGS | Ormat |  |  |  | *Ormat listed this plant on 2020 questionnaire, but didn't give any production or capacity figures
Dixie Valley | NV - Dixie Valley | Terra Gen | *64.7 | 1988 | Double Flash | Fuji | *Operational | *N/A | 52015 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Dixie Valley -binary | NV - Dixie Valley | Terra Gen | *6.2 | 2012 | Binary | TAS Energy | *Operational | *N/A | 52015 | *Didn't respond to the 2020 questionnaire, so 2018 EIA data used: https://www.eia.gov/electricity/annual/
Don A. Campbell (Wild Rose) | NV - Deadhorse Wells (Wild Rose) | Ormat | 25 | 2014 | Binary | Ormat | Operational | N/A | 58533
Don A. Campbell II | NV - Deadhorse Wells (Wild Rose) | Ormat | 25 | 2015 | Binary | Ormat | Operational | N/A | 60419
Eagle Rock | CA - The Geysers | Calpine | *110 | 1975 | Dry Steam | Toshiba | *Operational | *N/A | 286D | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Elmore | CA - Salton Sea | CalEnergy | 45.5 | 1989 | Double Flash | Fuji | Operational | N/A | 10634
Elmore (ST-302) | CA - Salton Sea | CalEnergy | 8.41 | 2019 | Back Pressure | GE | Operational | N/A
Faulkner | NV - Blue Mountain | Cyrq | 49.5 | 2009 | Binary | Ormat | Operational | N/A | 56982
Galena I (Richard Burdette) (Steamboat Complex) | NV - Steamboat | Ormat | 30 | 2006 | Binary | Ormat | Operational | N/A | 56321
Galena II (Steamboat Complex) | NV - Steamboat | Ormat | 13.5 | 2007 | Binary | Ormat | Operational | N/A | 56540
Galena III (Steamboat Complex) | NV - Steamboat | Ormat | 30 | 2008 | Binary | Ormat | Operational | N/A | 56541
GEM II (Ormesa Complex) | CA - East Mesa | Ormat | 21.6 | 1989 | Double Flash | Ormat | Operational | N/A | 54038
GEM III (Ormesa Complex) | CA - East Mesa | Ormat | 21.6 | 1989 | Double Flash | Ormat | Retired | 2020 | 10763
GEM Bottoming Unit (Ormesa Complex) | CA - East Mesa | Ormat | 8 | 2007 | Binary | Ormat | Operational | N/A | 10763
Goulds I (Heber Complex) | CA - Heber | Ormat | 29.5 | 2006 | Binary | Ormat | Operational | N/A | 49748 | *In March 2018, OEC 14 was added, which increased to total capacity to 29.5 MW
Goulds II (Heber Complex) | CA - Heber | Ormat | 16 | 2006 | Binary | Ormat | Operational | N/A | 54111
Grant | CA - The Geysers | Calpine | *120 | 1985 | Dry Steam | Toshiba | *Operational | *N/A | 286K | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Heber I (Heber Complex) | CA - Heber | Ormat | 52 | 1985? | Double Flash | Ormat | Operational | N/A | 54689
Heber II (Heber Complex) Second Imperial | CA - Heber | Ormat | 48 | 1993 | Binary | Ormat | Operational | N/A | 54111
Heber South (Heber Complex) Second Imperial | CA - Heber | Ormat | 16 | 2008 | Binary | Ormat | Operational | N/A | 54111
Honey Lake | CA - Honey Lake | HL Power Company | * | 1989 | Binary | General Electric | *Non-operational |  |  | *Didn't respond to 2020 survey, Ann Robertson-Tait lists it as a biomass coproduce with zero generation
Jersey Valley | NV - Dixie Valley | Ormat | 23.5 | 2011 | Binary | Ormat | Operational | N/A | 57376
John L. Featherstone | CA - Salton Sea | Energy Source | 55 | 2012 | Triple Flash | Fuji | Operational | N/A | 57475
Lake View | CA - The Geysers | Calpine | *120 | 1982 | Dry Steam | Toshiba | *Operational | *N/A | 286I | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Leathers | CA - Salton Sea | CalEnergy | 45.5 | 1990 | Double Flash | Fuji | Operational | N/A | 10631
Lightning Dock (old) | NM - Lightning Dock | Cyrq | 4.4 | 2013 | Binary | Kaishan | Retired | 2017 | 58629
Lightning Dock | NM - Lightning Dock | Cyrq | 14.5 | 2018 |  | Kaishan | Operational | N/A | 58629
Mammoth GI Repowering (Mammoth Complex) | CA - Mammoth | Ormat | 10 | 2013 | Binary | Ormat | Operational | N/A | 10480
Mammoth GII (Mammoth Complex) | CA - Mammoth | Ormat | 15 | 1990 | Binary | Ormat | Operational | N/A | 10481
Mammoth GIII Repowering (Mammoth Complex) | CA - Mammoth | Ormat | 15 | 1990 |  | Ormat | Operational | N/A | 10479
McCabe | CA - The Geysers | Calpine | *110 | 1971 | Dry Steam | Toshiba | *Operational | *N/A | 286A | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
McGinness Hills 1 & 2 | NV - McGinness Hills | Ormat | 100 | 2012 and 2015 | Binary | Ormat | Operational | N/A | 57446 | Two different plants of 50 MW each but officially considered 1 plant
McGinness Hills 3 | NV - McGinness Hills | Ormat | 74 | 2018 | Binary | Ormat | Operational | N/A | 61912
Navy I Unit 1 | CA - Coso | Navy | 30 | 1987 | Double Flash | Fuji | Operational | N/A | 10873
Navy I Unit 2 | CA - Coso | Navy | 30 | 1987 | Double Flash | Fuji | Operational | N/A | 10873
Navy I Unit 3 | CA - Coso | Navy | 30 | 1987 | Double Flash | Fuji | Operational | N/A | 10873
Navy II Unit 1 | CA - Coso | Navy | 30 | 1989 | Double Flash | Fuji | Operational | N/A | 10874
Navy II Unit 2 | CA - Coso | Navy | 30 | 1989 | Double Flash | Fuji | Operational | N/A | 10874
Navy II Unit 3 | CA - Coso | Navy | 30 | 1989 | Double Flash | Fuji | Operational | N/A | 10874
NCPA I No. 2 | CA - The Geysers | Northern California Power Agency | *110 | 1983 | Dry Steam | Fuji | *Operational | *N/A | 7368 | *Didn't respond to 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
NCPA II | CA - The Geysers | Northern California Power Agency | *110 | 1985 | Dry Steam | Toshiba | *Operational | *N/A | 7369 | *Didn't respond to 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Neal Hot Springs | OR - Neal Hot Springs | Ormat | 33 | 2012 | Binary | U.S. Geothermal | Operational | N/A | 58022
North Brawley | CA - North Brawley | Ormat | 50 | 2010 | Binary | Ormat | Operational | N/A | 56832
OIT | OR - Klamath Falls | OIT | *0.28 | 2009 | Binary | Pratt & Whitney | *Operational | *N/A |  | *Didn't respond to 2020 survey, so 2018 state data used: https://www.oregon.gov/energy/energy-oregon/Pages/Geothermal.aspx
OIT | OR - Klamath Falls | OIT | *1.75 | 2014 | Binary | Pratt & Whitney | *Operational | *N/A |  | *Didn't respond to 2020 survey, so 2018 state data used: https://www.oregon.gov/energy/energy-oregon/Pages/Geothermal.aspx
Ormesa I (Ormesa Complex) | CA - East Mesa | Ormat | 26.4 | 2003 | Binary | Ormat | Operational | N/A | 50766
Ormesa IH (Ormesa Complex) | CA - East Mesa | Ormat | 8.8 | 1989? | Binary | Ormat | Retired | *Post 2015 | 50762 | *CA data shows plant still producing 8914 MWh in 2015, dropping to .12 in 2016 and .01 in 2018
Ormesa II (Ormesa Complex) | CA - East Mesa | Ormat | 24 |  | Double Flash | Ormat | Retired | 2007
Ormesa II Upgrade (Ormesa Complex) | CA - East Mesa | Ormat | 24 | 2007 | Binary | Ormat | Operational | N/A | 54724
Paisley Geothermal | OR - Surprise Valley | Surprise Valley Electric Corp. | *3.1 | 2014 | Binary | TAS Energy | *Operational | *N/A |  | *Didn't respond to 2020 survey, so 2018 state data used: https://www.oregon.gov/energy/energy-oregon/Pages/Geothermal.aspx
Patua Phase 1 | NV - Hazen (Black Butte) | Cyrq | 48 | 2013 | Binary | TAS Energy | Operational | N/A | 58319
Puna | HI - Puna | Ormat | 35 | 1993 | Binary | Ormat | Operational | N/A | 52028
Puna Expansion | HI - Puna | Ormat | 51 | 2012 | Binary | Ormat | Operational | N/A | 52028
Quicksilver | CA - The Geysers | Calpine | *120 | 1985 | Dry Steam | Toshiba | *Operational | *N/A | 286H | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Raft River | ID - Raft River | Ormat | 18 | 2008 | Binary | U.S. Geothermal | Operational | N/A | 56317
Ridgeline | CA - The Geysers | Calpine | *110 | 1982 | Dry Steam | Toshiba | *Operational | *N/A | 286B | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
San Emidio Repower | NV - San Emidio (Empire) | Ormat | 11.75 | 2012 | Binary | U.S. Geothermal | Operational | N/A | 57456
Salt Wells | NV - Salt Wells (Eight Mile Flat) | Enel | 27.6 | 2009 | Binary | Atlas Copco/Mafi Trench | Operational | N/A | 57213
Salton Sea I | CA - Salton Sea | CalEnergy | 10.25 | 1982 | Single Flash | Fuji | Operational | N/A | 10878
Salton Sea II | CA - Salton Sea | CalEnergy | 19.7 | 1990 | Double Flash | Mitsubishi | Operational | N/A | 10879
Salton Sea III | CA - Salton Sea | CalEnergy | 54 | 1989 | Double Flash | Mitsubishi | Operational | N/A | 10759
Salton Sea IV | CA - Salton Sea | CalEnergy | 55 | 1996 | Double Flash | GE | Operational | N/A | 54996
Salton Sea V | CA - Salton Sea | CalEnergy | 58.32 | 2000 | Double Flash | Fuji | Operational | N/A | 55983
Socrates | CA - The Geysers | Calpine | *120 | 1983 | Dry Steam | Toshiba | *Operational | *N/A | 286J | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Soda Lake 1 | NV - Soda Lake | Cyrq | 5.1 | 1987 | Binary | Ormat | Retired | *Post 2015 | 52174 | *Listed in GEA's 2015 data with 5.1 capacity, no listing in EIA 2018 plant report
Soda Lake 2 | NV - Soda Lake | Cyrq | 9 | 1991 | Binary | Ormat | Operational | N/A | 52174
Soda Lake 3 | NV - Soda Lake | Cyrq | 26.5 | 2019 | Binary | Ormat | Operational | N/A
Sonoma | CA - The Geysers | Calpine | *78 | 1983 | Dry Steam | Mitsubishi | *Operational | *N/A | 510 | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Steamboat I (Steamboat Complex) | NV - Steamboat | Ormat | 2 | 1985? | Binary | Ormat | Retired | *2018 |  | *Equipment retired in various stages between 2016 and 2018. PPA terminated in December 2018.
Steamboat IA (Steamboat Complex) | NV - Steamboat | Ormat | 2.4 | 1985? | Binary | Ormat | Retired | *2018 | 52138 | *Equipment retired in various stages between 2016 and 2018. PPA terminated in December 2018.
Steamboat 2 (Steamboat Complex) | NV - Steamboat | Ormat | 18.2 | 2008 | Binary | Ormat | Operational | N/A | 54665
Steamboat 3 (Steamboat Complex) | NV - Steamboat | Ormat | 18.2 | 2008 | Binary | Ormat | Operational | N/A | 54666
Steamboat Hills Bottoming | NV - Steamboat | Ormat | 5.5 | 2007 | Single Flash | Ormat | Operational | N/A | 50654
Steamboat Hills STG | NV - Steamboat | Ormat | 16.3 | 1988 | Binary | Ormat | Operational | N/A | 50654
Stillwater | NV - Stillwater | Enel | 33.1 | 2009 | Binary | Atlas Copco/Mafi Trench | Operational | N/A | 50765
Sulphur Spring | CA - The Geysers | Calpine | *117.5 | 1980 | Dry Steam | Toshiba | *Operational | *N/A | 286G | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Thermo Hot Spring | UT - Thermo Hot Spring | Cyrq | 14.5 | 2009 | Binary | Turboden | Operational | N/A | 57353
Tungsten Mountain | NV - Tungsten Mountain | Ormat | 37 | 2017 | Binary |  | Operational | N/A | 60785
Tuscarora | NV - Hot Sulphur Springs | Ormat | 32 | 2012 | Binary | Ormat | Operational | N/A | 57451
Vulcan | CA - Salton Sea | CalEnergy | 39.72 | 1986 | Double Flash | Mitsubishi | Operational | N/A | 50210
West Ford Flat | CA - The Geysers | Calpine | *28.8 | 1988 | Dry Steam | Mitsubishi | *Operational | *N/A | 10199 | *Calpine declined to participate in 2020 survey, so 2018 state data used: https://ww2.energy.ca.gov/almanac/renewables_data/geothermal/index_cms.php
Wineagle | CA - Honey Lake | Wineagle Development | * | 1985 | Binary | Barber Nichols | *Non-operational |  |  | *Didn't respond to 2020 survey, Ann Robertson-Tait lists it as non-operational
Wabuska 3 | NV - Wabuska | Open Mountain Energy | *4.4 | 2018 | Binary |  | *Operational | *N/A |  | *Didn't respond to 2020 survey, numbers taken from Ann Robertson-Tait's 2020 WGC paper (draft)

## 2020 Questionnaire
|  |  | Nameplate | Summer | Winter | Net | Year | Decommissioned? | Year
Plant Name | Field Name | Company | Capacity (MW) | Capacity (MW) | Capacity (MW) | Generation (MWh) | Completed | Y/N | Decommissioned | Turbine Type | Plant Type | Notes
BLM East Unit 1 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
BLM East Unit 2 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
BLM West Unit 1 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
Bottle Rock | CA - The Geysers | Altarock/Cyrq | * |  |  | 0 |  |  |  |  | Dry Steam | "Mothballed" according to Susan Petty
Brady (Brady Complex) | NV - Brady Hot Spring | Ormat | 21.5 | 14.3319 | 21.5 | 105122 | 2018 |  |  |  | Binary
Brady Hot Spring (Brady Complex) | NV - Brady Hot Spring | Ormat |  |  |  |  | 1992 | Y | 2019 |  | Double Flash
CE Turbo | CA - Salton Sea | CalEnergy | 10.35 | 10 | 10 | 10 | 2000 |  | N/A | GE Rotoflow | Single Flash
Chena Unit 1 | AK - Chena Hot Springs | Chena Hot Springs | * | * | * | * | * | * | * | * | * | refused to participate
Chena Unit 2 | AK - Chena Hot Springs | Chena Hot Springs | * | * | * | * | * | * | * | * | * | refused to participate
Cove Fort | UT - Cove Fort | Enel | 30.8 |  |  | Confidential | 2013 |  |  |  | Binary
Del Ranch (Hoch) | CA - Salton Sea | CalEnergy | 45.5 | 42 | 42 | 42 | 1989 |  | N/A | Fuji | Double Flash
Desert Peak II (Brady Complex) | NV - Brady Hot Spring | Ormat | 26 | 17.3316 | 26 | 93385 | 2007 |  |  |  | Binary
Desert Peak II EGS (Brady Complex) | NV - Brady Hot Spring | Ormat | [8 empty] | EGS
Don A. Campbell (Wild Rose) | NV - Deadhorse Wells (Wild Rose) | Ormat | 25 | 16.665 | 25 | 153286 | 2014 |  |  |  | Binary
Don A. Campbell II | NV - Deadhorse Wells (Wild Rose) | Ormat | 25 | 16.665 | 25 | 137443 | 2015 |  |  |  | Binary
Elmore | CA - Salton Sea | CalEnergy | 45.5 | 42 | 42 | 42 | 1989 |  | N/A | Fuji | Double Flash
Elmore (ST-302) | CA - Salton Sea | CalEnergy | 8.41 | 7.5 | 7.5 | 7.5 | 2019 |  | N/A | GE | Back Pressure
Faulkner | NV - Blue Mountain | Cyrq | 49.5 | 25 | 29 | 230000 |  |  |  |  | Binary
Galena I (Richard Burdette) (Steamboat Complex) | NV - Steamboat | Ormat | 30 | 19.998 | 30 | 135616 | 2006 |  |  |  | Binary
Galena II (Steamboat Complex) | NV - Steamboat | Ormat | 13.5 | 8.9991 | 13.5 | 39831 | 2007 |  |  |  | Binary
Galena III (Steamboat Complex) | NV - Steamboat | Ormat | 30 | 19.998 | 30 | 126728 | 2008 |  |  |  | Binary
GEM II (Ormesa Complex) | CA - East Mesa | Ormat | 21.6 | 14.3986 | 21.6 | * | 1989 |  |  |  | Double Flash | *208,682 MWh for entire Ormesa Complex
GEM III (Ormesa Complex) | CA - East Mesa | Ormat | 21.6 | 14.3986 | 21.6 | * | 1989 | Y | 2020 |  | Double Flash | *208,682 MWh for entire Ormesa Complex
GEM Bottoming Unit (Ormesa Complex) | CA - East Mesa | Ormat | 8 | 5.3328 | 8 | * | 2007 |  |  |  | Binary | *208,682 MWh for entire Ormesa Complex
Goulds I (Heber Complex) | CA - Heber | Ormat | 29.5 | 19.6647 | 29.5 | * | 2006 |  |  |  | Binary | *338,936 MWh between Goulds I and Heber I
Goulds II (Heber Complex) | CA - Heber | Ormat | 16 | 10.6656 | 16 | * | 2006 |  |  |  | Binary | *127,672 MWh between Goulds II and Heber South
Heber I (Heber Complex) | CA - Heber | Ormat | 52 | 34.6632 | 52 | * | 1985? |  |  |  | Double Flash | *338,936 MWh between Goulds I and Heber I
Heber II (Heber Complex) Second Imperial | CA - Heber | Ormat | 48 | 31.9968 | 48 | 89018 | 1993 |  |  |  | Binary
Heber South (Heber Complex) Second Imperial | CA - Heber | Ormat | 16 | 10.6656 | 16 | * | 2008 |  |  |  | Binary | *127,672 MWh between Goulds II and Heber South
Jersey Valley | NV - Dixie Valley | Ormat | 23.5 | 15.6651 | 23.5 | 71254 | 2011 |  |  |  | Binary
John L. Featherstone | CA - Salton Sea | Energy Source | 55 | 49.9 | 53 | 405000 | 2012 |  | N/A | Fuji | Triple Flash
Leathers | CA - Salton Sea | CalEnergy | 45.5 | 42 | 42 | 42 | 1990 |  | N/A | Fuji | Double Flash
Lightning Dock | NM - Lightning Dock | Cyrq | 14.5 | 7 | 11 | 80000 |  |  |  |  | Binary
Mammoth GI Repowering (Mammoth Complex) | CA - Mammoth | Ormat | 10 | 6.666 | 10 | 57351 | 2013 |  |  |  | Binary
Mammoth GII (Mammoth Complex) | CA - Mammoth | Ormat | 15 | 9.999 | 15 | 68597 | 1990 |  |  |  | Binary
Mammoth GIII Repowering (Mammoth Complex) | CA - Mammoth | Ormat | 15 | 9.999 | 15 | 82351 | 1990
McGinness Hills 1 & 2 | NV - McGinness Hills | Ormat | 100 | 66.66 | 100 | 758187 | 2012 and 2015 |  |  |  | Binary
McGinness Hills 3 | NV - McGinness Hills | Ormat | 74 | 49.3284 | 74 | 441753 | 2018 |  |  |  | Binary
Navy I Unit 1 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
Navy I Unit 2 | CA - Coso | Navy | 30
Navy I Unit 3 | CA - Coso | Navy | 30
Navy II Unit 1 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
Navy II Unit 2 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
Navy II Unit 3 | CA - Coso | Navy | 30 | [7 empty] | Double Flash
Neal Hot Springs | OR - Neal Hot Springs | Ormat | 33 | 21.9978 | 33 | 185456 | 2012 |  |  |  | Binary
North Brawley | CA - North Brawley | Ormat | 50 |  |  | 55693 | 2010 |  |  |  | Binary
Ormesa I (Ormesa Complex) | CA - East Mesa | Ormat | 26.4 | 17.5982 | 26.4 | * | 2003 |  |  |  | Binary | *208,682 MWh for entire Ormesa Complex
Ormesa IH (Ormesa Complex) | CA - East Mesa | Ormat |  |  |  |  | 1989? | Y |  |  | Binary
Ormesa II (Ormesa Complex) | CA - East Mesa | Ormat | [5 empty] | Y | 2007 |  | Double Flash
Ormesa II Upgrade (Ormesa Complex) | CA - East Mesa | Ormat | 24 | 15.9984 | 24 | * | 2007 |  |  |  | Binary | *208,682 MWh for entire Ormesa Complex
Patua Phase 1 | NV - Hazen (Black Butte) | Cyrq | 48 | 12 | 28 | 160000 |  |  |  |  | Binary
Puna | HI - Puna | Ormat | 35 | 23.331 | 35 |  | 1993 |  |  |  | Binary
Puna Expansion | HI - Puna | Ormat | 51 | 33.9966 | 51 |  | 2012 |  |  |  | Binary
Raft River | ID - Raft River | Ormat | 18 | 11.9988 | 18 | 95614 | 2008 |  |  |  | Binary
San Emidio Repower | NV - San Emidio (Empire) | Ormat | 11.75 | 7.8325 | 11.75 | 73380 | 2012 |  |  |  | Binary
Salt Wells | NV - Salt Wells (Eight Mile Flat) | Enel | 27.6 |  |  | Confidential | 2009 |  |  |  | Binary
Salton Sea I | CA - Salton Sea | CalEnergy | 10.25 | 10 | 10 | 10 | 1982 |  | N/A | Fuji | Single Flash
Salton Sea II | CA - Salton Sea | CalEnergy | 19.7 | 17 | 17 | 17 | 1990 |  | N/A | Mitsubishi | Double Flash
Salton Sea III | CA - Salton Sea | CalEnergy | 54 | 50 | 50 | 50 | 1989 |  | N/A | Mitsubishi | Double Flash
Salton Sea IV | CA - Salton Sea | CalEnergy | 55 | 42 | 42 | 42 | 1996 |  | N/A | GE | Double Flash
Salton Sea V | CA - Salton Sea | CalEnergy | 58.32 | 46 | 46 | 46 | 2000 |  | N/A | Fuji | Double Flash
Stillwater | NV - Stillwater | Enel | 33.1 |  |  | Confidential | 2009 |  |  |  | Binary
Soda Lake 1 | NV - Soda Lake | Cyrq | 0 | 0 | 0 | 0 |  |  |  |  | Binary
Soda Lake 2 | NV - Soda Lake | Cyrq | 9 | 2 | 6 | 1000 |  |  |  |  | Binary
Soda Lake 3 | NV - Soda Lake | Cyrq | 26.5 | 14 | 20 | 148000 |  |  |  |  | Binary
Steamboat I (Steamboat Complex) | NV - Steamboat | Ormat |  |  |  |  | 1985? | Y |  |  | Binary
Steamboat IA (Steamboat Complex) | NV - Steamboat | Ormat | 2.4 | 1.5998 | 2.4 | 0 | 1985? | Y |  |  | Binary
Steamboat 2 (Steamboat Complex) | NV - Steamboat | Ormat | 18.2 | 12.1321 | 18.2 | 53257 | 2008 |  |  |  | Binary
Steamboat 3 (Steamboat Complex) | NV - Steamboat | Ormat | 18.2 | 12.1321 | 18.2 | 61883 | 2008 |  |  |  | Binary
Steamboat Hills Bottoming | NV - Steamboat | Ormat | 5.5 | 3.6663 | 5.5 | * | 2007 |  |  |  | Single Flash | *88,230 MWh between Steamboat Hills STG and Steamboat Hills Bottoming
Steamboat Hills STG | NV - Steamboat | Ormat | 16.3 | 10.8656 | 16.3 | * | 1988 |  |  |  | Binary | *88,230 MWh between Steamboat Hills STG and Steamboat Hills Bottoming
Thermo Hot Spring | UT - Thermo Hot Spring | Cyrq | 14.5 | 6 | 10 | 70000 |  |  |  |  | Binary
Tungsten Mountain | NV - Tungsten Mountain | Ormat | 37 | 24.6642 | 37 | 241602 | 2017 |  |  |  | Binary
Tuscarora | NV - Hot Sulphur Springs | Ormat | 32 | 21.3312 | 32 | 124101 | 2012 |  |  |  | Binary
Vulcan | CA - Salton Sea | CalEnergy | 39.72 | 38 | 38 | 38 | 1986 |  | N/A | Mitsubishi | Double Flash

## Capacity Comparison By Source
Plant | Nameplate Capacity (MW) GEA List | Nameplate Capacity (MW) 2018 EIA | Nameplate Capacity (MW) 2018 State Rpts | Nameplate Capacity (MW) 2020 survey | 2020 Operator | Notes
Aidlin Unit 1 | 12.5 | 12.5 | 11.2 |  | Calpine | Calpine declined to participate in 2020 survey
Aidlin Unit 2 | 12.5 | 12.5 | 11.2 |  | Calpine | Calpine declined to participate in 2020 survey
Amedee (Wendel) | 3 | 3 |  |  |  | no response to survey
Bear Canyon | 24.4 | retired |  | retired | *Calpine | *Retired in 2016: http://www.thinkgeoenergy.com/calpine-receives-use-permit-for-out-of-service-bear-canyon-geothermal-plant/
Beowawe | 17 | 17 |  |  |  | no response to survey
Beowawe 2 | 3.6 | 3.6 |  |  |  | no response to survey
Big Geyser | 138 | 138 | 95 |  | Calpine | Calpine declined to participate in 2020 survey
BLM Unit 1 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 BLM units
BLM Unit 2 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 BLM units
BLM Unit 3 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 BLM units
Blundell 1 | 26.1 | 30.7 |  |  |  | no response to survey
Blundell 2 | 12 | 14.1 |  |  |  | no response to survey
Bottle Rock | 55 | 55* | *55 | none listed | Altarock/Cyrq | *2018 EIA & CA reports both show 55 MW capacity but zero generation; fits Susan Petty's description of it being "mothballed"
Brady (Brady Complex) | 5.3 | unclear |  | 21.5 | Ormat
Brady Hot Spring (Brady Complex) | 26.1 | unclear |  | retired | Ormat
Calistoga | 110 | 176.4 | 97 |  | Calpine | Calpine declined to participate in 2020 survey; EIA likely includes another plant in totals?
CE Turbo | 11.5 | 11.5 | 11.5 | 10.35 | CalEnergy
Chena Unit 1 | 0.73 | No listing |  | * | Chena Hot Springs | refused to participate
Chena Unit 2 | 0.4 | No Listing |  | * | Chena Hot Springs | refused to participate
Cobb Creek | 110 | 110 | 110 |  | Calpine | Calpine declined to participate in 2020 survey
Cove Fort | 25 | 25 |  | 30.8 | Enel
Del Ranch (Hoch) | 35.8 | 45.5 | 43.2 | 45.5 | CalEnergy
Desert Peak II (Brady Complex) | 26 | 26 |  | 26 | Ormat
Desert Peak II EGS (Brady Complex) | 1.7 | no listing |  | * | Ormat | *2020 questionnaire litsed this plant, but didn't give any production or capacity figures
Dixie Valley | 60.5 | 64.7 |  |  |  | no response to survey
Dixie Valley -binary | 6.2 | 6.2 |  |  |  | no response to survey
Don A. Campbell (Wild Rose) | 22.5 | 22.5 |  | 25 | Ormat
Don A. Campbell (Wild Rose) II | 22.5 | 25 |  | 25 | Ormat
Eagle Rock | 110 | 110 | 110 |  | Calpine | Calpine declined to participate in 2020 survey
Elmore | 35.8 | 45.5 | 43.2 | 45.5 | CalEnergy
Faulkner | 63.9 | 63.9 |  | 49.5 | Cyrq
Florida Canyon Mine | 0.1 | No Listing |  | retired | ElectraTherm | According to Ann Robertson Tait's paper, this was retired in 2014; company website hasn't been updated since 2015
Galena II (Steamboat Complex) | 13.5 | 13.5 |  | 13.5 | Ormat
Galena III (Steamboat Complex) | 30 | 30 |  | 30 | Ormat
Galena l (Richard Burdette) (Steamboat Complex) | 30 | 30 |  | 30 | Ormat
GEM Bottoming Unit (Ormesia Complex) | 9 | 8 |  | 8 | Ormat
GEM II (Ormesia Complex) | 21.6 | 21.6 |  | 21.6 | Ormat
GEM III (Ormesia Complex) | 21.6 | 21.6 |  | 21.6 | Ormat
Goulds l (Heber Complex) | 10.5 | 10.5 |  | 29.5 | Ormat | *In March 2018, OEC 14 was added, which increased to total capacity to 29.5 MW
Goulds ll (Heber Complex) | 16 | 16 |  | 16 | Ormat
Grant | 118 | 118 | 120 |  | Calpine | Calpine declined to participate in 2020 survey
Heber I (Heber Complex) | 52 | 71 |  | 52 | Ormat | Current number matches 2015 GEA; EIA likely includes another plant in the numbers
Heber II (Heber Complex) Second Imperial | 48 | 48 |  | 48 | Ormat
Heber South (Heber Complex) Second Imperial | 16 | 16 |  | 16 | Ormat
Honey Lake | 1.5 | No Listing |  |  |  | no response to survey
Jersey Valley | 22.5 | 23.5 |  | 23.5 | Ormat
John L. Featherstone (Hudson Ranch 1) | 50 | 55 |  | 55 | Energy Source
Lake View | 118 | 118 | 120 |  | Calpine | Calpine declined to participate in 2020 survey
Leathers | 35.8 | 45.5 |  | 45.5 | CalEnergy
Lightening Dock | 4.4 | 19.2 |  | 14.5 | Cyrq
Mammoth Complex Repowering (Mammoth Complex) | 7.5 | 10 |  | * | Ormat | *2020 questionnaire lists Mammoth complex as 3 plants totaling 40 MW
Mammoth II (Mammoth Complex) | 40 | 30 |  | * | Ormat | *2020 questionnaire lists Mammoth complex as 3 plants totaling 40 MW
McCabe | 110 | 110 | 110 |  | Calpine | Calpine declined to participate in 2020 survey
McGinnes Expansion | 48 | 50 |  | 50 | Ormat | *2020 questionnaire lists this plant as McGuinness Hills II and a new 2020 plant as McGuinness Expansion
McGinness Hills | 48 | 50 |  | 50 | Ormat
Navy I | 102.4 | 92.2 | 102.4 | 90* | Navy | *Navy I is listed on questionnaire as 3 separate plants (Units 1, 2 & 3), each having a nameplate capacity of 30MW
Navy II Unit 1 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 Navy II units
Navy II Unit 2 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 Navy II units
Navy II Unit 3 | 30 | 30 | *33.3 | 30 | Navy | *CA has one listing of 100MW for total of the 3 Navy II units
NCPA I No. 2 | 110 | 110 |  |  |  | no response to survey
NCPA II | 110 | 110 |  |  |  | no response to survey
Neal Hot Springs | 33 | 33 | 28.5 | 33 | Ormat
North Brawley | 50 | 64 | 49.9 | 50 | Ormat
OIT | 1.5 | No listing | 1.75 |  |  | no response on 2020 survey, but 2018 state data shows similar numbers to GEA's 2015 data
OIT | 0.28 | No listing | 0.28 |  |  | no response on 2020 survey, but 2018 state data shows similar numbers to GEA's 2015 data
Ormesa I (Ormesa Complex) | 26.2 | 26.4 |  | 26.4 | Ormat
Ormesa IH (Ormesa Complex) | 8.8 | retired |  | retired | Ormat
Ormesa II (Ormesa Complex) | 4.3 | no listing |  | retired | Ormat
Ormesa II Upgrade (Ormesa Complex) | 24 | 24 |  | 24 | Ormat
Paisley Geothermal | 2 | 3.7 | 3.1 |  |  | no response on 2020 survey, but 2018 state data shows similar numbers to GEA's 2015 data
Patua Phase 1 | 48 | 48 |  | 48 | Cyrq
Puna | 35 | 35 |  | 35 | Ormat
Puna Expansion | 12 | 16 |  | 16 | Ormat
Quicksilver | 118 | 118 | 120 |  | Calpine | Calpine declined to participate in 2020 survey
Raft River | 18 | 18 |  | 18 | Ormat
Ridgeline | 110 | 110 | 110 |  | Calpine | Calpine declined to participate in 2020 survey
Salt Wells | 18.1 | 23.6 |  | 27.6 | Enel
Salton Sea I | 10 | 10 |  | 10.25 | CalEnergy
Salton Sea II | 20 | 20 |  | 19.7 | CalEnergy
Salton Sea III | 54 | 53.9 |  | 54 | CalEnergy
Salton Sea IV | 51 | 47.5 |  | 55 | CalEnergy
Salton Sea V | 58.32 | 58.3 |  | 58.32 | CalEnergy
San Emidio Repower | 12 | 11.8 |  | 11.75 | Ormat
Socrates | 118 | 118 | 120 |  | Calpine | Calpine declined to participate in 2020 survey
Soda Lake 1 | 5.1 | 5.1 |  | 0 | Cyrq
Soda Lake 2 | 18 | 21 |  | 9 | Cyrq
Sonoma | 78 | 78 | 78 |  | Calpine | Calpine declined to participate in 2020 survey
Steamboat 2 (Steamboat Complex) | 18.2 | 18.2 |  | 18.2 | Ormat
Steamboat 3 (Steamboat Complex) | 18.2 | 18.2 |  | 18.2 | Ormat
Steamboat Hills | 5.5 | 5.5 |  | 5.5 | Ormat
Steamboat Hills | 14.6 | 16.3 |  | 16.3 | Ormat
Steamboat I | 2.4 | Possibly retired |  | retired | Ormat
Steamboat IA (Steamboat Complex) | 2 | retired |  | retired | Ormat
Stillwater | 47.3 | 47.2 |  | 33.1 | Enel
Sulphur Spring | 113 | 113 | 117.5 |  | Calpine | Calpine declined to participate in 2020 survey
Thermo Hot Spring | 14 | 14 |  | 14.5 | Cyrq
Tuscarora | 24 | 32 |  | 32 | Ormat
Vulcan | 40 | 39.6 |  | 39.72 | CalEnergy
Wabuska I | 1.6 | retired |  | retired | n/a
Wabuska II | 1.6 | retired |  | retired | n/a
West Ford Flat | 38 | retired | 28.8 |  | Calpine | Calpine declined to participate in 2020 survey
Wineagle | 0.7 | No listing |  |  |  | no response to survey
Power Plants not on GEA's list | GEA | 2018 EIA |  | 2020 survey response | 2020 Operator | Notes
Elmore (ST-302) |  |  |  | 8.41 | CalEnergy
McGinness Hills 3 | n/a | 74 |  | 74 | Ormat
Soda Lake 3 | n/a |  |  | 26.5 | Cyrq
Tungsten Mountain | n/a | 37 |  | 37 | Ormat
Wabuska 3 | n/a |  |  |  |  | no response to survey
Note on B11: Ben: revised from 90
Note on B13: Ben: Ben: revised using this source http://www.pacificorp.com/content/dam/pacificorp/doc/Energy_Sources/EnergyGeneration_FactSheets/RMP_GFS_Blundell.pdf
Note on B17: Ben: used net from EIA
Note on B32: Ben: EIA data revision
Note on B34: Ben: revised by EIA data
Note on B45: HP Authorized Customer: Dan Fleischmann indicated 14.5 MW.
Note on B51: Ben: original 15?
Note on B52: Ben: might be six
Note on B57: Ben: revised friom 90
Note on B64: HP Authorized Customer: Ormat indicated 50 MW. Because of problems/ change of plan operates closer to 27-33 MW
Note on B89: Ben: revised down to match EIA
Note on B90: Ben: Revised Down to match EIA
Note on B91: Ben: revised to match EIA