## Plant Details
Plant details used in pro forma modeling and analysis
| Geysers (CAISO) | Eastern Oregon | New York
Type of Plant | hydrothermal | hydrothermal | EGS
Configuration | Standalone; hybrid w/ battery; deferable load | Hybrid with PV | Standalone; deferable load for hydrogen
Location | Sonoma County, Federal Land | Vale Oregon (Malheur) | Cornell Land
Geothermal Plant Size (MW) | 45 | 22.5 | 45
Depth of Wells | 8500 ft | 915 meters | 4100 meters
Number of Wells | 4 injection, 18 steam wells | 5 injection, 4 steam well
Temperature and Pressure of Wells | 371.8oF, 189oC, 81.8 psi | 286oF, 141oC | 180oC at 6 km
Battery Size | 45 MW/4 hr. | 22.5 MW/4 hr. | 45 MW/4 hr.
Energy Generated (kWh) | 374490000 | 185782080 | 303534000
PV Size (MW) |  | 22.5[1]
PV Capital Cost |  | 31,950,000[2]
PV Fixed Cost ($/kW) |  | 16[3]
Load | Corporate load |  | Corporate load
Geothermal Plant Cost ($) | 303,829,752[4] | 139,300,000[5] | 2,448,152,631[6]
Battery Cost 4 MW/4 MWh (LFP) [7] | 6872000 | 35820000 | 71640000
Battery replacement cost at 10 years[8] ($) | 1297000 | 6760556 | 13521112
Battery replacement cost at 20 years[9] ($) | 4844000 | 25249139 | 50498277
Battery O&M per year[10] ($) | 18860 | 106088 | 212175
[1] (Bolinger et al. 2021)
[2] Ibid.
[3] Ibid.
[4] Geothermal Electricity Technology Evaluation Model (GETEM).
[5] (Weijermars, Zuo, and Warren 2017)
[6] GETEM
[7] (Mongird et al. 2020)
[8] Email from Patrick Balducci, 10/19/2021 describing approach to calculate it based on component replacement.
[9] Ibid.
[10] (Mongird et al. 2020)

## Inputs for pro forma
Inputs from this project used in pro forma modeling and analysis based on contract best practices
| Geysers (CAISO) | Eastern Oregon | New York
Offtaker Type | utility/corporate | utility | Municipal/corporate
Interconnection Costs ($) | 1,900,000.0[1]
Level of Insurance[2] | 0.001 | 0.001 | 0.001
Locational Value | CAISO market | PCM output | NYISO Market
Prices (2020 and 2030) | CAISO market | PCM output | NYSIO Market
Corporate Load Price | $50/MWh, flexible delivery relative to market price | - | $50/MWh, flexible deliver relative to market price
[1] (Richter 2016)
[2] Assumption based on pumped storage hydropower developers

## External inputs for pro forma
Assumptions and input from outside of this project used in pro forma modeling and analysis
| Geysers (CAISO) | Eastern Oregon | New York
Price Escalation[1] | 0.023 | 0.023 | 0.023
Technology Costs | published cost data/GETEM | published cost data/GETEM | GETEM
Variable and Fixed O&M | GETEM | GETEM | GETEM
ROR, Developers[2] | 0.08 | 0.08 | 0.08
WACC[3] | 0.08 | 0.08 | 0.08
Debt-Equity Ratios[4] | 0.7 | 0.7 | 0.7
Cost of Debt Capital[5] | 0.06 | 0.06 | 0.06
Site Basis: State Tax | 0.0884[6] | 0.076[7] | 0.065[8]
Site Basis: Federal Tax[9] | 0.21 | 0.21 | 0.21
State Incentives | Sales Tax Exemption[10] | Property Tax Exemption;[11] Business Energy Tax Credit of 33.33 NPV of eligible value. This program died in 2017. | No state incentives
Federal incentives: ITC[12] | 0.1 | 0.1 and .26 | 0.1
Depreciation (MACRS)[13] | 5-year schedule | 5-year schedule | 5-year schedule
Sales Taxes | 0.0625[14] | 0 | 0.08[15]
Property Tax | 0.01234[16] | 0.01101[17] | 0.018065523[18]
Gross Receipts Tax |  | 0.0057[19]
Royalty Rate[20] | 0.035 | 0.035 | 0.035
Depletion Allowances | Calculated | Calculated | Calculated
Insurance Rates[21] | 0.002 | 0.002 | 0.002
[1] (DOE-FEMP 2021)
[2] Assumed
[3] Assumed
[4] Assumed
[5] Assumed
[6] (State of California n.d.)
[7] (Oregon Department of Revenue 2020a)
[8] (New York State 2020)
[9] (Department of the Treasury 2021)
[10] (NC Clean Energy Technology Center 2021d)
[11] (NC Clean Energy Technology Center 2021c); OR HB3680, BETC; Permanent Oregon Administrative Rules, OR 315.354 et seq, ORS 469 185 et seq; Kimmelfield, ND, L Powell. 2008. "The Oregon Business Energy Tax Credit." Oregon State Bar Taxation Section Vol 11(1).
[12] (NC Clean Energy Technology Center 2021a)
[13] (NC Clean Energy Technology Center 2021b)
[14] (Sales Tax Handbook 2021)
[15] (New York State 2019)
[16] (County of Sonoma 2021)
[17] (Oregon Department of Revenue 2020b)
[18] (Thompkins County 2020)
[19] (State of Oregon 2020)
[20] Based on GETEM
[21] Assumption based on pumped storage hydropower developer information

## N. California Results
ESET results for Northern California |  |  |  | Geysers project results indicating that if producers were willing to accept a lower hurdle rate than assumed, Geysers would be feasible.
| 2018 | 2019 | 2020 | Case | Revenue level | Revenue escalation | Equity | Cost | Price (¢/net kWh) | Electricity Price Escalation | Minimum DCR | Internal Rate of Return | Net Present Value
Energy sale (Geothermal Thermal) | 14076937 | 12703721 | 10707272 | [6 empty] | (%) | (ratio) | (%) | ( $ Mil.)
Energy sale (Corporate Load) | 16193250 | 16187320 | 18168750 | 1 | Average | Inflation rate | All equity | - | 11.19 | 2.3 | - | 7.65 | -10.72
Energy arbitrage (BESS) | 705189 | 711119 | 715794 | 2 | High | Inflation rate | All equity | - | 11.91 | 2.3 | - | 8.5 | 15.6
Regulation up | 3386681 | 3386681 | 2822754 | 3 | Medium | Inflation rate | All equity | - | 11.2 | 2.3 | - | 7.66 | -10.35
Regulation down | 7590642 | 7391479 | 6789630 | 4 | Low | Inflation rate | All equity | - | 10.47 | 2.3 | - | 6.74 | -37.34
Resource Adequacy/Capacity (Geothermal) | - | 2200770 | - | 5 | Average | Half inflation rate | All equity | - | 11.19 | 1.15 | - | 4.95 | -78.6
Resource Adequacy/Capacity BESS | - | 1467180 | - | 6 | Average | None | All equity | - | 11.19 | - | - | 1.64 | -133.52
Spinning Reserve | - | - | - | 7 | Average | Inflation rate | 70/30 debt equity | - | 11.19 | 2.3 | 1.35 | 22.96 | 77.28
Total annual benefits | 41952699 | 40380320 | 39204200 | 8 | Average | Half inflation rate | 70/30 debt equity | - | 11.19 | 1.15 | 0.81 | 13.01 | 9.41
Total annual benefit with RA |  | 44048270 |  | 9 | Average | None | 70/30 debt equity | - | 11.19 | - | 0.29 | - | -45.52
|  |  |  | 10 | Average | Inflation rate | All equity | 10% more cost | 11.19 | 2.3 | - | 6.68 | -43.25
|  |  |  | 11 | Average | Half inflation rate | All equity | 10% more cost | 11.19 | 1.15 | - | 3.98 | -111.12
|  |  |  | 12 | Average | None | All equity | 10% more cost | 11.19 | - | - | 0.58 | -166.05
|  |  |  | 13 | Average | Half inflation rate | 70/30 debt equity | 10% more cost | 11.19 | 1.15 | 0.71 | - | -14.32
|  |  |  | 14 | Average | None | 70/30 debt equity | 10% more cost | 11.19 | - | 0.23 | - | -69.24
|  |  |  | 15 | Average | Inflation rate | All equity | 22% less cost | 11.19 | 2.3 | - | 10.41 | 60.84
|  |  |  | 16 | Average | Inflation rate | 70/30 debt equity | 22% less cost | 11.19 | 2.3 | 1.81 | 34.16 | 129.48
|  |  |  | 17 | Average with RA payment | Inflation rate | All equity | - | 15.83 | 2.3 | - | 12.71 | 159.7

## E. Oregon Results
ESET results for Eastern Oregon |  |  | Neal Hot Springs project results where base case internal rates of return are negative or undefined indicating the that the project can’t be financed without incentives
| 2020 | 2030 | Case | Revenue Level | Escalation Rate | Equity | Cost | Price (¢/net kWh) | Electricity Price Escalation | Minimum DCR | Internal Rate of Return | Net Present Value
Energy sale (Geothermal Thermal) | 3159631 | 3583832 | [6 empty] | (%) | (ratio) | (%) | ( $ )
Energy sale (PV) | 577513 | 554356 | 1 | Average | Inflation rate | All equity | - | 2.24 | 2.3 | - | - | -187.28
Regulation up | 40516 | 119120 | 2 | Average, | Inflation rate | All equity | - | 12.21 | 2.3 | - | 8 | 0
Regulation down | 69806 | 466645 |  | Break-even price
Spinning reserve |  |  | 3 | Average | Inflation rate | All equity | 22% less cost | 2.24 | 2.3 | - | - | -150.46
Total annual benefits | 3847466 | 4723953 | 4 | Average, | Inflation rate | All equity | 22% less cost | 10.25 | 2.3 | - | 8 | 0
Break-even price

## New York Results
ESET results for New York |  |  |  | Cornell EGS project results indicating that it isn’t currently feasible but could be marginally feasible with 82% cost reduction
| 2018 | 2019 | 2020 | Case | Revenue Level | Escalation Rate | Equity | Cost | Price | Electricity Price Escalation | Minimum DCR | Internal Rate of Return | Net Present Value
Energy sale (Geothermal Thermal) | 14076937 | 12703721 | 10707272 | [5 empty] | (¢/net kWh) | (%) | (ratio) | (%) | ( $ )
Energy sale (Corporate Load) | 16193250 | 16187320 | 18168750 | 1 | Average | Inflation rate | All equity |  | 14.52 | 2.3 | - | - | -2877.61
Energy arbitrage (BESS) | 705189 | 711119 | 715794 | 2 | Average, | Inflation rate | All equity |  | 108.68 | 2.3 | - | 8 | -0.01
Regulation up | 3386681 | 3386681 | 2822754 |  | Break-even price
Regulation down | 7590642 | 7391479 | 6789630 | 3 | Average | Inflation rate | All equity | 18% of original cost | 14.52 | 2.3 | - | 3.04 | -228.31
Spinning reserve | - | - | - | 4 | Average, | Inflation rate | All equity | 18% of original cost | 21.99 | 2.3 | - | 8 | 0.01
Total annual benefits | 41952699 | 40380320 | 39204200 |  | Break-even price