## Slide 1
Chemical Tool Logging Results
at 16B(78)-32
Prepared for GDR upload, 17 April 2025
Notes: Quarterly report?

## Slide 2
Chloride tool field test at 16B-32
Wireline string assembly
Deployment
Tool successfully deployed to approximately 9,480 ft during the Summer 2024 circulation test
Maximum measured temperature of 210˚C and the tool passes Stage 3
Measurement results indicate a change in chloride concentration in the perforation zones, suggesting the chemical tool is capable of mapping fractures in a flowing well

## Slide 3
Data Processing Steps for 16B(78)-32 Logging Results
Raw data
Cleaned, Corrected, and Calculated Data
GDR_16B-32_1raw.csv
Contains both RIH and POOH data in the time domain.
GDR_58-32_POOH_2cleaned.csv
GDR_58-32_RIH_2cleaned.csv
Corrections:
Separation of POOH and RIH data
Depth conversion
pressure data correction
Additional chloride concentration conversions for each chloride sensor using the Tool 4 SH1 calibration curve (in addition to the conversion calculated in the LabView at the field).

## Slide 4
Stages and guns depth references
Source:
Neubrex Energy Services (US), LLC. (2024). Utah FORGE: Well 16B(78)-32 Post Hydraulic Fracturing 9 Hour Dual Well Circulation Test Fiber Optic Monitoring Report - April 2024 [data set]. Retrieved from https://gdr.openei.org/submissions/1685.
From FORGE
From SLB

## Slide 5
RIH, full depth
Input data
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 6
POOH, full depth
Input data
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 7
RIH,
zonal depth
Input data
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 8
POOH, zonal depth
Input data
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 9
Examining Cl concentration
Chart: 16B Chemical Sensor calibration curve (Tool 4 SH1)
| 0.45600000000000002 | 0.70699999999999996 | 3.8100000000000002E-2 | 0.46100000000000002 | 0.72 | 3.7499999999999999E-2 | 0.45400000000000001 | 0.67700000000000005 | 5.3199999999999997E-2
Well Samples | 1.4301 | 0.9022 | 2.4577 | 1.4301 | 0.9022 | 2.4577 | 1.4301 | 0.9022 | 2.4577
KCl Solution | 2.301 | 1.301 | 0.30103 | 0.30103 | 2.301 | 1.301 | 0.30103 | 0.30103 | 2.301 | 1.301 | 0.30103 | 0.30103
All | 1.4301 | 0.9022 | 2.4577 | 2.301 | 1.301 | 0.30103 | 0.30103 | 1.4301 | 0.9022 | 2.4577 | 2.301 | 1.301 | 0.30103 | 0.30103 | 1.4301 | 0.9022 | 2.4577 | 2.301 | 1.301 | 0.30103 | 0.30103
Chart: 58-32 Chemical Sensor calibration curve (Tool 1)
| 1.9 | 1.74 | 2.5 | 2.5 | 2.17 | 1.67
All Data | 1.4301 | 0.9022 | 2.4577 | 2.301 | 1.301 | 0.30103
Well Samples | 1.4301 | 0.9022 | 2.4577
KCl Solution | 2.301 | 1.301 | 0.30103
Molarity positively correlated with voltage in 16B data
Molarity inversely correlated with voltage in 58-32 data
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 10
Examining Cl concentration
RIH, ft MD
Derived from voltage after logging
Derived from voltage while logging
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 11
Constraining Chloride Concentration ranges
RIH, ft MD
DATE & TIME | WELL | Concentration (mg/l) |  |  | Molarity (mol/l) |  |  | Sum of molarity (mol/l)
 |  | B | Cl | SO4 | B | Cl | SO4 | 
7/19/2023 20:00 | 16A(78)-32 | 2.07 | 1300 | 162 | 2.59E-05 | 3.66E-02 | 12.2.4.69E-03 | 3.83E-02
7/20/2023, 7:50 | 16B(78)-32 | 9.05 | 4384 | 239 | 1.13E-04 | 1.23E-01 | 2.49E-03 | 1.261E-01
7/20/2023, 15:00 | 16B(78)-32 | 0.32 | 122 | 115 | 4.01E-06 | 3.44E-03 | 1.20E-03 | 4.6E-03
Relevant chemical species of well samples from Utah FORGE Wells 16A(78)-32 and 16B(78)-32
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid

## Slide 12
Constraining Chloride Concentration ranges
POOH, ft MD
DATE & TIME | WELL | Concentration (mg/l) |  |  | Molarity (mol/l) |  |  | Sum of molarity (mol/l)
 |  | B | Cl | SO4 | B | Cl | SO4 | 
7/19/2023 20:00 | 16A(78)-32 | 2.07 | 1300 | 162 | 2.59E-05 | 3.66E-02 | 12.2.4.69E-03 | 3.83E-02
7/20/2023, 7:50 | 16B(78)-32 | 9.05 | 4384 | 239 | 1.13E-04 | 1.23E-01 | 2.49E-03 | 1.261E-01
7/20/2023, 15:00 | 16B(78)-32 | 0.32 | 122 | 115 | 4.01E-06 | 3.44E-03 | 1.20E-03 | 4.6E-03
Relevant chemical species of well samples from Utah FORGE Wells 16A(78)-32 and 16B(78)-32
Notes: Lattice Boltzmann – particle based simulation based on probablitity of diffusion
Ansys – try refinement grid