## All data
City | UTES_Type | Scenario | UTES_threshold_temp_C | maintenance_fraction | electricity_price_per_kWh | total_sqft | avg_sqft | avg_year_built | t_ghp_borehole_length_m | ghp_drilling_CAPEX | ghp_pump_CAPEX | ghp_hx_CAPEX | t_ghp_CAPEX | ghp_pump_OPEX | ghp_bldg_heat_supplied_kWh | ghp_bldg_cool_supplied_kWh | t_ghp_bldg_supplied_kWh | mean_amb_T_C | utes_well_depth | utes_drilling_CAPEX | utes_pump_CAPEX | utes_cooler_CAPEX | utes_hx_CAPEX | total_utes_CAPEX | avg_ten_pump_percent | min_ten_pump_percent | max_ten_pump_percent | ten_pump_CAPEX | ten_piping_CAPEX | ten_piping_diamter_in | heating_capacity_kW | cooling_capacity_kW | t_capacity_MW | ten_HVAC_CAPEX | t_ten_CAPEX | ten_pump_OPEX | t_avg_HP_OPEX | supplemental_chiller_CAPEX | t_CAPEX_b4_multipliers | t_CAPEX_after_multipliers | t_avg_OPEX | t_avg_utes_stored_MWh | t_avg_ghp_bldg_supplied_MWh | t_avg_utes_bldg_supplied_MWh | t_avg_bldg_supplied_MWh | t_avg_utes_pump_OPEX | t_avg_cooler_OPEX | lcoe | num_weeks_utes_storage | num_weeks_utes_production | num_weeks_ghp_heating | num_weeks_ghp_cooling | storage_lcoe | t_baseline_CAPEX | t_avg_baseline_OPEX | t_baseline_lcoe | t_ghp_plus_trad_CAPEX | t_avg_ghp_plus_trad_OPEX | t_ghp_plus_trad_lcoe | t_utes_plus_trad_CAPEX | t_avg_utes_plus_trad_OPEX | t_utes_plus_trad_lcoe | Run_ID
albuquerque | ATES | Regular | 7 | 0.01 | 0.1049 | 435000 | 62142.8571 | 1988.5714 | 8025.7375 | 789893.0876 | 691.9195 | 886.006 | 791471.0131 | 296.136 | 403701.4517 | 229103.5763 | 632805.028 | 15.1075 | 112 | 44800 | 85006.5288 | 76548.4852 | 99970.6099 | 306325.6239 | 0.024927 | 6.4886e-09 | 0.20475 | 4605.8151 | 1038000 | 10 | 1061.4535 | 1793.7298 | 1.7937 | 969073.6381 | 2011679.4532 | 2950.6048 | 94863.0736 | 47823.4291 | 3157299.5193 | 4262354.3511 | 192682.623 | 4915.8899 | 632.805 | 2991.7883 | 3624.5933 | 32775.9646 | 18046.1493 | 132.1674 | 25 | 27 | 13.0476 | 11.2381 | 12.2213 | 3270813.5622 | 278833.9899 | 114.6815 | 4096716.6664 | 267923.1569 | 123.0043 | 3506597.5392 | 195380.3659 | 121.1797 | 5-20
| RTES | Regular | 7 | 0.01 | 0.1049 | 435000 | 62142.8571 | 1988.5714 | 8025.7375 | 789893.0876 | 691.9195 | 886.006 | 791471.0131 | 296.136 | 403701.4517 | 229103.5763 | 632805.028 | 15.1075 | 638 | 255200 | 66544.01 | 73676.8949 | 99970.6099 | 495391.5149 | 0.024927 | 6.4886e-09 | 0.20475 | 4605.8151 | 1038000 | 10 | 1061.4535 | 1793.7298 | 1.7937 | 969073.6381 | 2011679.4532 | 2950.6048 | 93976.9164 | 118748.4362 | 3417290.4174 | 4613342.0635 | 188188.2691 | 5724.3006 | 632.805 | 2957.153 | 3589.958 | 25262.5462 | 18172.5863 | 139.2672 | 25 | 26.7667 | 13.0476 | 11.2381 | 16.3105 | 3270813.5622 | 278833.9899 | 114.6815 | 4096716.6664 | 267923.1569 | 123.0043 | 3761836.492 | 188996.8025 | 125.8596 | 5-20
annapolis | ATES | Regular | 2.9 | 0.01 | 0.1355 | 323000 | 46142.8571 | 1960.5714 | 14500.807 | 1070449.5758 | 1250.1519 | 886.006 | 1072585.7337 | 975.7186 | 1035436.9202 | 587617.8352 | 1623054.7555 | 13.7353 | 112 | 44800 | 5620.0591 | 60361.0758 | 110950.2219 | 221731.3568 | 0.023787 | 3.9336e-08 | 0.32764 | 9551.4241 | 1038000 | 10 | 1740.1939 | 2334.0137 | 2.334 | 1260965.3491 | 2308516.7732 | 3356.0378 | 128993.4126 | 29206.7103 | 3632040.574 | 4903254.7748 | 201657.2196 | 2735.9382 | 1623.0548 | 2066.8888 | 3689.9435 | 2326.4186 | 16700.7591 | 143.0552 | 27 | 18 | 20.869 | 13.4167 | 13.7327 | 3903860.041 | 353057.9308 | 152.3373 | 4969421.0661 | 295072.872 | 149.4285 | 4112019.2831 | 256695.1134 | 150.3589 | 5-20
| RTES | Regular | 2.9 | 0.01 | 0.1355 | 323000 | 46142.8571 | 1960.5714 | 14500.807 | 1070449.5758 | 1250.1519 | 886.006 | 1072585.7337 | 975.7186 | 1035436.9202 | 587617.8352 | 1623054.7555 | 13.7353 | 488 | 195200 | 43364.6545 | 69471.0546 | 110949.5562 | 418985.2653 | 0.023787 | 3.9336e-08 | 0.32764 | 9551.4241 | 1038000 | 10 | 1740.1939 | 2334.0137 | 2.334 | 1260965.3491 | 2308516.7732 | 3356.0378 | 128951.3427 | 45533.5513 | 3845621.3234 | 5191588.7867 | 222603.0742 | 3267.2817 | 1623.0548 | 2065.6158 | 3688.6706 | 18021.8992 | 19046.4988 | 154.3227 | 27 | 18 | 20.869 | 13.4167 | 20.9708 | 3903860.041 | 353057.9308 | 152.3373 | 4969421.0661 | 295072.872 | 149.4285 | 4378312.0594 | 276666.803 | 161.4441 | 5-20
charleston | ATES | Regular | 16.8 | 0.01 | 0.1062 | 315000 | 45000 | 1986 | 10985.9863 | 810985.5057 | 947.1302 | 886.006 | 812818.6418 | 253.4748 | 290236.2394 | 164748.7608 | 454985.0002 | 19.5668 | 576 | 230400 | 22929.1919 | 89525.2278 | 122045 | 464899.4196 | 0.032805 | 1.1678e-08 | 0.28556 | 7717.7566 | 1038000 | 10 | 991.1908 | 2053.7918 | 2.0538 | 1109573.7244 | 2155291.481 | 4266.223 | 96344.6794 | 142355.843 | 3575365.3855 | 4826743.2705 | 187155.5949 | 5083.4452 | 454.985 | 3204.782 | 3659.767 | 6730.8203 | 18354.9235 | 140.4498 | 22.3667 | 28.2667 | 8.6369 | 6.3631 | 14.3882 | 3507869.3739 | 319703.7034 | 112.9045 | 4382352.3115 | 311522.2254 | 121.9293 | 3951363.0602 | 175097.4503 | 122.6069 | 5-20
| RTES | Regular | 16.8 | 0.01 | 0.1062 | 315000 | 45000 | 1986 | 10985.9863 | 810985.5057 | 947.1302 | 886.006 | 812818.6418 | 253.4748 | 290236.2394 | 164748.7608 | 454985.0002 | 19.5668 | 692 | 276800 | 17568.5797 | 78286.1327 | 122045 | 494699.7124 | 0.032805 | 1.1678e-08 | 0.28556 | 7717.7566 | 1038000 | 10 | 991.1908 | 2053.7918 | 2.0538 | 1109573.7244 | 2155291.481 | 4266.223 | 95397.1711 | 142355.843 | 3605165.6783 | 4866973.6656 | 186149.9427 | 6507.8687 | 454.985 | 3168.2021 | 3623.1871 | 5205.8239 | 17848.8136 | 142.0397 | 25 | 26.6667 | 8.6369 | 6.3631 | 14.8711 | 3507869.3739 | 319703.7034 | 112.9045 | 4382352.3115 | 311522.2254 | 121.9293 | 3991593.4554 | 172335.4895 | 123.6038 | 5-20
chicago | ATES | Regular | -8.92 | 0.01 | 0.1164 | 274000 | 39142.8571 | 1995.2857 | 26300.7244 | 2588517.2909 | 2267.4532 | 886.006 | 2591670.7501 | 2020.66 | 1896147.8914 | 1076196.5476 | 2972344.439 | 10.5112 | 462 | 184800 | 15856.6281 | 5314.4808 | 95759.6136 | 301730.7225 | 0.01322 | 9.8711e-08 | 0.17854 | 3723.7919 | 1038000 | 10 | 1896.8094 | 1641.8503 | 1.8968 | 1024763.0058 | 2066486.7977 | 1136.7266 | 107878.4019 | 43627.097 | 5003515.3673 | 6754745.7458 | 181549.5707 | 153.1557 | 2972.3444 | 437.1128 | 3409.4572 | 1514.7626 | 610.7837 | 184.4311 | 8 | 8 | 27.5476 | 18.0238 | 44.547 | 3496213.5602 | 262071.0085 | 151.9974 | 6578214.3606 | 189674.2923 | 176.3936 | 3891467.6951 | 244296.6647 | 161.2746 | 5-20
| RTES | Regular | -8.92 | 0.01 | 0.1164 | 274000 | 39142.8571 | 1995.2857 | 26300.7244 | 2588517.2909 | 2267.4532 | 886.006 | 2591670.7501 | 2020.66 | 1896147.8914 | 1076196.5476 | 2972344.439 | 10.5112 | 645 | 258000 | 30906.4221 | 5750.4911 | 95759.6136 | 390416.5268 | 0.01322 | 9.8711e-08 | 0.17854 | 3723.7919 | 1038000 | 10 | 1896.8094 | 1641.8503 | 1.8968 | 1024763.0058 | 2066486.7977 | 1136.7266 | 107886.5015 | 49167.3301 | 5097741.4048 | 6881950.8964 | 184315.7072 | 166.2052 | 2972.3444 | 437.3981 | 3409.7425 | 2972.3867 | 659.3878 | 187.8248 | 8 | 8 | 27.5476 | 18.0238 | 57.8351 | 3496213.5602 | 262071.0085 | 151.9974 | 6578214.3606 | 189674.2923 | 176.3936 | 4011193.5309 | 246697.8506 | 164.7086 | 5-20
decatur | ATES | No-GHP | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 37 | 14800 | 9527.9038 | 31684.027 | 110950.2219 | 166962.1527 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 125602.1132 | 8564.1171 | 4517415.0251 | 6098510.2839 | 196975.4197 | 1741.7737 | 2741.3376 | 1322.7288 | 4064.0664 | 2022.7042 | 4433.2759 | 147.8786 | 10 | 40 | 28.8452 | 18 | 11.052 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3340466.3104 | 199616.2131 | 164.7954 | 5-20
|  | Regular | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 37 | 14800 | 2937.7128 | 4920.4325 | 87835.5646 | 110493.71 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 97142.6205 | 27803.9522 | 4480186.4174 | 6048251.6635 | 162530.1794 | 131.7104 | 2741.3376 | 320.2896 | 3061.6272 | 295.5474 | 616.7322 | 183.6783 | 10 | 7 | 28.8452 | 18 | 23.145 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3541626.4019 | 222080.1079 | 163.5879 | 5-20
| RTES | No-GHP | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 1047 | 418800 | 49321.5697 | 36691.7901 | 110950 | 615763.3598 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 125225.3385 | 73146.8155 | 5030798.9305 | 6791578.5562 | 213186.0615 | 2511.597 | 2741.3376 | 1309.4575 | 4050.7951 | 10838.9496 | 5382.3569 | 164.5608 | 10 | 39.5333 | 28.8452 | 18 | 33.8707 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3946347.9399 | 213492.7769 | 188.3658 | 5-20
|  | Regular | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 1047 | 418800 | 13550.4393 | 7522.03 | 87835.5646 | 527708.0339 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 97004.8208 | 74533.4092 | 4944130.1982 | 6674575.7676 | 170336.7567 | 223.2264 | 2741.3376 | 315.4358 | 3056.7734 | 1501.8111 | 969.9146 | 200.4883 | 10 | 7 | 28.8452 | 18 | 107.7945 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 4104865.7392 | 227673.8975 | 179.6181 | 5-20
jackson | ATES | Regular | 14.15 | 0.01 | 0.1234 | 408000 | 58285.7143 | 1956.8571 | 13050.0681 | 963356.0274 | 1125.08 | 886.006 | 965367.1134 | 386.5163 | 276373.3922 | 181834.0404 | 458207.4326 | 18.2966 | 110 | 44000 | 10823.9546 | 132766.7792 | 144234.5562 | 331825.2899 | 0.045754 | 2.1239e-09 | 0.41849 | 13958.7227 | 1038000 | 10 | 940.625 | 2578.9925 | 2.579 | 1393316.6497 | 2445275.3724 | 8187.0932 | 161738.9909 | 61555.6227 | 3804023.3984 | 5135431.5879 | 269464.7254 | 6943.8443 | 458.2074 | 4858.716 | 5316.9234 | 3721.7318 | 32722.8528 | 114.6248 | 22 | 30 | 10.2619 | 6.3095 | 10.0773 | 3965855.4363 | 409169.4469 | 123.5469 | 5067680.0795 | 400962.7251 | 134.5177 | 4229064.3628 | 261713.1483 | 102.6908 | 5-20
| RTES | Regular | 14.15 | 0.01 | 0.1234 | 408000 | 58285.7143 | 1956.8571 | 13050.0681 | 963356.0274 | 1125.08 | 886.006 | 965367.1134 | 386.5163 | 276373.3922 | 181834.0404 | 458207.4326 | 18.2966 | 998 | 399200 | 19716.1736 | 67081.7364 | 144234.5562 | 630232.4661 | 0.045754 | 2.1239e-09 | 0.41849 | 13958.7227 | 1038000 | 10 | 940.625 | 2578.9925 | 2.579 | 1393316.6497 | 2445275.3724 | 8187.0932 | 164075.7016 | 158636.1956 | 4199511.1476 | 5669340.0492 | 271218.6919 | 7301.46 | 458.2074 | 4936.3539 | 5394.5613 | 6558.5895 | 21207.9259 | 120.4425 | 25 | 26.6 | 10.2619 | 6.3095 | 11.6244 | 3965855.4363 | 409169.4469 | 123.5469 | 5067680.0795 | 400962.7251 | 134.5177 | 4631914.0506 | 258296.8022 | 106.0133 | 5-20
lansing | ATES | No-GHP | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 80 | 32000 | 52361.2427 | 17832.5711 | 110949.5562 | 213143.3701 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 110675.4505 | 8764.1456 | 3706744.7609 | 5004105.4271 | 176511.3891 | 1394.5321 | 1749.9885 | 1325.1029 | 3075.0914 | 9229.0644 | 2740.2011 | 165.5447 | 8 | 42 | 26.8631 | 12.8512 | 12.5659 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2816438.3861 | 170348.0897 | 169.5833 | 5-20
|  | Regular | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 80 | 32000 | 14597.0083 | 7926.269 | 103025.0634 | 157548.3407 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 89098.1752 | 12446.5454 | 3654832.1313 | 4934023.3772 | 146031.7261 | 232.18 | 1749.9885 | 680.7706 | 2430.7591 | 2650.4422 | 1223.7354 | 194.5146 | 9 | 14 | 26.8631 | 12.8512 | 16.3057 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2966343.5002 | 183592.9448 | 168.5197 | 5-20
| RTES | No-GHP | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 288 | 115200 | 8501.5636 | 18735.4907 | 110950 | 253387.0543 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 110643.4253 | 11210.1223 | 3749434.4217 | 5061736.4693 | 169482.4855 | 1511.3337 | 1749.9885 | 1324.1466 | 3074.1351 | 1477.4774 | 2898.6228 | 164.2307 | 8 | 42 | 26.8631 | 12.8512 | 13.8874 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2870767.3598 | 163125.336 | 167.468 | 5-20
|  | Regular | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 288 | 115200 | 2220.4113 | 10132.7604 | 103024.6196 | 230577.7913 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 89093.6834 | 16156.2411 | 3731571.2776 | 5037621.2247 | 145234.0022 | 255.938 | 1749.9885 | 680.6365 | 2430.625 | 396.0255 | 1656.4557 | 196.9573 | 9 | 14 | 26.8631 | 12.8512 | 23.0826 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 3064933.2585 | 182497.0511 | 170.8495 | 5-20
memphis | ATES | Regular | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 111 | 44400 | 1929.0944 | 83658.8177 | 106987.5317 | 236975.4437 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 94045.1263 | 20860.961 | 3325720.6174 | 4489722.8335 | 163020.0641 | 3283.2097 | 719.161 | 2215.3272 | 2934.4881 | 640.7811 | 17014.7284 | 157.4521 | 27 | 24 | 18.125 | 8.2619 | 13.5688 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 3665258.6775 | 173938.2304 | 146.1689 | 5-20
| RTES | Regular | 6.07 | 0.01 | 0.1273 |  |  |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 |  | 718 | 287200 | 3703.7064 | 87196.5004 | 106987.5317 | 485087.7386 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585647.8113 | 4840624.5453 | 171211.8656 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 |  |  | 165.2127 | 27 | 24 | 18.125 | 8.2619 | 14.0286 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000210.2755 | 183413.6235 | 154.3539 | 5-20
phoenix | ATES | Regular | 20.43 | 0.01 | 0.1192 | 384000 | 54857.1429 | 1999.7143 | 11424.478 | 1124397.1228 | 984.9337 | 886.006 | 1126268.0624 | 183.1504 | 5264.6829 | 186393.2447 | 191657.9276 | 23.293 | 69 | 41400 | 13113.0953 | 73354.0646 | 175670.9073 | 303538.0672 | 0.035994 | 1.1326e-07 | 0.37272 | 11664.8393 | 1038000 | 10 | 163.0455 | 2366.865 | 2.3669 | 1278713.4811 | 2328378.3204 | 5730.5627 | 110041.5428 | 50173.1705 | 3808357.6205 | 5141282.7876 | 192022.4703 | 4371.1411 | 191.6579 | 3592.2441 | 3783.902 | 3057.3195 | 13787.4569 | 141.1539 | 13 | 39 | 0.83333 | 8.4524 | 8.7488 | 3618561.4245 | 364880.4052 | 118.6946 | 5098487.4132 | 366721.1331 | 139.4669 | 3736016.4816 | 173533.2088 | 110.4553 | 5-20
| RTES | Regular | 20.43 | 0.01 | 0.1192 | 384000 | 54857.1429 | 1999.7143 | 11424.478 | 1124397.1228 | 984.9337 | 886.006 | 1126268.0624 | 183.1504 | 5264.6829 | 186393.2447 | 191657.9276 | 23.293 | 171 | 102600 | 85760.5455 | 83701.0566 | 175670.9073 | 447732.5093 | 0.035994 | 1.1326e-07 | 0.37272 | 11664.8393 | 1038000 | 10 | 163.0455 | 2366.865 | 2.3669 | 1278713.4811 | 2328378.3204 | 5730.5627 | 110459.035 | 110728.2769 | 4013107.1691 | 5417694.6783 | 214414.0002 | 5522.6719 | 191.6579 | 3606.6042 | 3798.2621 | 20920.1648 | 16389.1747 | 152.386 | 13 | 38.7 | 0.83333 | 8.4524 | 12.2416 | 3618561.4245 | 364880.4052 | 118.6946 | 5098487.4132 | 366721.1331 | 139.4669 | 3930678.9785 | 195839.2134 | 120.0945 | 5-20
portland | ATES | No-GHP | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 200 | 80000 | 2221.2825 | 13921.3728 | 105666.561 | 201809.2163 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 84727.9289 | 1364.7995 | 3427803.2314 | 4627534.3624 | 135180.7261 | 922.3445 | 1852.2263 | 1187.8991 | 3040.1254 | 461.7495 | 1884.3019 | 145.161 | 10 | 42 | 26.4226 | 15.006 | 11.9318 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3010591.6839 | 141077.8921 | 168.3388 | 5-20
|  | Regular | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 200 | 80000 | 836.4205 | 29348.6949 | 81231.3768 | 191416.4922 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66979.391 | 5367.5007 | 3421413.2085 | 4618907.8314 | 118966.6458 | 192.0258 | 1852.2263 | 500.1014 | 2352.3276 | 146.7409 | 3701.8071 | 180.6167 | 20 | 11 | 26.4226 | 15.006 | 30.5401 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3263870.8371 | 162945.0163 | 174.9378 | 5-20
| RTES | No-GHP | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 6137.2841 | 21971.7005 | 105666.561 | 431775.5456 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 84595.2617 | 8158.9423 | 3664563.7034 | 4947160.9996 | 140842.8499 | 2047.5086 | 1852.2263 | 1182.758 | 3034.9842 | 1405.2417 | 3336.2029 | 154.3798 | 10 | 42 | 26.4226 | 15.006 | 25.0853 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3321046.2285 | 145640.2815 | 181.421 | 5-20
|  | Regular | 3.3 | 0.01 | 0.1058 |  |  |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 |  | 745 | 298000 | 1725.4042 | 16830.306 | 81231.3768 | 397787.087 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3638427.5337 | 4911877.1705 | 121554.6631 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4064 | 20 | 11 | 26.4226 | 15.006 | 56.9798 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3542471.1401 | 164448.3302 | 184.5756 | 5-20
|  | Regular | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2328.1414 | 16830.306 | 81231.3768 | 398389.8242 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639030.2709 | 4912690.8658 | 121613.6459 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4607 | 20 | 11 | 26.4226 | 15.006 | 57.0824 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543284.8354 | 164505.2033 | 184.6336 | 5-20

## Regular only
City | UTES_Type | city_name | run_id | UTES_threshold_temp_C | maintenance_fraction | electricity_price_per_kWh | total_sqft | avg_sqft | avg_year_built | climate_zone | t_ghp_borehole_length_m | ghp_drilling_CAPEX | ghp_pump_CAPEX | ghp_hx_CAPEX | t_ghp_CAPEX | ghp_pump_OPEX | ghp_bldg_heat_supplied_kWh | ghp_bldg_cool_supplied_kWh | t_ghp_bldg_supplied_kWh | mean_amb_T_C | utes_well_depth | utes_drilling_CAPEX | utes_pump_CAPEX | utes_cooler_CAPEX | utes_hx_CAPEX | total_utes_CAPEX | avg_ten_pump_percent | min_ten_pump_percent | max_ten_pump_percent | ten_pump_CAPEX | ten_piping_CAPEX | ten_piping_diamter_in | heating_capacity_kW | cooling_capacity_kW | t_capacity_MW | ten_HVAC_CAPEX | t_ten_CAPEX | ten_pump_OPEX | t_avg_HP_OPEX | supplemental_chiller_CAPEX | t_CAPEX_b4_multipliers | t_CAPEX_after_multipliers | t_avg_OPEX | t_avg_utes_stored_MWh | t_avg_ghp_bldg_supplied_MWh | t_avg_utes_bldg_supplied_MWh | t_avg_bldg_supplied_MWh | t_avg_utes_pump_OPEX | t_avg_cooler_OPEX | lcoe | num_weeks_utes_storage | num_weeks_utes_production | num_weeks_ghp_heating | num_weeks_ghp_cooling | storage_lcoe | t_baseline_CAPEX | t_avg_baseline_OPEX | t_baseline_lcoe | t_ghp_plus_trad_CAPEX | t_avg_ghp_plus_trad_OPEX | t_ghp_plus_trad_lcoe | t_utes_plus_trad_CAPEX | t_avg_utes_plus_trad_OPEX | t_utes_plus_trad_lcoe | Run_ID
albuquerque | ATES |  |  | 7 | 0.01 | 0.1049 | 435000 | 62142.8571 | 1988.5714 |  | 8025.7375 | 789893.0876 | 691.9195 | 886.006 | 791471.0131 | 296.136 | 403701.4517 | 229103.5763 | 632805.028 | 15.1075 | 112 | 44800 | 85006.5288 | 76548.4852 | 99970.6099 | 306325.6239 | 0.024927 | 6.4886e-09 | 0.20475 | 4605.8151 | 1038000 | 10 | 1061.4535 | 1793.7298 | 1.7937 | 969073.6381 | 2011679.4532 | 2950.6048 | 94863.0736 | 47823.4291 | 3157299.5193 | 4262354.3511 | 192682.623 | 4915.8899 | 632.805 | 2991.7883 | 3624.5933 | 32775.9646 | 18046.1493 | 132.1674 | 25 | 27 | 13.0476 | 11.2381 | 12.2213 | 3270813.5622 | 278833.9899 | 114.6815 | 4096716.6664 | 267923.1569 | 123.0043 | 3506597.5392 | 195380.3659 | 121.1797 | 5-20
| RTES |  |  | 7 | 0.01 | 0.1049 | 435000 | 62142.8571 | 1988.5714 |  | 8025.7375 | 789893.0876 | 691.9195 | 886.006 | 791471.0131 | 296.136 | 403701.4517 | 229103.5763 | 632805.028 | 15.1075 | 638 | 255200 | 66544.01 | 73676.8949 | 99970.6099 | 495391.5149 | 0.024927 | 6.4886e-09 | 0.20475 | 4605.8151 | 1038000 | 10 | 1061.4535 | 1793.7298 | 1.7937 | 969073.6381 | 2011679.4532 | 2950.6048 | 93976.9164 | 118748.4362 | 3417290.4174 | 4613342.0635 | 188188.2691 | 5724.3006 | 632.805 | 2957.153 | 3589.958 | 25262.5462 | 18172.5863 | 139.2672 | 25 | 26.7667 | 13.0476 | 11.2381 | 16.3105 | 3270813.5622 | 278833.9899 | 114.6815 | 4096716.6664 | 267923.1569 | 123.0043 | 3761836.492 | 188996.8025 | 125.8596 | 5-20
annapolis | ATES |  |  | 2.9 | 0.01 | 0.1355 | 323000 | 46142.8571 | 1960.5714 |  | 14500.807 | 1070449.5758 | 1250.1519 | 886.006 | 1072585.7337 | 975.7186 | 1035436.9202 | 587617.8352 | 1623054.7555 | 13.7353 | 112 | 44800 | 5620.0591 | 60361.0758 | 110950.2219 | 221731.3568 | 0.023787 | 3.9336e-08 | 0.32764 | 9551.4241 | 1038000 | 10 | 1740.1939 | 2334.0137 | 2.334 | 1260965.3491 | 2308516.7732 | 3356.0378 | 128993.4126 | 29206.7103 | 3632040.574 | 4903254.7748 | 201657.2196 | 2735.9382 | 1623.0548 | 2066.8888 | 3689.9435 | 2326.4186 | 16700.7591 | 143.0552 | 27 | 18 | 20.869 | 13.4167 | 13.7327 | 3903860.041 | 353057.9308 | 152.3373 | 4969421.0661 | 295072.872 | 149.4285 | 4112019.2831 | 256695.1134 | 150.3589 | 5-20
| RTES |  |  | 2.9 | 0.01 | 0.1355 | 323000 | 46142.8571 | 1960.5714 |  | 14500.807 | 1070449.5758 | 1250.1519 | 886.006 | 1072585.7337 | 975.7186 | 1035436.9202 | 587617.8352 | 1623054.7555 | 13.7353 | 488 | 195200 | 43364.6545 | 69471.0546 | 110949.5562 | 418985.2653 | 0.023787 | 3.9336e-08 | 0.32764 | 9551.4241 | 1038000 | 10 | 1740.1939 | 2334.0137 | 2.334 | 1260965.3491 | 2308516.7732 | 3356.0378 | 128951.3427 | 45533.5513 | 3845621.3234 | 5191588.7867 | 222603.0742 | 3267.2817 | 1623.0548 | 2065.6158 | 3688.6706 | 18021.8992 | 19046.4988 | 154.3227 | 27 | 18 | 20.869 | 13.4167 | 20.9708 | 3903860.041 | 353057.9308 | 152.3373 | 4969421.0661 | 295072.872 | 149.4285 | 4378312.0594 | 276666.803 | 161.4441 | 5-20
charleston | ATES |  |  | 16.8 | 0.01 | 0.1062 | 315000 | 45000 | 1986 |  | 10985.9863 | 810985.5057 | 947.1302 | 886.006 | 812818.6418 | 253.4748 | 290236.2394 | 164748.7608 | 454985.0002 | 19.5668 | 576 | 230400 | 22929.1919 | 89525.2278 | 122045 | 464899.4196 | 0.032805 | 1.1678e-08 | 0.28556 | 7717.7566 | 1038000 | 10 | 991.1908 | 2053.7918 | 2.0538 | 1109573.7244 | 2155291.481 | 4266.223 | 96344.6794 | 142355.843 | 3575365.3855 | 4826743.2705 | 187155.5949 | 5083.4452 | 454.985 | 3204.782 | 3659.767 | 6730.8203 | 18354.9235 | 140.4498 | 22.3667 | 28.2667 | 8.6369 | 6.3631 | 14.3882 | 3507869.3739 | 319703.7034 | 112.9045 | 4382352.3115 | 311522.2254 | 121.9293 | 3951363.0602 | 175097.4503 | 122.6069 | 5-20
| RTES |  |  | 16.8 | 0.01 | 0.1062 | 315000 | 45000 | 1986 |  | 10985.9863 | 810985.5057 | 947.1302 | 886.006 | 812818.6418 | 253.4748 | 290236.2394 | 164748.7608 | 454985.0002 | 19.5668 | 692 | 276800 | 17568.5797 | 78286.1327 | 122045 | 494699.7124 | 0.032805 | 1.1678e-08 | 0.28556 | 7717.7566 | 1038000 | 10 | 991.1908 | 2053.7918 | 2.0538 | 1109573.7244 | 2155291.481 | 4266.223 | 95397.1711 | 142355.843 | 3605165.6783 | 4866973.6656 | 186149.9427 | 6507.8687 | 454.985 | 3168.2021 | 3623.1871 | 5205.8239 | 17848.8136 | 142.0397 | 25 | 26.6667 | 8.6369 | 6.3631 | 14.8711 | 3507869.3739 | 319703.7034 | 112.9045 | 4382352.3115 | 311522.2254 | 121.9293 | 3991593.4554 | 172335.4895 | 123.6038 | 5-20
chicago | ATES |  |  | -8.92 | 0.01 | 0.1164 | 274000 | 39142.8571 | 1995.2857 |  | 26300.7244 | 2588517.2909 | 2267.4532 | 886.006 | 2591670.7501 | 2020.66 | 1896147.8914 | 1076196.5476 | 2972344.439 | 10.5112 | 462 | 184800 | 15856.6281 | 5314.4808 | 95759.6136 | 301730.7225 | 0.01322 | 9.8711e-08 | 0.17854 | 3723.7919 | 1038000 | 10 | 1896.8094 | 1641.8503 | 1.8968 | 1024763.0058 | 2066486.7977 | 1136.7266 | 107878.4019 | 43627.097 | 5003515.3673 | 6754745.7458 | 181549.5707 | 153.1557 | 2972.3444 | 437.1128 | 3409.4572 | 1514.7626 | 610.7837 | 184.4311 | 8 | 8 | 27.5476 | 18.0238 | 44.547 | 3496213.5602 | 262071.0085 | 151.9974 | 6578214.3606 | 189674.2923 | 176.3936 | 3891467.6951 | 244296.6647 | 161.2746 | 5-20
| RTES |  |  | -8.92 | 0.01 | 0.1164 | 274000 | 39142.8571 | 1995.2857 |  | 26300.7244 | 2588517.2909 | 2267.4532 | 886.006 | 2591670.7501 | 2020.66 | 1896147.8914 | 1076196.5476 | 2972344.439 | 10.5112 | 645 | 258000 | 30906.4221 | 5750.4911 | 95759.6136 | 390416.5268 | 0.01322 | 9.8711e-08 | 0.17854 | 3723.7919 | 1038000 | 10 | 1896.8094 | 1641.8503 | 1.8968 | 1024763.0058 | 2066486.7977 | 1136.7266 | 107886.5015 | 49167.3301 | 5097741.4048 | 6881950.8964 | 184315.7072 | 166.2052 | 2972.3444 | 437.3981 | 3409.7425 | 2972.3867 | 659.3878 | 187.8248 | 8 | 8 | 27.5476 | 18.0238 | 57.8351 | 3496213.5602 | 262071.0085 | 151.9974 | 6578214.3606 | 189674.2923 | 176.3936 | 4011193.5309 | 246697.8506 | 164.7086 | 5-20
decatur | ATES |  |  | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 |  | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 37 | 14800 | 2937.7128 | 4920.4325 | 87835.5646 | 110493.71 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 97142.6205 | 27803.9522 | 4480186.4174 | 6048251.6635 | 162530.1794 | 131.7104 | 2741.3376 | 320.2896 | 3061.6272 | 295.5474 | 616.7322 | 183.6783 | 10 | 7 | 28.8452 | 18 | 23.145 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3541626.4019 | 222080.1079 | 163.5879 | 5-20
| RTES |  |  | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 |  | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 1047 | 418800 | 13550.4393 | 7522.03 | 87835.5646 | 527708.0339 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 97004.8208 | 74533.4092 | 4944130.1982 | 6674575.7676 | 170336.7567 | 223.2264 | 2741.3376 | 315.4358 | 3056.7734 | 1501.8111 | 969.9146 | 200.4883 | 10 | 7 | 28.8452 | 18 | 107.7945 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 4104865.7392 | 227673.8975 | 179.6181 | 5-20
jackson | ATES |  |  | 14.15 | 0.01 | 0.1234 | 408000 | 58285.7143 | 1956.8571 |  | 13050.0681 | 963356.0274 | 1125.08 | 886.006 | 965367.1134 | 386.5163 | 276373.3922 | 181834.0404 | 458207.4326 | 18.2966 | 110 | 44000 | 10823.9546 | 132766.7792 | 144234.5562 | 331825.2899 | 0.045754 | 2.1239e-09 | 0.41849 | 13958.7227 | 1038000 | 10 | 940.625 | 2578.9925 | 2.579 | 1393316.6497 | 2445275.3724 | 8187.0932 | 161738.9909 | 61555.6227 | 3804023.3984 | 5135431.5879 | 269464.7254 | 6943.8443 | 458.2074 | 4858.716 | 5316.9234 | 3721.7318 | 32722.8528 | 114.6248 | 22 | 30 | 10.2619 | 6.3095 | 10.0773 | 3965855.4363 | 409169.4469 | 123.5469 | 5067680.0795 | 400962.7251 | 134.5177 | 4229064.3628 | 261713.1483 | 102.6908 | 5-20
| RTES |  |  | 14.15 | 0.01 | 0.1234 | 408000 | 58285.7143 | 1956.8571 |  | 13050.0681 | 963356.0274 | 1125.08 | 886.006 | 965367.1134 | 386.5163 | 276373.3922 | 181834.0404 | 458207.4326 | 18.2966 | 998 | 399200 | 19716.1736 | 67081.7364 | 144234.5562 | 630232.4661 | 0.045754 | 2.1239e-09 | 0.41849 | 13958.7227 | 1038000 | 10 | 940.625 | 2578.9925 | 2.579 | 1393316.6497 | 2445275.3724 | 8187.0932 | 164075.7016 | 158636.1956 | 4199511.1476 | 5669340.0492 | 271218.6919 | 7301.46 | 458.2074 | 4936.3539 | 5394.5613 | 6558.5895 | 21207.9259 | 120.4425 | 25 | 26.6 | 10.2619 | 6.3095 | 11.6244 | 3965855.4363 | 409169.4469 | 123.5469 | 5067680.0795 | 400962.7251 | 134.5177 | 4631914.0506 | 258296.8022 | 106.0133 | 5-20
lansing | ATES |  |  | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 |  | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 80 | 32000 | 14597.0083 | 7926.269 | 103025.0634 | 157548.3407 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 89098.1752 | 12446.5454 | 3654832.1313 | 4934023.3772 | 146031.7261 | 232.18 | 1749.9885 | 680.7706 | 2430.7591 | 2650.4422 | 1223.7354 | 194.5146 | 9 | 14 | 26.8631 | 12.8512 | 16.3057 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2966343.5002 | 183592.9448 | 168.5197 | 5-20
| RTES |  |  | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 |  | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 288 | 115200 | 2220.4113 | 10132.7604 | 103024.6196 | 230577.7913 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 89093.6834 | 16156.2411 | 3731571.2776 | 5037621.2247 | 145234.0022 | 255.938 | 1749.9885 | 680.6365 | 2430.625 | 396.0255 | 1656.4557 | 196.9573 | 9 | 14 | 26.8631 | 12.8512 | 23.0826 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 3064933.2585 | 182497.0511 | 170.8495 | 5-20
memphis | ATES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 111 | 44400 | 1929.0944 | 83658.8177 | 106987.5317 | 236975.4437 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 94045.1263 | 20860.961 | 3325720.6174 | 4489722.8335 | 163020.0641 | 3283.2097 | 719.161 | 2215.3272 | 2934.4881 | 640.7811 | 17014.7284 | 157.4521 | 27 | 24 | 18.125 | 8.2619 | 13.5688 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 3665258.6775 | 173938.2304 | 146.1689 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 |  |  |  |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 |  | 718 | 287200 | 3703.7064 | 87196.5004 | 106987.5317 | 485087.7386 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585647.8113 | 4840624.5453 | 171211.8656 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 |  |  | 165.2127 | 27 | 24 | 18.125 | 8.2619 | 14.0286 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000210.2755 | 183413.6235 | 154.3539 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 4022.2711 | 87196.5004 | 106987.5317 | 485406.3032 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585966.376 | 4841054.6076 | 171304.8453 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 |  |  | 165.256 | 27 | 24 | 18.125 | 8.2619 | 14.0361 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000640.3378 | 183505.4882 | 154.3979 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 4022.2711 | 87196.5004 | 106987.5317 | 485406.3032 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585966.376 | 4841054.6076 | 171304.8453 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 |  |  | 165.256 | 27 | 24 | 18.125 | 8.2619 | 21.5854 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000640.3378 | 183505.4882 | 154.3979 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 4022.2711 | 87196.5004 | 106987.5317 | 485406.3032 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585966.376 | 4841054.6076 | 171304.8453 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 |  |  | 165.256 | 27 | 24 | 18.125 | 8.2619 | 21.5854 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000640.3378 | 183505.4882 | 154.3979 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 4022.2711 | 87196.5004 | 106987.5317 | 485406.3032 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3585966.376 | 4841054.6076 | 171304.8453 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 | 1431.3643 | 21491.6568 | 165.256 | 27 | 24 | 18.125 | 8.2619 | 21.5854 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4000640.3378 | 183505.4882 | 154.3979 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 6062.3982 | 87196.5004 | 106987.5317 | 487446.4304 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3588006.5031 | 4843808.7792 | 171967.5954 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 | 2066.5728 | 21491.6568 | 165.5541 | 27 | 24 | 18.125 | 8.2619 | 21.6584 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4003394.5094 | 184161.098 | 154.7008 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 6062.3982 | 87196.5004 | 106987.5317 | 487446.4304 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3588006.5031 | 4843808.7792 | 171967.5954 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 | 2066.5728 | 21491.6568 | 165.5541 | 27 | 24 | 18.125 | 8.2619 | 21.6584 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4003394.5094 | 184161.098 | 154.7008 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 6062.3982 | 87196.5004 | 106987.5317 | 487446.4304 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3588006.5031 | 4843808.7792 | 171967.5954 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 | 2066.5728 | 21491.6568 | 165.5541 | 27 | 24 | 18.125 | 8.2619 | 21.6584 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 4003394.5094 | 184161.098 | 154.7008 | 5-20
| RTES |  |  | 6.07 | 0.01 | 0.1273 | 315000 | 45000 | 1974 |  | 13550.0794 | 1000266.8602 | 1168.1872 | 886.006 | 1002321.0535 | 659.2325 | 458802.7043 | 260358.2738 | 719160.9781 | 16.3963 | 718 | 287200 | 6062.3982 | 87196.5004 | 106987.5317 | 487446.4304 | 0.021549 | 1.4493e-10 | 0.2312 | 5561.7303 | 1038000 | 10 | 1184.6833 | 1891.6977 | 1.8917 | 1022001.4288 | 2065563.1591 | 2816.9209 | 95860.5639 | 32675.8601 | 3588006.5031 | 4843808.7792 | 171967.5954 | 4175.1219 | 719.161 | 2273.7976 | 2992.9586 | 2066.5728 | 21491.6568 | 165.5541 | 27 | 24 | 18.125 | 8.2619 | 21.6584 | 3393016.3701 | 276744.7593 | 144.4722 | 4475782.9568 | 260462.8521 | 157.1699 | 3716929.7814 | 147245.217 | 174.264 | 5-20
phoenix | ATES |  |  | 20.43 | 0.01 | 0.1192 | 384000 | 54857.1429 | 1999.7143 |  | 11424.478 | 1124397.1228 | 984.9337 | 886.006 | 1126268.0624 | 183.1504 | 5264.6829 | 186393.2447 | 191657.9276 | 23.293 | 69 | 41400 | 13113.0953 | 73354.0646 | 175670.9073 | 303538.0672 | 0.035994 | 1.1326e-07 | 0.37272 | 11664.8393 | 1038000 | 10 | 163.0455 | 2366.865 | 2.3669 | 1278713.4811 | 2328378.3204 | 5730.5627 | 110041.5428 | 50173.1705 | 3808357.6205 | 5141282.7876 | 192022.4703 | 4371.1411 | 191.6579 | 3592.2441 | 3783.902 | 3057.3195 | 13787.4569 | 141.1539 | 13 | 39 | 0.83333 | 8.4524 | 8.7488 | 3618561.4245 | 364880.4052 | 118.6946 | 5098487.4132 | 366721.1331 | 139.4669 | 3736016.4816 | 173533.2088 | 110.4553 | 5-20
| RTES |  |  | 20.43 | 0.01 | 0.1192 | 384000 | 54857.1429 | 1999.7143 |  | 11424.478 | 1124397.1228 | 984.9337 | 886.006 | 1126268.0624 | 183.1504 | 5264.6829 | 186393.2447 | 191657.9276 | 23.293 | 171 | 102600 | 85760.5455 | 83701.0566 | 175670.9073 | 447732.5093 | 0.035994 | 1.1326e-07 | 0.37272 | 11664.8393 | 1038000 | 10 | 163.0455 | 2366.865 | 2.3669 | 1278713.4811 | 2328378.3204 | 5730.5627 | 110459.035 | 110728.2769 | 4013107.1691 | 5417694.6783 | 214414.0002 | 5522.6719 | 191.6579 | 3606.6042 | 3798.2621 | 20920.1648 | 16389.1747 | 152.386 | 13 | 38.7 | 0.83333 | 8.4524 | 12.2416 | 3618561.4245 | 364880.4052 | 118.6946 | 5098487.4132 | 366721.1331 | 139.4669 | 3930678.9785 | 195839.2134 | 120.0945 | 5-20
portland | ATES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 200 | 80000 | 836.4205 | 29348.6949 | 81231.3768 | 191416.4922 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66979.391 | 5367.5007 | 3421413.2085 | 4618907.8314 | 118966.6458 | 192.0258 | 1852.2263 | 500.1014 | 2352.3276 | 146.7409 | 3701.8071 | 180.6167 | 20 | 11 | 26.4226 | 15.006 | 30.5401 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3263870.8371 | 162945.0163 | 174.9378 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 |  |  |  |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 |  | 745 | 298000 | 1725.4042 | 16830.306 | 81231.3768 | 397787.087 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3638427.5337 | 4911877.1705 | 121554.6631 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4064 | 20 | 11 | 26.4226 | 15.006 | 56.9798 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3542471.1401 | 164448.3302 | 184.5756 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2328.1414 | 16830.306 | 81231.3768 | 398389.8242 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639030.2709 | 4912690.8658 | 121613.6459 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4607 | 20 | 11 | 26.4226 | 15.006 | 57.0824 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543284.8354 | 164505.2033 | 184.6336 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2328.1414 | 16830.306 | 81231.3768 | 398389.8242 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639030.2709 | 4912690.8658 | 121613.6459 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4607 | 20 | 11 | 26.4226 | 15.006 | 55.2072 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543284.8354 | 164505.2033 | 184.6336 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2328.1414 | 16830.306 | 81231.3768 | 398389.8242 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639030.2709 | 4912690.8658 | 121613.6459 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 |  |  | 190.4607 | 20 | 11 | 26.4226 | 15.006 | 55.2072 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543284.8354 | 164505.2033 | 184.6336 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2328.1414 | 16830.306 | 81231.3768 | 398389.8242 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639030.2709 | 4912690.8658 | 121613.6459 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 | 403.1361 | 3079.6759 | 190.4607 | 20 | 11 | 26.4226 | 15.006 | 55.2072 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543284.8354 | 164505.2033 | 184.6336 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2365.8036 | 16830.306 | 81231.3768 | 398427.4864 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639067.9331 | 4912741.7096 | 121633.7914 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 | 422.7732 | 3079.6759 | 190.471 | 20 | 11 | 26.4226 | 15.006 | 55.2134 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543335.6793 | 164525.217 | 184.6447 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2365.8036 | 16830.306 | 81231.3768 | 398427.4864 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639067.9331 | 4912741.7096 | 121633.7914 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 | 422.7732 | 3079.6759 | 190.471 | 20 | 11 | 26.4226 | 15.006 | 55.2134 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3543335.6793 | 164525.217 | 184.6447 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 2365.8036 | 16830.306 | 81231.3768 | 398427.4864 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 66835.5807 | 16011.2312 | 3639067.9331 | 4912741.7096 | 121633.7914 | 580.1965 | 1852.2263 | 494.5284 | 2346.7546 | 422.7732 | 3079.6759 | 190.471 | 20 | 11 | 26.4226 | 15.006 | 55.2134 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3276026.3485 | 96891.339 | 636.4779 | 5-20

## No-GHP only
City | UTES_Type | city_name | run_id | UTES_threshold_temp_C | maintenance_fraction | electricity_price_per_kWh | total_sqft | avg_sqft | avg_year_built | climate_zone | t_ghp_borehole_length_m | ghp_drilling_CAPEX | ghp_pump_CAPEX | ghp_hx_CAPEX | t_ghp_CAPEX | ghp_pump_OPEX | ghp_bldg_heat_supplied_kWh | ghp_bldg_cool_supplied_kWh | t_ghp_bldg_supplied_kWh | mean_amb_T_C | utes_well_depth | utes_drilling_CAPEX | utes_pump_CAPEX | utes_cooler_CAPEX | utes_hx_CAPEX | total_utes_CAPEX | avg_ten_pump_percent | min_ten_pump_percent | max_ten_pump_percent | ten_pump_CAPEX | ten_piping_CAPEX | ten_piping_diamter_in | heating_capacity_kW | cooling_capacity_kW | t_capacity_MW | ten_HVAC_CAPEX | t_ten_CAPEX | ten_pump_OPEX | t_avg_HP_OPEX | supplemental_chiller_CAPEX | t_CAPEX_b4_multipliers | t_CAPEX_after_multipliers | t_avg_OPEX | t_avg_utes_stored_MWh | t_avg_ghp_bldg_supplied_MWh | t_avg_utes_bldg_supplied_MWh | t_avg_bldg_supplied_MWh | t_avg_utes_pump_OPEX | t_avg_cooler_OPEX | lcoe | num_weeks_utes_storage | num_weeks_utes_production | num_weeks_ghp_heating | num_weeks_ghp_cooling | storage_lcoe | t_baseline_CAPEX | t_avg_baseline_OPEX | t_baseline_lcoe | t_ghp_plus_trad_CAPEX | t_avg_ghp_plus_trad_OPEX | t_ghp_plus_trad_lcoe | t_utes_plus_trad_CAPEX | t_avg_utes_plus_trad_OPEX | t_utes_plus_trad_lcoe | Run_ID
decatur | ATES |  |  | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 |  | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 37 | 14800 | 9527.9038 | 31684.027 | 110950.2219 | 166962.1527 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 125602.1132 | 8564.1171 | 4517415.0251 | 6098510.2839 | 196975.4197 | 1741.7737 | 2741.3376 | 1322.7288 | 4064.0664 | 2022.7042 | 4433.2759 | 147.8786 | 10 | 40 | 28.8452 | 18 | 11.052 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3340466.3104 | 199616.2131 | 164.7954 | 5-20
| RTES |  |  | -10 | 0.01 | 0.1164 | 292000 | 41714.2857 | 1984.5714 |  | 23507.0907 | 2313567.8697 | 2026.6068 | 886.006 | 2316480.4825 | 1856.5097 | 1748877.5883 | 992460.0188 | 2741337.6071 | 11.8934 | 1047 | 418800 | 49321.5697 | 36691.7901 | 110950 | 615763.3598 | 0.01177 | 1.0468e-09 | 0.18562 | 3955.5457 | 1038000 | 10 | 1820.3451 | 1672.0842 | 1.8203 | 983452.7269 | 2025408.2727 | 1022.9753 | 125225.3385 | 73146.8155 | 5030798.9305 | 6791578.5562 | 213186.0615 | 2511.597 | 2741.3376 | 1309.4575 | 4050.7951 | 10838.9496 | 5382.3569 | 164.5608 | 10 | 39.5333 | 28.8452 | 18 | 33.8707 | 3411060.9362 | 237906.0828 | 159.9648 | 6157543.3516 | 170416.4476 | 182.1813 | 3946347.9399 | 213492.7769 | 188.3658 | 5-20
lansing | ATES |  |  | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 |  | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 80 | 32000 | 52361.2427 | 17832.5711 | 110949.5562 | 213143.3701 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 110675.4505 | 8764.1456 | 3706744.7609 | 5004105.4271 | 176511.3891 | 1394.5321 | 1749.9885 | 1325.1029 | 3075.0914 | 9229.0644 | 2740.2011 | 165.5447 | 8 | 42 | 26.8631 | 12.8512 | 12.5659 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2816438.3861 | 170348.0897 | 169.5833 | 5-20
| RTES |  |  | -6.37 | 0.01 | 0.1373 | 249000 | 35571.4286 | 1971.4286 |  | 18245.2972 | 1795702.1496 | 1572.9741 | 886.006 | 1798161.1297 | 1440.9474 | 1116445.6725 | 633542.845 | 1749988.5175 | 9.9801 | 288 | 115200 | 8501.5636 | 18735.4907 | 110950 | 253387.0543 | 0.024992 | 1.1592e-07 | 0.34155 | 5631.9162 | 984000 | 8 | 1253.2645 | 1290.2105 | 1.2902 | 697044.1993 | 1686676.1155 | 1785.038 | 110643.4253 | 11210.1223 | 3749434.4217 | 5061736.4693 | 169482.4855 | 1511.3337 | 1749.9885 | 1324.1466 | 3074.1351 | 1477.4774 | 2898.6228 | 164.2307 | 8 | 42 | 26.8631 | 12.8512 | 13.8874 | 2757734.6056 | 217855.6467 | 164.3746 | 4933570.0501 | 174290.934 | 191.8286 | 2870767.3598 | 163125.336 | 167.468 | 5-20
portland | ATES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 200 | 80000 | 2221.2825 | 13921.3728 | 105666.561 | 201809.2163 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 84727.9289 | 1364.7995 | 3427803.2314 | 4627534.3624 | 135180.7261 | 922.3445 | 1852.2263 | 1187.8991 | 3040.1254 | 461.7495 | 1884.3019 | 145.161 | 10 | 42 | 26.4226 | 15.006 | 11.9318 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3010591.6839 | 141077.8921 | 168.3388 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 670570.5556 | 1852226.2565 | 13.2695 | 745 | 298000 | 6137.2841 | 21971.7005 | 105666.561 | 431775.5456 | 0.0084928 | 3.0189e-08 | 0.15436 | 2970.6021 | 1038000 | 10 | 1015.3382 | 1522.1132 | 1.5221 | 822331.0749 | 1863301.6769 | 679.3153 | 84595.2617 | 8158.9423 | 3664563.7034 | 4947160.9996 | 140842.8499 | 2047.5086 | 1852.2263 | 1182.758 | 3034.9842 | 1405.2417 | 3336.2029 | 154.3798 | 10 | 42 | 26.4226 | 15.006 | 25.0853 | 3005458.5727 | 179746.262 | 164.3802 | 4614629.8001 | 131950.834 | 175.7536 | 3321046.2285 | 145640.2815 | 181.421 | 5-20
| RTES |  |  | 3.3 | 0.01 | 0.1058 | 333000 | 47571.4286 | 1963.4286 |  | 13810.7181 | 1359250.875 | 1190.6576 | 886.006 | 1361327.5386 | 876.7621 | 1181655.7009 | 0 | 1181655.7009 | 13.2695 | 745 | 298000 | 2365.8036 | 16830.306 | 81231.3768 | 398427.4864 | 0.0094786 | 7.2171e-08 | 0.27786 | 11998.5086 | 1106000 | 12 | 1015.3382 | 1893.3603 | 1.8934 | 1022899.6297 | 2140898.1384 | 1784.2076 | 66835.5807 | 16011.2312 | 3916664.3945 | 5287496.9326 | 126486.236 | 580.1965 | 1181.6557 | 494.5284 | 1676.1841 | 422.7732 | 3079.6759 | 284.5517 | 20 | 11 | 26.4226 | 15.006 | 55.2134 | 3445411.1933 | 207065.7776 | 162.1852 | 5060511.3924 | 188882.3275 | 172.7986 | 3650781.5714 | 130188.9814 | 280.3428 | 5-20