## DOE Data
Date/Time | Total Net Power Output (Calculated) | Gross Power Output (Veris) | Pump Parasitic Load | Cooling Fan Parasitic Load | Geothermal Header Hot Water Temperature | Hot Water Supply Temperature | Hot Water Return Temperature | Hot Water Supply Flow Rate | Ambient Temperature | Relative Humidity | Wind Speed | Wind Direction
| kW | kW | kW | kW | F | F | F | gpm | F | % | mph | Deg
4/16/13 10:00:03 -10:59:53 | 52.0407 | 57.2646 | 2.6517 | 2.5723 | 224.2636 | 222.4456 | 195.0453 | 161.4125 | 45.5108 | 44 | 15 | 339
4/16/13 11:00:03 -11:59:53 | 52.1623 | 57.5364 | 2.8 | 2.5741 | 224.415 | 222.6694 | 195.4519 | 163.2908 | 46.3131 | 42 | 12.5 | 344.5
4/16/13 12:00:03 -12:59:53 | 51.506 | 56.8659 | 2.8 | 2.5599 | 224.4681 | 222.6861 | 196.1697 | 163.7228 | 50.0356 | 42 | 12.5 | 344.5
4/16/13 13:00:03 -13:59:53 | 45.1156 | 49.9669 | 2.5469 | 2.3043 | 224.7833 | 222.6697 | 198.8436 | 147.8347 | 53.4353 | 29 | 13 | 346
4/16/13 14:00:03 -14:59:53 | 51.2595 | 56.4186 | 2.6 | 2.5591 | 224.9272 | 223.0519 | 196.2153 | 160.7433 | 52.4164 | 24.5 | 13 | 327.5
4/16/13 15:00:03 -15:59:53 | 51.2165 | 56.364 | 2.6 | 2.5475 | 225.0086 | 223.2956 | 196.3594 | 160.3636 | 52.4278 | 26 | 15 | 337
4/16/13 16:00:03 -16:59:51 | 38.3084 | 42.6074 | 2.2458 | 2.0532 | 224.5528 | 221.545 | 196.4516 | 122.673 | 50.3426 | 26 | 15 | 337
4/16/13 17:00:01 -17:59:51 | 48.9777 | 54.0618 | 2.5 | 2.5841 | 224.7206 | 222.8742 | 194.9592 | 146.0378 | 44.8536 | 41 | 13 | 56
4/16/13 18:00:01 -18:59:51 | 50.1042 | 55.2163 | 2.5 | 2.6121 | 224.655 | 222.7553 | 193.7019 | 145.8381 | 43.9058 | 41 | 13 | 56
4/16/13 19:00:01 -19:59:51 | 51.0953 | 56.2645 | 2.5153 | 2.654 | 225.1022 | 223.3264 | 193.1642 | 145.6886 | 42.0878 | 41 | 13 | 56
4/16/13 20:00:01 -20:59:51 | 48.5141 | 54.3852 | 3.1964 | 2.6747 | 225.2522 | 223.3372 | 196.2925 | 145.8511 | 38.8981 | 58 | 7 | 28
4/16/13 21:00:01 -21:59:51 | 50.507 | 56.3739 | 3.2 | 2.6669 | 225.6711 | 223.8444 | 194.1933 | 146.3644 | 40.88 | 56.5 | 5.5 | 44
4/16/13 22:00:01 -22:59:51 | 51.3443 | 57.1961 | 3.2 | 2.6518 | 225.8506 | 224.1097 | 193.4519 | 146.7144 | 41.4 | 56.5 | 5.5 | 44
4/16/13 23:00:01 -23:59:01 | 51.377 | 57.2282 | 3.2 | 2.6511 | 225.6635 | 223.8967 | 192.9976 | 145.295 | 41.4886 | 55 | 5 | 24