## Slide 1: Accomplishments, Results and Progress
Real-time monitoring of fluid chemistry
Unique High-Pressure Rotor capability for
Magic Angle Spinning 13C NMR (MAS-NMR) developed by Dr. David Hoyt at EMSL
Unparalleled real-time analysis of kinetics and speciation of H2O/CO2 fluid with polymer under geothermal conditions
In situ time-resolved 13C NMR spectra of 1% aqueous polymer.
Temperature 100 ºC
Pressure = 120 bar H2O/CO2
Task 2: Reactive-Polymer Fracturing
Dr. D.
Hoyt
Dr. D.
Heldebrant
Initial
5 h
10 h
Notes: Polymer chemistry is proprietary information

## Slide 2: Accomplishments, Results and Progress
Task 2: Reactive-Polymer Fracturing
Current cell performance limited to 120 bar and 150 ˚C
  Current data is higher than any other in situ measurement capability
  but still short of geothermal conditions
Projected cell performance requirements are 300 bar, 300 ˚C
Sample MAS NMR probe
High pressure sample loading/ reaction chamber
Dr. D. Hoyt