## Average
Date/Time | Total Net Power Output (Calculated) | Gross Power Output (Veris) | Pump Parasitic Load | Cooling Fan Parasitic Load (Veris) | Geothermal Header Hot Water Temperature | Hot Water Supply Temperature | Hot Water Return Temperature | Hot Water Supply Flow Rate | Ambient Temperature (GM Sensor) | Notes | MESO West WeatherData | Date/Time | Ambient Temperature | Relative Humidity | Wind Speed | Wind Gust | Wind Direction
| kW | kW | kW | kW | F | F | F | gpm | F |  | Station ID: HMHNV |  | F | % | mph | mph | Degrees
11/18/2013 19:00 to 11/18/2013 19:59 | 29.2293 | 36.379 | 4.4 | 2.7498 | 212.6581 | 222.7914 | 199.0931 | 143.8469 | 53.9625 |  |  | 2013-11-18 19:25 | 57 | 38 | 6 | 8 | 181
11/18/2013 20:00 to 11/18/2013 20:59 | 29.2031 | 36.4152 | 4.4 | 2.8121 | 211.5608 | 223.1178 | 200.0189 | 143.2369 | 54.4031 |  |  | 2013-11-18 20:32 | 58 | 37 | 9 | 12 | 169
11/18/2013 21:00 to 11/18/2013 21:59 | 28.4529 | 35.6249 | 4.4 | 2.772 | 211.6764 | 223.22 | 200.7697 | 143.6631 | 53.6458 |  |  | 2013-11-18 21:39 | 55 | 42 | 7 | 9 | 217
11/18/2013 22:00 to 11/18/2013 22:59 | 26.6219 | 33.7615 | 4.4 | 2.7395 | 211.9083 | 223.4703 | 201.9564 | 143.2244 | 54.4778 |  |  | 2013-11-18 22:23 | 56 | 41 | 7 | 9 | 215
11/18/2013 23:00 to 11/18/2013 23:59 | 27.8494 | 35.0364 | 4.4 | 2.7871 | 211.8333 | 223.5272 | 201.2409 | 142.6938 | 54.7818 |  |  | 2013-11-18 23:32 | 56 | 39 | 11 | 14 | 189
11/19/2013 0:00 to 11/19/2013 0:59 | 30.0089 | 37.1245 | 4.4 | 2.7157 | 211.1028 | 223.5536 | 199.1342 | 141.4269 | 54.0592 |  |  | 2013-11-19 00:39 | 56 | 39 | 9 | 14 | 176
11/19/2013 1:00 to 11/19/2013 1:59 | 27.9803 | 35.1615 | 4.4 | 2.7812 | 211.0494 | 223.4422 | 201.8897 | 141.3567 | 52.1597 |  |  | 2013-11-19 01:23 | 57 | 42 | 11 | 14 | 195
11/19/2013 2:00 to 11/19/2013 2:59 | 30.0733 | 37.1483 | 4.4 | 2.6751 | 211.8244 | 223.6486 | 199.1158 | 141.3078 | 52.5303 |  |  | 2013-11-19 02:30 | 58 | 43 | 11 | 13 | 186
11/19/2013 3:00 to 11/19/2013 3:59 | 27.894 | 34.9936 | 4.4 | 2.6996 | 212.4731 | 223.8733 | 201.4842 | 142.1506 | 53.2 |  |  | 2013-11-19 03:37 | 56 | 44 | 14 | 18 | 186
11/19/2013 4:00 to 11/19/2013 4:59 | 29.3808 | 36.5504 | 4.4 | 2.7696 | 211.8558 | 223.8086 | 200.6864 | 143.5539 | 53.2 |  |  | 2013-11-19 04:23 | 55 | 54 | 10 | 15 | 186
11/19/2013 5:00 to 11/19/2013 5:59 | 28.5734 | 35.7562 | 4.4 | 2.7828 | 211.81 | 223.6925 | 201.8625 | 144.7989 | 51.9975 |  |  | 2013-11-19 05:29 | 48 | 71 | 8 | 10 | 191
11/19/2013 6:00 to 11/19/2013 6:59 | 31.6314 | 38.8181 | 4.4 | 2.7867 | 211.5661 | 223.6761 | 200.4278 | 145.6969 | 49.1281 |  |  | 2013-11-19 06:38 | 48 | 73 | 12 | 16 | 165
11/19/2013 7:00 to 11/19/2013 7:59 | 33.4419 | 40.4306 | 4.4 | 2.5886 | 210.68 | 223.4744 | 198.5464 | 143.0136 | 46.5764 |  |  | 2013-11-19 07:43 | 53 | 60 | 12 | 17 | 172
11/19/2013 8:00 to 11/19/2013 8:59 | 32.8729 | 39.8203 | 4.4 | 2.5475 | 210.9581 | 223.595 | 198.0514 | 140.7664 | 48.7317 |  |  | 2013-11-19 08:28 | 57 | 53 | 12 | 16 | 165
11/19/2013 9:00 to 11/19/2013 9:59 | 31.4018 | 38.4301 | 4.4 | 2.6283 | 210.4169 | 223.4742 | 198.35 | 140.8997 | 52.4403 |  |  | 2013-11-19 09:36 | 58 | 53 | 12 | 16 | 193
11/19/2013 11:00 to 11/19/2013 11:59 | 30.9309 | 38.0524 | 4.4 | 2.7215 | 211.7819 | 223.8499 | 198.4364 | 141.4108 | 55.1563 |  |  | 2013-11-19 11:29 | 59 | 52 | 8 | 13 | 176
11/19/2013 12:00 to 11/19/2013 12:59 | 30.2537 | 37.3494 | 4.4 | 2.6957 | 210.9599 | 223.6778 | 198.6462 | 141.033 | 55.9599 |  |  | 2013-11-19 12:57 | 66 | 44 | 12 | 18 | 189
11/19/2013 13:00 to 11/19/2013 13:59 | 28.7205 | 35.864 | 4.4 | 2.7435 | 210.9401 | 223.6915 | 198.9737 | 140.4518 | 57.6322 |  |  | 2013-11-19 13:42 | 64 | 44 | 10 | 17 | 176
11/19/2013 14:00 to 11/19/2013 14:59 | 29.3481 | 36.4781 | 4.4 | 2.7299 | 211.5925 | 223.8439 | 198.5867 | 140.5933 | 57.8067 |  |  | 2013-11-19 14:26 | 65 | 44 | 15 | 20 | 191
11/19/2013 15:00 to 11/19/2013 15:59 | 29.1313 | 36.2672 | 4.4 | 2.7359 | 212.4303 | 224.07 | 199.2706 | 140.905 | 58.47 |  |  | 2013-11-19 15:34 | 62 | 45 | 11 | 15 | 188
11/19/2013 16:00 to 11/19/2013 16:59 | 29.6443 | 36.778 | 4.4 | 2.7337 | 212.6898 | 224.086 | 199.6251 | 141.0491 | 56.8287
11/19/2013 17:00 to 11/19/2013 17:59 | 29.485 | 37.8729 | 4.312 | 4.076 | 213.1357 | 224.1641 | 199.8357 | 141.1209 | 55.8872 |  |  | 2013-11-19 17:25 | 59 | 48 | 7 | 11 | 191
11/19/2013 18:00 to 11/19/2013 18:59 | 34.0034 | 44.7233 | 4.1 | 6.6199 | 213.0958 | 224.159 | 197.8576 | 141.6506 | 55.4475 |  |  | 2013-11-19 18:32 | 55 | 56 | 9 | 12 | 202
11/19/2013 19:00 to 11/19/2013 19:59 | 34.5162 | 45.2556 | 4.1 | 6.6394 | 212.6937 | 224.0386 | 197.775 | 141.7111 | 54.6216 |  |  | 2013-11-19 19:40 | 53 | 65 | 10 | 13 | 203
11/19/2013 20:00 to 11/19/2013 20:59 | 35.1168 | 45.8581 | 4.1 | 6.6412 | 213.2561 | 223.9121 | 197.3783 | 141.8416 | 50.439 |  |  | 2013-11-19 20:23 | 54 | 67 | 7 | 10 | 150
11/19/2013 21:00 to 11/19/2013 21:59 | 35.2795 | 46.041 | 4.1 | 6.6615 | 214.8832 | 224.5003 | 198.312 | 141.9148 | 51.8265 |  |  | 2013-11-19 21:30 | 49 | 78 | 2 | 5 | 62
11/19/2013 22:00 to 11/19/2013 22:59 | 35.772 | 46.5164 | 4.1 | 6.6444 | 216.8184 | 224.9558 | 199.3871 | 141.9792 | 56.6529 |  |  | 2013-11-19 22:37 | 47 | 79 | 1 | 2 | 178
11/19/2013 23:00 to 11/19/2013 23:59 | 36.2503 | 47.0138 | 4.1 | 6.6635 | 215.9328 | 224.9401 | 199.2244 | 141.7189 | 57.9576 |  |  | 2013-11-19 23:22 | 49 | 74 | 3 | 4 | 277
11/20/2013 0:02 to 11/20/2013 0:59 | 36.0518 | 46.7958 | 4.1 | 6.644 | 215.0066 | 224.4561 | 197.6988 | 140.4382 | 56.7665 |  |  | 2013-11-20 00:29 | 48 | 78 | 3 | 3 | 216
11/20/2013 1:00 to 11/20/2013 1:59 | 35.5587 | 46.2955 | 4.1 | 6.6368 | 210.8294 | 223.4586 | 197.1686 | 138.9969 | 46.8986 |  |  | 2013-11-20 01:36 | 51 | 75 | 10 | 15 | 185
11/20/2013 2:00 to 11/20/2013 2:59 | 35.2393 | 45.9754 | 4.1 | 6.6361 | 208.5236 | 222.5692 | 196.3631 | 142.0767 | 46.0069 |  |  | 2013-11-20 02:20 | 52 | 74 | 15 | 19 | 179
11/20/2013 3:00 to 11/20/2013 3:59 | 35.0873 | 45.8578 | 4.1 | 6.6705 | 208.8406 | 222.1747 | 196.2575 | 142.2511 | 44.9283 |  |  | 2013-11-20 03:27 | 49 | 79 | 13 | 19 | 169
11/20/2013 4:00 to 11/20/2013 4:59 | 35.6506 | 46.4033 | 4.1 | 6.6526 | 208.545 | 222.6806 | 196.3086 | 142.0786 | 44.0881 |  |  | 2013-11-20 04:35 | 50 | 70 | 12 | 17 | 160
11/20/2013 5:00 to 11/20/2013 5:59 | 35.3614 | 46.1095 | 4.1 | 6.6481 | 210.2758 | 223.2506 | 196.6617 | 141.875 | 44.1222 |  |  | 2013-11-20 05:20 | 52 | 69 | 11 | 14 | 157
11/20/2013 6:00 to 11/20/2013 6:59 | 35.7322 | 46.5059 | 4.1 | 6.6737 | 209.9064 | 222.6256 | 196.1278 | 142.1703 | 45.2 |  |  | 2013-11-20 06:29 | 48 | 83 | 12 | 15 | 195