## Information
The production and injection data in this file were inputted into Excel spreadsheets from the reports posted at the Nevada Bureau of Mines and Geology (NBMG) web site. We've attempted to check the entries and validate that those in this spreadsheet are as reported, however there maybe errors in the data in this file resulting from manually inputting the data. If questions, the addresses to the production and injection reports on the NBMG web site are given below. In some instances, there were questions relative to the reported data (for instance, flow rates unchanging from one month to the next); we've entered the data as reported, however that data questioned will have an orange background.
This data was compiled by Rachel Wood and Hillary Hanson of Idaho National Laboratory in support of Jay Nathwani, US DOE Geothermal Technologies Office. If questions contact either Rachel or Hillary (Rachel.Wood@inl.gov or Hillary.Hanson@inl.gov), or Greg Mines (Gregory.Mines@inl.gov)
Original production and injection documents can be found at
http://www.nbmg.unr.edu/lists/production/

## Production
Well No. | Month | Gallons Produced | Average Temp. | Total kWH Produced | Total kWH to Sales | Remarks
PW-1 | 2009-12-01 | 121831093 | 272.5
PW-2 | 2009-12-01 | 126133784 | 279.4
PW-3 | 2009-12-01 | 57328940 | 260.2
PW-4 | 2009-12-01
PW-5 | 2009-12-01 | 129940420 | 277.2
Total | 2009-12-01 | 435234238 | 272.3 | 14873000 | 12549621
PW-1 | 2009-11-01 | 116698934 | 272.8
PW-2 | 2009-11-01 | 121013373 | 279.6
PW-3 | 2009-11-01 | 85608852 | 267.9
PW-4 | 2009-11-01
PW-5 | 2009-11-01 | 124414784 | 277.3
Total | 2009-11-01 | 447735942 | 274.4 | 14873000 | 11713274
PW-1 | 2009-10-01 | 122523490 | 273.2
PW-2 | 2009-10-01 | 123780080 | 279.9
PW-3 | 2009-10-01 | 99172796 | 268.8
PW-4 | 2009-10-01
PW-5 | 2009-10-01 | 127270142 | 277.4
Total | 2009-10-01 | 472746509 | 274.8 | 16125000 | 10773598
PW-1 | 2009-09-01 | 102919431 | 273.5 |  |  | hand written next to well name 11-36
PW-2 | 2009-09-01 | 122881027 | 280 |  |  | hand written next to well name 14-36
PW-3 | 2009-09-01 | 96213838 | 269.5 |  |  | hand written next to well name 87-26
PW-4 | 2009-09-01 |  |  |  |  | hand written next to well name 86-26
PW-5 | 2009-09-01 | 121827600 | 277.4 |  |  | hand written next to well name 64-35
Total | 2009-09-01 | 443841896 | 275.1 | 9596000 | 6577275

## Injection
| Well No. | Month | Gallons Per Day | Gallons Per Month | Average Temp. | Injection Pressure | Depth and formation
| IW-1 | 2009-12-01 | 4987134 | 154601143 | 183.1 | 89.7 | 500'-1170'
| IW-3 | 2009-12-01 | 0 | 0 | 183.1 | 91.6 | 468'-1650'
| IW-4 | 2009-12-01 | 1864440 | 57797642 | 182.4 | 74.1 | 503'-1640'
| IW-12 | 2009-12-01 | 7223529 | 223929395 | 180.7 | 20.4 | 692'-839'
| Total | 2009-12-01 | 14075103 | 436328180
| IW-1 | 2009-11-01 | 4929476 | 147884274 | 183.1 | 89.7 | 500'-1170'
| IW-3 | 2009-11-01 | 83 | 2505 | 183.1 | 91.6 | 468'-1650'
| IW-4 | 2009-11-01 | 1924577 | 57737311 | 182.4 | 74.1 | 503'-1640'
| IW-12 | 2009-11-01 | 7669569 | 230087072 | 180.7 | 20.4 | 692'-839'
| Total | 2009-11-01 | 14523705 | 435711162
| IW-1 | 2009-10-01 | 4369240 | 135446454 | 183.1 | 89.7 | 500'-1170'
| IW-3 | 2009-10-01 | 653134 | 20247150 | 183.1 | 91.6 | 468'-1650'
| IW-4 | 2009-10-01 | 1910566 | 59227532 | 182.4 | 74.1 | 503'-1640'
| IW-12 | 2009-10-01 | 7714733 | 239156725 | 180.7 | 20.4 | 692'-839'
| Total | 2009-10-01 | 14647673 | 454077860
64-36 | IW-1 | 2009-09-01 | 4203951 | 126118544 | 183.1 | 89.7 | 500'-1170'
65-36 | IW-3 | 2009-09-01 | 627518 | 18825535 | 183.1 | 91.6 | 468'-1650'
63-36 | IW-4 | 2009-09-01 | 1938326 | 58149780 | 182.4 | 74.1 | 503'-1640'
33-25 | IW-12 | 2009-09-01 | 7439893 | 223196785 | 180.7 | 20.4 | 692'-839'
| Total | 2009-09-01 | 14209688 | 426290645
Note on A17: hans0560: This number was hand written above the IW-1 well name on the original data sheet. I assume that this well may be listed under two names.
Note on A18: hans0560: This number was hand written above the IW-3 well name on the original data sheet. I assume that this well may be listed under two names.
Note on A19: hans0560: This number was hand written above the IW-4 well name on the original data sheet. I assume that this well may be listed under two names.
Note on A20: hans0560: This number was hand written above the IW-12 well name on the original data sheet. I assume that this well may be listed under two names.