## Average
Date/Time | Total Net Power Output (Calculated) | Gross Power Output (Veris) | Pump Parasitic Load | Cooling Fan Parasitic Load (Veris) | Geothermal Header Hot Water Temperature | Hot Water Supply Temperature | Hot Water Return Temperature | Hot Water Supply Flow Rate | Ambient Temperature (GM Sensor) | Notes | MESO West WeatherData | Date/Time | Ambient Temperature | Relative Humidity | Wind Speed | Wind Gust | Wind Direction
| kW | kW | kW | kW | F | F | F | gpm | F |  | Station ID: HMHNV |  | F | % | mph | mph | Degrees
3/1/2014 0:00 to 3/1/2014 0:59 | 40.2823 | 52.5477 | 4.1 | 8.1655 | 210.4518 | 223.309 | 191.0845 | 125.0459 | 46.1896 |  |  | 2014-03-01 00:44 | 46 | 73 | 10 | 12 | 205
3/1/2014 1:00 to 3/1/2014 1:59 | 41.173 | 53.3898 | 4.1 | 8.1168 | 210.8659 | 223.3862 | 190.1186 | 125.2689 | 45.9716 |  |  | 2014-03-01 01:31 | 47 | 74 | 11 | 14 | 193
3/1/2014 2:00 to 3/1/2014 2:59 | 40.196 | 52.416 | 4.1 | 8.12 | 209.6532 | 223.1443 | 190.8591 | 128.3382 | 46.4945 |  |  | 2014-03-01 02:38 | 49 | 62 | 13 | 18 | 179
3/1/2014 3:00 to 3/1/2014 3:59 | 39.2672 | 51.5161 | 4.1 | 8.1489 | 210.2627 | 223.3764 | 195.6268 | 134.5462 | 46.2615 |  |  | 2014-03-01 03:23 | 46 | 73 | 14 | 17 | 199
3/1/2014 4:00 to 3/1/2014 4:59 | 40.1878 | 52.4244 | 4.1 | 8.1366 | 209.5243 | 223.1688 | 192.4202 | 130.5614 | 45.7237 |  |  | 2014-03-01 04:30 | 47 | 66 | 13 | 18 | 178
3/1/2014 5:00 to 3/1/2014 5:59 | 41.139 | 53.1795 | 4.1 | 7.9404 | 209.0719 | 222.9169 | 190.5647 | 129.2302 | 44.7088 |  |  | 2014-03-01 05:37 | 47 | 61 | 14 | 19 | 171
3/1/2014 6:00 to 3/1/2014 6:59 | 41.3564 | 53.3829 | 4.1 | 7.9265 | 209.2306 | 222.9962 | 190.2682 | 128.8724 | 44.5 |  |  | 2014-03-01 06:22 | 47 | 58 | 13 | 21 | 178
3/1/2014 7:00 to 3/1/2014 7:59 | 41.6114 | 53.6389 | 4.1 | 7.9275 | 209.8882 | 223.2065 | 189.5306 | 125.8797 | 44.7294 |  |  | 2014-03-01 07:29 | 47 | 61 | 11 | 13 | 199
3/1/2014 8:01 to 3/1/2014 8:59 | 41.5611 | 53.9733 | 4.1 | 8.3122 | 211.1192 | 223.6347 | 189.3843 | 124.2201 | 48.095 |  |  | 2014-03-01 08:38 | 50 | 54 | 9 | 12 | 186
3/1/2014 9:00 to 3/1/2014 9:59 | 39.5058 | 52.715 | 4.1 | 9.1093 | 211.7012 | 223.7396 | 189.9461 | 124.2293 | 55.7442 |  |  | 2014-03-01 09:23 | 56 | 45 | 13 | 16 | 210
3/1/2014 10:00 to 3/1/2014 10:59 | 38.3936 | 52.0732 | 4.1 | 9.5796 | 211.7721 | 223.939 | 190.2483 | 124.5012 | 61.5632 |  |  | 2014-03-01 10:30 | 57 | 47 | 9 | 12 | 229
3/1/2014 11:00 to 3/1/2014 11:59 | 39.6053 | 52.1745 | 4.1 | 8.4692 | 210.2475 | 223.3411 | 189.7044 | 124.7108 | 53.7335 |  |  | 2014-03-01 11:39 | 57 | 45 | 11 | 14 | 178
3/1/2014 12:00 to 3/1/2014 12:59 | 39.7454 | 52.2144 | 4.1 | 8.369 | 208.9376 | 223.0883 | 189.8204 | 125.5665 | 52.4603 |  |  | 2014-03-01 12:24 | 60 | 43 | 14 | 20 | 191
3/1/2014 13:00 to 3/1/2014 13:59 | 39.4894 | 51.9749 | 4.1 | 8.3856 | 209.6831 | 223.2192 | 190.1356 | 126.2858 | 53.9714 |  |  | 2014-03-01 13:33 | 64 | 40 | 13 | 18 | 179
3/1/2014 14:00 to 3/1/2014 14:59 | 39.6022 | 52.5856 | 4.1 | 8.8834 | 211.7939 | 223.7139 | 190.2886 | 125.745 | 54.6178 |  |  | 2014-03-01 14:39 | 63 | 37 | 7 | 14 | 220
3/1/2014 15:00 to 3/1/2014 15:59 | 38.5319 | 51.2901 | 4.1 | 8.6582 | 212.6289 | 224.1781 | 190.7794 | 124.7175 | 55.4872 |  |  | 2014-03-01 15:23 | 63 | 41 | 9 | 13 | 199
3/1/2014 16:00 to 3/1/2014 16:59 | 36.5944 | 49.3576 | 4.1 | 8.6632 | 212.7167 | 224.005 | 194.7869 | 125.5736 | 54.6636 |  |  | 2014-03-01 16:31 | 62 | 40 | 7 | 10 | 175
3/1/2014 17:00 to 3/1/2014 17:59 | 39.8341 | 52.5826 | 4.1 | 8.6485 | 213.4239 | 224.2264 | 191.3514 | 126.6658 | 53.8139 |  |  | 2014-03-01 17:41 | 55 | 48 | 4 | 6 | 174
3/1/2014 18:00 to 3/1/2014 18:59 | 39.7194 | 52.4962 | 4.1 | 8.6769 | 212.698 | 224.1071 | 190.8562 | 127.5418 | 53.6291 |  |  | 2014-03-01 18:25 | 55 | 49 | 6 | 7 | 160
3/1/2014 19:00 to 3/1/2014 19:59 | 40.3136 | 52.8473 | 4.1 | 8.4337 | 212.5101 | 223.9851 | 190.9342 | 128.6019 | 52.444 |  |  | 2014-03-01 19:35 | 54 | 51 | 10 | 13 | 185
3/1/2014 20:00 to 3/1/2014 20:59 | 40.9552 | 53.3005 | 4.1 | 8.2453 | 212.8872 | 224.2281 | 191.0501 | 128.937 | 51.9009 |  |  | 2014-03-01 20:20 | 54 | 50 | 6 | 7 | 165
3/1/2014 21:00 to 3/1/2014 21:59 | 40.955 | 53.6747 | 4.1 | 8.6197 | 213.5115 | 224.3648 | 191.076 | 129.6154 | 52.5411 |  |  | 2014-03-01 21:26 | 51 | 60 | 6 | 7 | 198
3/1/2014 22:00 to 3/1/2014 22:59 | 40.0779 | 52.6608 | 4.1 | 8.4828 | 213.9711 | 224.4308 | 191.8386 | 129.6886 | 51.6967 |  |  | 2014-03-01 22:33 | 51 | 60 | 4 | 6 | 181
3/1/2014 23:00 to 3/1/2014 23:59 | 40.4571 | 53.3999 | 4.1 | 8.8427 | 214.2728 | 224.7752 | 191.6334 | 129.9188 | 53.9176 |  |  | 2014-03-01 23:40 | 48 | 66 | 6 | 7 | 80
3/2/2014 0:00 to 3/2/2014 0:59 | 41.0512 | 53.8418 | 4.1 | 8.6906 | 214.0404 | 224.5269 | 191.1066 | 130.4828 | 53.5553 |  |  | 2014-03-02 00:25 | 50 | 61 | 2 | 3 | 253
3/2/2014 1:00 to 3/2/2014 1:59 | 41.1278 | 53.8992 | 4.1 | 8.6714 | 213.8569 | 224.479 | 191.0825 | 130.4256 | 51.4198 |  |  | 2014-03-02 01:32 | 45 | 72 | 0 | 1
3/2/2014 2:00 to 3/2/2014 2:59 | 40.4458 | 53.2184 | 4.1 | 8.6726 | 214.06 | 224.5222 | 192.3619 | 132.7894 | 50.7469 |  |  | 2014-03-02 02:40 | 44 | 70 | 3 | 4 | 154
3/2/2014 3:00 to 3/2/2014 3:59 | 41.8698 | 54.7765 | 4.1 | 8.8067 | 214.7683 | 224.7378 | 194.9225 | 141.7711 | 51.3644 |  |  | 2014-03-02 03:24 | 43 | 72 | 2 | 3 | 112
3/2/2014 4:00 to 3/2/2014 4:59 | 41.8817 | 54.5157 | 4.1 | 8.534 | 213.6339 | 224.3694 | 192.6588 | 138.4055 | 49.473 |  |  | 2014-03-02 04:31 | 46 | 65 | 7 | 9 | 188
3/2/2014 5:00 to 3/2/2014 5:59 | 41.9979 | 54.8704 | 4.1824 | 8.6901 | 215.0174 | 224.7312 | 191.4565 | 137.0679 | 50.1688 |  |  | 2014-03-02 05:39 | 41 | 73 | 3 | 4 | 52
3/2/2014 6:00 to 3/2/2014 6:59 | 41.4262 | 54.4509 | 4.2 | 8.8247 | 214.9572 | 224.8183 | 190.8836 | 133.7944 | 51.3642 |  |  | 2014-03-02 06:26 | 41 | 72 | 0 | 0