## Sheet1
Sample |  |  | 45 Sc [ No Gas ] | DF 100 |  | Total mg | 89 Y [ No Gas ] | DF 100 |  | Total mg | 139 La [ No Gas ] | DF 100 |  | Total mg | 140 Ce [ No Gas ] | DF 100 |  | Total mg | 141 Pr [ No Gas ] | DF 100 |  | Total mg | 146 Nd [ No Gas ] | DF 100 |  | Total mg | 147 Sm [ No Gas ] | DF 100 |  | Total mg | 153 Eu [ No Gas ] | DF 100 |  | Total mg | 157 Gd [ No Gas ] | DF 100 |  | Total mg | 159 Tb [ No Gas ] | DF 100 |  | Total mg | 163 Dy [ No Gas ] | DF 100 |  | Total mg | 165 Ho [ No Gas ] | DF 100 |  | Total mg | 166 Er [ No Gas ] | DF 100 |  | Total mg | 169 Tm [ No Gas ] | DF 100 |  | Total mg | 172 Yb [ No Gas ] | DF 100 |  | Total mg | 175 Lu [ No Gas ] | DF 100 |  | Total mg | 232 Th [ No Gas ] | DF 100 |  | Total mg | 238 U [ No Gas ] | DF 100 |  | Total mg
| Rjct | Sample Name | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5
| FALSE | GG2-024-INF 100x | 18.8981 | 1889.8136 | 1.8898 | 0.94491 | 323.8713 | 32387.1325 | 32.3871 | 16.1936 | 20.2534 | 2025.3392 | 2.0253 | 1.0127 | 20.6609 | 2066.0896 | 2.0661 | 1.033 | 20.5548 | 2055.4763 | 2.0555 | 1.0277 | 20.4146 | 2041.4602 | 2.0415 | 1.0207 | 21.0475 | 2104.7529 | 2.1048 | 1.0524 | 54.6494 | 5464.9368 | 5.4649 | 2.7325 | 20.8881 | 2088.813 | 2.0888 | 1.0444 | 20.4909 | 2049.0914 | 2.0491 | 1.0245 | 20.491 | 2049.1044 | 2.0491 | 1.0246 | 20.6196 | 2061.9604 | 2.062 | 1.031 | 21.2072 | 2120.7205 | 2.1207 | 1.0604 | 20.4338 | 2043.3829 | 2.0434 | 1.0217 | 20.948 | 2094.8013 | 2.0948 | 1.0474 | 21.2731 | 2127.305 | 2.1273 | 1.0637 | 20.5399 | 2053.9897 | 2.054 | 1.027 | 21.3995 | 2139.9456 | 2.1399 | 1.07
| FALSE | GG2-024-A-90 100x | 15.888 | 1588.8025 | 1.5888 | 0.7944 | 329.9825 | 32998.2496 | 32.9982 | 16.4991 | 19.8308 | 1983.0797 | 1.9831 | 0.99154 | 20.1464 | 2014.643 | 2.0146 | 1.0073 | 19.7932 | 1979.3223 | 1.9793 | 0.98966 | 19.7999 | 1979.9895 | 1.98 | 0.98999 | 19.9472 | 1994.7174 | 1.9947 | 0.99736 | 54.1649 | 5416.4895 | 5.4165 | 2.7082 | 20.155 | 2015.4951 | 2.0155 | 1.0077 | 19.4216 | 1942.1563 | 1.9422 | 0.97108 | 19.2404 | 1924.0358 | 1.924 | 0.96202 | 19.4605 | 1946.0484 | 1.946 | 0.97302 | 20.021 | 2002.1007 | 2.0021 | 1.0011 | 19.3435 | 1934.3501 | 1.9344 | 0.96718 | 19.8162 | 1981.6181 | 1.9816 | 0.99081 | 20.0373 | 2003.7307 | 2.0037 | 1.0019 | 19.1124 | 1911.2404 | 1.9112 | 0.95562 | 12.9331 | 1293.3117 | 1.2933 | 0.64666
| FALSE | GG2-024-B-90 100x | 19.5482 | 1954.8191 | 1.9548 | 0.97741 | 379.8642 | 37986.4151 | 37.9864 | 18.9932 | 23.3799 | 2337.9929 | 2.338 | 1.169 | 23.7229 | 2372.2905 | 2.3723 | 1.1861 | 23.3595 | 2335.9516 | 2.336 | 1.168 | 23.3014 | 2330.1406 | 2.3301 | 1.1651 | 23.5357 | 2353.5746 | 2.3536 | 1.1768 | 62.9238 | 6292.3844 | 6.2924 | 3.1462 | 23.6202 | 2362.0248 | 2.362 | 1.181 | 23.0324 | 2303.2419 | 2.3032 | 1.1516 | 22.9231 | 2292.3056 | 2.2923 | 1.1462 | 23.1213 | 2312.1319 | 2.3121 | 1.1561 | 23.6485 | 2364.8527 | 2.3649 | 1.1824 | 22.8309 | 2283.0889 | 2.2831 | 1.1415 | 23.4742 | 2347.418 | 2.3474 | 1.1737 | 23.7819 | 2378.1878 | 2.3782 | 1.1891 | 21.9915 | 2199.1493 | 2.1991 | 1.0996 | 17.5281 | 1752.8087 | 1.7528 | 0.8764
| FALSE | GG2-025-INF 100x | 15.7623 | 1576.2281 | 1.5762 | 0.78811 | 272.9787 | 27297.8665 | 27.2979 | 13.6489 | 16.6824 | 1668.2432 | 1.6682 | 0.83412 | 17.2225 | 1722.2462 | 1.7222 | 0.86112 | 17.0215 | 1702.1499 | 1.7021 | 0.85107 | 17.12 | 1712.003 | 1.712 | 0.856 | 17.4228 | 1742.2771 | 1.7423 | 0.87114 | 46.2906 | 4629.0575 | 4.6291 | 2.3145 | 17.5617 | 1756.1663 | 1.7562 | 0.87808 | 17.096 | 1709.6007 | 1.7096 | 0.8548 | 17.0314 | 1703.138 | 1.7031 | 0.85157 | 17.0812 | 1708.1217 | 1.7081 | 0.85406 | 17.359 | 1735.9016 | 1.7359 | 0.86795 | 16.8651 | 1686.5126 | 1.6865 | 0.84326 | 17.432 | 1743.1953 | 1.7432 | 0.8716 | 17.5143 | 1751.4293 | 1.7514 | 0.87571 | 16.9238 | 1692.3816 | 1.6924 | 0.84619 | 17.6659 | 1766.5852 | 1.7666 | 0.88329
| FALSE | GG2-025-A-90 100x | 16.0426 | 1604.2575 | 1.6043 | 0.80213 | 320.5789 | 32057.8888 | 32.0579 | 16.0289 | 19.7526 | 1975.2562 | 1.9753 | 0.98763 | 19.9598 | 1995.9796 | 1.996 | 0.99799 | 19.7053 | 1970.5315 | 1.9705 | 0.98527 | 19.7125 | 1971.2535 | 1.9713 | 0.98563 | 19.8747 | 1987.4719 | 1.9875 | 0.99374 | 53.2167 | 5321.6727 | 5.3217 | 2.6608 | 20.0806 | 2008.0572 | 2.0081 | 1.004 | 19.4477 | 1944.7735 | 1.9448 | 0.97239 | 19.2816 | 1928.1591 | 1.9282 | 0.96408 | 19.4856 | 1948.5589 | 1.9486 | 0.97428 | 20.0123 | 2001.2276 | 2.0012 | 1.0006 | 19.19 | 1919.0026 | 1.919 | 0.9595 | 19.7958 | 1979.5849 | 1.9796 | 0.98979 | 20.004 | 2000.4047 | 2.0004 | 1.0002 | 19.5091 | 1950.9103 | 1.9509 | 0.97546 | 13.9076 | 1390.758 | 1.3908 | 0.69538
| FALSE | GG2-025-B-90 100x | 13.9855 | 1398.546 | 1.3985 | 0.69927 | 283.0276 | 28302.7566 | 28.3028 | 14.1514 | 17.449 | 1744.9005 | 1.7449 | 0.87245 | 17.7544 | 1775.4383 | 1.7754 | 0.88772 | 17.6105 | 1761.0459 | 1.761 | 0.88052 | 17.4437 | 1744.3737 | 1.7444 | 0.87219 | 17.6991 | 1769.9101 | 1.7699 | 0.88496 | 47.1486 | 4714.8553 | 4.7149 | 2.3574 | 17.6282 | 1762.8192 | 1.7628 | 0.88141 | 17.2083 | 1720.8276 | 1.7208 | 0.86041 | 17.1794 | 1717.9436 | 1.7179 | 0.85897 | 17.1497 | 1714.9674 | 1.715 | 0.85748 | 17.6727 | 1767.2723 | 1.7673 | 0.88364 | 16.9617 | 1696.1657 | 1.6962 | 0.84808 | 17.644 | 1764.399 | 1.7644 | 0.8822 | 17.6682 | 1766.8238 | 1.7668 | 0.88341 | 16.9876 | 1698.7608 | 1.6988 | 0.84938 | 12.1021 | 1210.2136 | 1.2102 | 0.60511
| FALSE | GG2-28-Inf 100x | 17.5619 | 1756.1878 | 1.7562 | 0.87809 | 17.5892 | 1758.9201 | 1.7589 | 0.87946 | 18.2835 | 1828.3456 | 1.8283 | 0.91417 | 18.4472 | 1844.7232 | 1.8447 | 0.92236 | 18.7779 | 1877.7914 | 1.8778 | 0.9389 | 18.5934 | 1859.3362 | 1.8593 | 0.92967 | 18.5722 | 1857.2229 | 1.8572 | 0.92861 | 18.3311 | 1833.1088 | 1.8331 | 0.91655 | 18.8017 | 1880.1675 | 1.8802 | 0.94008 | 18.1811 | 1818.1116 | 1.8181 | 0.90906 | 17.991 | 1799.0975 | 1.7991 | 0.89955 | 18.118 | 1811.7967 | 1.8118 | 0.9059 | 18.6538 | 1865.385 | 1.8654 | 0.93269 | 18.0488 | 1804.8782 | 1.8049 | 0.90244 | 18.414 | 1841.3955 | 1.8414 | 0.9207 | 18.2689 | 1826.8851 | 1.8269 | 0.91344 | 15.0157 | 1501.5677 | 1.5016 | 0.75078 | 18.0799 | 1807.9947 | 1.808 | 0.904
| FALSE | GG2-28-A-90 100x | 12.708 | 1270.8046 | 1.2708 | 0.6354 | 16.6548 | 1665.4822 | 1.6655 | 0.83274 | 17.612 | 1761.2032 | 1.7612 | 0.8806 | 17.3816 | 1738.1629 | 1.7382 | 0.86908 | 17.5646 | 1756.4587 | 1.7565 | 0.87823 | 17.2246 | 1722.4588 | 1.7225 | 0.86123 | 17.2477 | 1724.7721 | 1.7248 | 0.86239 | 16.7207 | 1672.0665 | 1.6721 | 0.83603 | 17.3527 | 1735.2682 | 1.7353 | 0.86763 | 16.5531 | 1655.3066 | 1.6553 | 0.82765 | 16.5711 | 1657.1123 | 1.6571 | 0.82856 | 16.5783 | 1657.8256 | 1.6578 | 0.82891 | 17.15 | 1714.997 | 1.715 | 0.8575 | 16.3357 | 1633.5722 | 1.6336 | 0.81679 | 16.8856 | 1688.5579 | 1.6886 | 0.84428 | 16.6656 | 1666.5577 | 1.6666 | 0.83328 | 7.9819 | 798.187 | 0.79819 | 0.39909 | 10.0723 | 1007.2317 | 1.0072 | 0.50362
| FALSE | GG2-28-B-90 100x | 12.8449 | 1284.4872 | 1.2845 | 0.64224 | 16.8468 | 1684.6752 | 1.6847 | 0.84234 | 17.6593 | 1765.9299 | 1.7659 | 0.88296 | 17.5408 | 1754.0802 | 1.7541 | 0.87704 | 17.6456 | 1764.5564 | 1.7646 | 0.88228 | 17.4594 | 1745.9437 | 1.7459 | 0.87297 | 17.2326 | 1723.2632 | 1.7233 | 0.86163 | 16.9365 | 1693.6491 | 1.6936 | 0.84682 | 17.1968 | 1719.6802 | 1.7197 | 0.85984 | 16.6025 | 1660.2453 | 1.6602 | 0.83012 | 16.4121 | 1641.2102 | 1.6412 | 0.82061 | 16.5562 | 1655.6189 | 1.6556 | 0.82781 | 16.9013 | 1690.1277 | 1.6901 | 0.84506 | 16.3991 | 1639.9141 | 1.6399 | 0.81996 | 16.6902 | 1669.0232 | 1.669 | 0.83451 | 16.6835 | 1668.3473 | 1.6683 | 0.83417 | 4.1111 | 411.1083 | 0.41111 | 0.20555 | 10.0439 | 1004.3911 | 1.0044 | 0.5022
|  | Average Inf |  |  |  | 0.87037 |  |  |  | 10.2407 |  |  |  | 0.92032 |  |  |  | 0.93884 |  |  |  | 0.93924 |  |  |  | 0.93547 |  |  |  | 0.95071 |  |  |  | 1.9879 |  |  |  | 0.95419 |  |  |  | 0.92947 |  |  |  | 0.92522 |  |  |  | 0.93031 |  |  |  | 0.95367 |  |  |  | 0.92246 |  |  |  | 0.94657 |  |  |  | 0.95094 |  |  |  | 0.87466 |  |  |  | 0.95242
|  | Blank |  |  |  | 0.88591 |  |  |  | 17.7462 |  |  |  | 1.0803 |  |  |  | 1.0967 |  |  |  | 1.0788 |  |  |  | 1.0775 |  |  |  | 1.0871 |  |  |  | 2.9272 |  |  |  | 1.0944 |  |  |  | 1.0613 |  |  |  | 1.0541 |  |  |  | 1.0645 |  |  |  | 1.0917 |  |  |  | 1.0544 |  |  |  | 1.0823 |  |  |  | 1.0955 |  |  |  | 1.0276 |  |  |  | 0.76153
|  | Ox |  |  |  | 0.7507 |  |  |  | 15.0902 |  |  |  | 0.93004 |  |  |  | 0.94285 |  |  |  | 0.93289 |  |  |  | 0.92891 |  |  |  | 0.93935 |  |  |  | 2.5091 |  |  |  | 0.94272 |  |  |  | 0.9164 |  |  |  | 0.91153 |  |  |  | 0.91588 |  |  |  | 0.94212 |  |  |  | 0.90379 |  |  |  | 0.936 |  |  |  | 0.94181 |  |  |  | 0.91242 |  |  |  | 0.65024
|  | Media #2 |  |  |  | 0.63882 |  |  |  | 0.83754 |  |  |  | 0.88178 |  |  |  | 0.87306 |  |  |  | 0.88025 |  |  |  | 0.8671 |  |  |  | 0.86201 |  |  |  | 0.84143 |  |  |  | 0.86374 |  |  |  | 0.82889 |  |  |  | 0.82458 |  |  |  | 0.82836 |  |  |  | 0.85128 |  |  |  | 0.81837 |  |  |  | 0.8394 |  |  |  | 0.83373 |  |  |  | 0.30232 |  |  |  | 0.50291

## Sheet2
This is for Brine #1 500mL, 0.5g media, 2ppm each REE's. We still see a greater affinity for Sc, Th, U with these parameters. We also see that for the majority of metals, the Media #2 has equal or better capacity than the blank or the oxidized carbon. So that is good news.
So, 5.12 mg absorbed onto 500 mg of media is only 0.1% by wt. on a relative molar basis.
|  |  | Blank Loaded Media | [7 empty] | Oxidized Carbon | [7 empty] | Media #2
|  |  | Starting conditions |  |  | Ending conditions
| Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed
| Sc | 44.96 | 0.87 | 19.3505 | 0.886 | -0.016 | -0.35587 | -1.839% | Sc | 44.96 | 0.87 | 19.3505 | 0.75 | 0.12 | 2.669 | 13.79% | Sc | 44.96 | 0.87 | 19.3505 | 0.639 | 0.231 | 11.9377 | 61.69%
1 | Y | 88.91 | 10.2 | 114.7228 | 17.7 | -7.5 | -84.355 | -73.53% | Y | 88.91 | 10.2 | 114.7228 | 15.1 | -4.9 | -55.1119 | -48.04% | Y | 88.91 | 10.2 | 114.7228 | 0.838 | 9.362 | 0.33742 | 0.2941%
2 | La | 138.91 | 0.92 | 6.623 | 1.08 | -0.16 | -1.1518 | -17.39% | La | 138.91 | 0.92 | 6.623 | 0.93 | -0.01 | -0.071989 | -1.087% | La | 138.91 | 0.92 | 6.623 | 0.882 | 0.038 | 0.23756 | 3.587%
3 | Ce | 140.12 | 0.939 | 6.7014 | 1.09 | -0.151 | -1.0776 | -16.08% | Ce | 140.12 | 0.939 | 6.7014 | 0.943 | -0.004 | -0.028547 | -0.426% | Ce | 140.12 | 0.939 | 6.7014 | 0.873 | 0.066 | 0.33543 | 5.005%
4 | Pr | 140.91 | 0.939 | 6.6638 | 1.07 | -0.131 | -0.92967 | -13.95% | Pr | 140.91 | 0.939 | 6.6638 | 0.933 | 0.006 | 0.04258 | 0.639% | Pr | 140.91 | 0.939 | 6.6638 | 0.88 | 0.059 | 0.36903 | 5.538%
5 | Nd | 144.24 | 0.935 | 6.4823 | 1.08 | -0.145 | -1.0053 | -15.51% | Nd | 144.24 | 0.935 | 6.4823 | 0.929 | 0.006 | 0.041597 | 0.6417% | Nd | 144.24 | 0.935 | 6.4823 | 0.867 | 0.068 | 0.38131 | 5.882%
6 | Sm | 150.36 | 0.951 | 6.3248 | 1.08 | -0.129 | -0.85794 | -13.56% | Sm | 150.36 | 0.951 | 6.3248 | 0.939 | 0.012 | 0.079808 | 1.262% | Sm | 150.36 | 0.951 | 6.3248 | 0.862 | 0.089 | 0.46555 | 7.361%
7 | Eu | 151.96 | 1.98 | 13.0297 | 2.92 | -0.94 | -6.1858 | -47.47% | Eu | 151.96 | 1.98 | 13.0297 | 2.51 | -0.53 | -3.4878 | -26.77% | Eu | 151.96 | 1.98 | 13.0297 | 0.841 | 1.139 | 0.48697 | 3.737%
8 | Gd | 157.25 | 0.954 | 6.0668 | 1.09 | -0.136 | -0.86486 | -14.26% | Gd | 157.25 | 0.954 | 6.0668 | 0.942 | 0.012 | 0.076312 | 1.258% | Gd | 157.25 | 0.954 | 6.0668 | 0.864 | 0.09 | 0.41335 | 6.813%
9 | Tb | 158.93 | 0.929 | 5.8453 | 1.06 | -0.131 | -0.82426 | -14.1% | Tb | 158.93 | 0.929 | 5.8453 | 0.916 | 0.013 | 0.081797 | 1.399% | Tb | 158.93 | 0.929 | 5.8453 | 0.829 | 0.1 | 0.45932 | 7.858%
10 | Dy | 162.5 | 0.925 | 5.6923 | 1.05 | -0.125 | -0.76923 | -13.51% | Dy | 162.5 | 0.925 | 5.6923 | 0.912 | 0.013 | 0.08 | 1.405% | Dy | 162.5 | 0.925 | 5.6923 | 0.825 | 0.1 | 0.44923 | 7.892%
11 | Ho | 164.93 | 0.93 | 5.6388 | 1.06 | -0.13 | -0.78821 | -13.98% | Ho | 164.93 | 0.93 | 5.6388 | 0.916 | 0.014 | 0.084884 | 1.505% | Ho | 164.93 | 0.93 | 5.6388 | 0.828 | 0.102 | 0.41836 | 7.419%
12 | Er | 167.26 | 0.954 | 5.7037 | 1.09 | -0.136 | -0.81311 | -14.26% | Er | 167.26 | 0.954 | 5.7037 | 0.942 | 0.012 | 0.071745 | 1.258% | Er | 167.26 | 0.954 | 5.7037 | 0.851 | 0.103 | 0.40655 | 7.128%
13 | Tm | 168.93 | 0.922 | 5.4579 | 1.05 | -0.128 | -0.75771 | -13.88% | Tm | 168.93 | 0.922 | 5.4579 | 0.904 | 0.018 | 0.10655 | 1.952% | Tm | 168.93 | 0.922 | 5.4579 | 0.818 | 0.104 | 0.42029 | 7.701%
14 | Yb | 173.05 | 0.946 | 5.4666 | 1.08 | -0.134 | -0.77434 | -14.16% | Yb | 173.05 | 0.946 | 5.4666 | 0.936 | 0.01 | 0.057787 | 1.057% | Yb | 173.05 | 0.946 | 5.4666 | 0.839 | 0.107 | 0.4334 | 7.928%
15 | Lu | 174.97 | 0.951 | 5.4352 | 1.09 | -0.139 | -0.79442 | -14.62% | Lu | 174.97 | 0.951 | 5.4352 | 0.942 | 0.009 | 0.051437 | 0.9464% | Lu | 174.97 | 0.951 | 5.4352 | 0.834 | 0.117 | 0.42864 | 7.886%
16 | Th | 232.04 | 0.875 | 3.7709 | 1.03 | -0.155 | -0.66799 | -17.71% | Th | 232.04 | 0.875 | 3.7709 | 0.912 | -0.037 | -0.15946 | -4.229% | Th | 232.04 | 0.875 | 3.7709 | 0.302 | 0.573 | 0.81882 | 21.71%
17 | U | 238.03 | 0.952 | 3.9995 | 0.762 | 0.19 | 0.79822 | 19.96% | U | 238.03 | 0.952 | 3.9995 | 0.65 | 0.302 | 1.2687 | 31.72% | U | 238.03 | 0.952 | 3.9995 | 0.503 | 0.449 | 1.2477 | 31.2%
18
|  | Totals | 27.072 | 232.9753 | 37.268 | -10.196 | -102.175 | -43.86% |  | Totals | 27.072 | 232.9753 | 32.006 | -4.934 | -54.1474 | -23.24% |  | Totals | 27.072 | 232.9753 | 14.175 | 12.897 | 20.0466 | 8.605%