## Sheet1
Sample |  |  | 45 Sc [ No Gas ] | DF 100 |  | Total mg | 89 Y [ No Gas ] | DF 100 |  | Total mg | 139 La [ No Gas ] | DF 100 |  | Total mg | 140 Ce [ No Gas ] | DF 100 |  | Total mg | 141 Pr [ No Gas ] | DF 100 |  | Total mg | 146 Nd [ No Gas ] | DF 100 |  | Total mg | 147 Sm [ No Gas ] | DF 100 |  | Total mg | 153 Eu [ No Gas ] | DF 100 |  | Total mg | 157 Gd [ No Gas ] | DF 100 |  | Total mg | 159 Tb [ No Gas ] | DF 100 |  | Total mg | 163 Dy [ No Gas ] | DF 100 |  | Total mg | 165 Ho [ No Gas ] | DF 100 |  | Total mg | 166 Er [ No Gas ] | DF 100 |  | Total mg | 169 Tm [ No Gas ] | DF 100 |  | Total mg | 172 Yb [ No Gas ] | DF 100 |  | Total mg | 175 Lu [ No Gas ] | DF 100 |  | Total mg | 232 Th [ No Gas ] | DF 100 |  | Total mg | 238 U [ No Gas ] | DF 100 |  | Total mg
| Rjct | Sample Name | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5 | Conc. [ ppb ] | µg/L | mg/L | Vol (L) 0.5
| FALSE | GG2-022-INF 100x | 20.4075 | 2040.7534 | 2.0408 | 1.0204 | 351.3311 | 35133.1102 | 35.1331 | 17.5666 | 22.0181 | 2201.8138 | 2.2018 | 1.1009 | 22.5352 | 2253.5182 | 2.2535 | 1.1268 | 22.4664 | 2246.6431 | 2.2466 | 1.1233 | 22.4992 | 2249.9158 | 2.2499 | 1.125 | 22.9689 | 2296.8948 | 2.2969 | 1.1484 | 60.2518 | 6025.1811 | 6.0252 | 3.0126 | 23.0326 | 2303.261 | 2.3033 | 1.1516 | 22.6386 | 2263.8559 | 2.2639 | 1.1319 | 22.3781 | 2237.8056 | 2.2378 | 1.1189 | 22.7544 | 2275.4369 | 2.2754 | 1.1377 | 23.3774 | 2337.7353 | 2.3377 | 1.1689 | 22.3893 | 2238.9255 | 2.2389 | 1.1195 | 23.3061 | 2330.6112 | 2.3306 | 1.1653 | 23.4114 | 2341.143 | 2.3411 | 1.1706 | 22.8013 | 2280.126 | 2.2801 | 1.1401 | 23.7028 | 2370.2824 | 2.3703 | 1.1851
| FALSE | GG2-022-A-90 100x | 14.3741 | 1437.4076 | 1.4374 | 0.7187 | 317.5169 | 31751.688 | 31.7517 | 15.8758 | 19.5961 | 1959.6133 | 1.9596 | 0.97981 | 19.8624 | 1986.2444 | 1.9862 | 0.99312 | 19.4899 | 1948.9914 | 1.949 | 0.9745 | 19.506 | 1950.5975 | 1.9506 | 0.9753 | 19.684 | 1968.4035 | 1.9684 | 0.9842 | 52.9182 | 5291.8249 | 5.2918 | 2.6459 | 19.9744 | 1997.4431 | 1.9974 | 0.99872 | 19.3584 | 1935.8358 | 1.9358 | 0.96792 | 19.2848 | 1928.4825 | 1.9285 | 0.96424 | 19.5038 | 1950.383 | 1.9504 | 0.97519 | 19.8528 | 1985.2797 | 1.9853 | 0.99264 | 19.2357 | 1923.5732 | 1.9236 | 0.96179 | 19.7925 | 1979.2473 | 1.9792 | 0.98962 | 19.9338 | 1993.3816 | 1.9934 | 0.99669 | 13.8542 | 1385.4195 | 1.3854 | 0.69271 | 14.6749 | 1467.491 | 1.4675 | 0.73375
| FALSE | GG2-022-B-90 100x | 14.2514 | 1425.1426 | 1.4251 | 0.71257 | 315.2183 | 31521.8309 | 31.5218 | 15.7609 | 19.3441 | 1934.4139 | 1.9344 | 0.96721 | 19.6144 | 1961.4351 | 1.9614 | 0.98072 | 19.3921 | 1939.2107 | 1.9392 | 0.96961 | 19.5325 | 1953.2504 | 1.9533 | 0.97663 | 19.6634 | 1966.3423 | 1.9663 | 0.98317 | 52.7765 | 5277.6523 | 5.2777 | 2.6388 | 19.7254 | 1972.539 | 1.9725 | 0.98627 | 19.4167 | 1941.6685 | 1.9417 | 0.97083 | 19.1914 | 1919.1397 | 1.9191 | 0.95957 | 19.4475 | 1944.7534 | 1.9448 | 0.97238 | 19.9147 | 1991.4666 | 1.9915 | 0.99573 | 19.2523 | 1925.2291 | 1.9252 | 0.96261 | 19.6743 | 1967.433 | 1.9674 | 0.98372 | 19.9577 | 1995.771 | 1.9958 | 0.99789 | 13.3839 | 1338.3919 | 1.3384 | 0.6692 | 14.1788 | 1417.8831 | 1.4179 | 0.70894
| FALSE | GG2-023-INF 100x | 19.4112 | 1941.1208 | 1.9411 | 0.97056 | 325.2587 | 32525.8717 | 32.5259 | 16.2629 | 20.2496 | 2024.9624 | 2.025 | 1.0125 | 20.7041 | 2070.4149 | 2.0704 | 1.0352 | 20.5694 | 2056.9397 | 2.0569 | 1.0285 | 20.5137 | 2051.3687 | 2.0514 | 1.0257 | 21.3871 | 2138.7101 | 2.1387 | 1.0694 | 54.9598 | 5495.98 | 5.496 | 2.748 | 21.3145 | 2131.4458 | 2.1314 | 1.0657 | 20.7109 | 2071.0887 | 2.0711 | 1.0355 | 20.7365 | 2073.6497 | 2.0736 | 1.0368 | 20.6604 | 2066.0403 | 2.066 | 1.033 | 21.1939 | 2119.3948 | 2.1194 | 1.0597 | 20.5145 | 2051.4531 | 2.0515 | 1.0257 | 21.1102 | 2111.017 | 2.111 | 1.0555 | 21.2252 | 2122.5249 | 2.1225 | 1.0613 | 20.7156 | 2071.5594 | 2.0716 | 1.0358 | 21.3433 | 2134.3312 | 2.1343 | 1.0672
| FALSE | GG2-023-A-90 100x | 10.9473 | 1094.7265 | 1.0947 | 0.54736 | 269.9168 | 26991.683 | 26.9917 | 13.4958 | 16.2593 | 1625.9322 | 1.6259 | 0.81297 | 16.5335 | 1653.3462 | 1.6533 | 0.82667 | 16.2995 | 1629.9522 | 1.63 | 0.81498 | 16.3946 | 1639.4622 | 1.6395 | 0.81973 | 16.4879 | 1648.7907 | 1.6488 | 0.8244 | 44.9078 | 4490.7756 | 4.4908 | 2.2454 | 16.5681 | 1656.8097 | 1.6568 | 0.8284 | 16.1335 | 1613.3477 | 1.6133 | 0.80667 | 16.1505 | 1615.053 | 1.6151 | 0.80753 | 16.1489 | 1614.8944 | 1.6149 | 0.80745 | 16.6109 | 1661.0919 | 1.6611 | 0.83055 | 15.961 | 1596.096 | 1.5961 | 0.79805 | 16.3924 | 1639.2389 | 1.6392 | 0.81962 | 16.5325 | 1653.2519 | 1.6533 | 0.82663 | 9.0044 | 900.4432 | 0.90044 | 0.45022 | 10.5751 | 1057.508 | 1.0575 | 0.52875
| FALSE | GG2-023-B-90 100x | 13.4616 | 1346.1615 | 1.3462 | 0.67308 | 323.2884 | 32328.8381 | 32.3288 | 16.1644 | 19.7445 | 1974.4469 | 1.9744 | 0.98722 | 20.0622 | 2006.223 | 2.0062 | 1.0031 | 19.7261 | 1972.6076 | 1.9726 | 0.9863 | 19.6142 | 1961.4233 | 1.9614 | 0.98071 | 19.9111 | 1991.1053 | 1.9911 | 0.99555 | 53.5121 | 5351.2084 | 5.3512 | 2.6756 | 19.9777 | 1997.7685 | 1.9978 | 0.99888 | 19.6221 | 1962.2107 | 1.9622 | 0.98111 | 19.3953 | 1939.5281 | 1.9395 | 0.96976 | 19.6376 | 1963.7614 | 1.9638 | 0.98188 | 20.0186 | 2001.8569 | 2.0019 | 1.0009 | 19.3548 | 1935.4835 | 1.9355 | 0.96774 | 19.9486 | 1994.8554 | 1.9949 | 0.99743 | 20.0274 | 2002.7372 | 2.0027 | 1.0014 | 10.7758 | 1077.583 | 1.0776 | 0.53879 | 12.7016 | 1270.1588 | 1.2702 | 0.63508
| FALSE | GG2-017-INF 100x | 19.5066 | 1950.6623 | 1.9507 | 0.97533 | 324.4234 | 32442.3375 | 32.4423 | 16.2212 | 19.9881 | 1998.8058 | 1.9988 | 0.9994 | 21.5045 | 2150.4546 | 2.1505 | 1.0752 | 20.4421 | 2044.2105 | 2.0442 | 1.0221 | 20.8561 | 2085.6055 | 2.0856 | 1.0428 | 21.0334 | 2103.3367 | 2.1033 | 1.0517 | 54.6105 | 5461.0473 | 5.461 | 2.7305 | 21.0456 | 2104.5605 | 2.1046 | 1.0523 | 20.4188 | 2041.877 | 2.0419 | 1.0209 | 20.1869 | 2018.6918 | 2.0187 | 1.0093 | 20.8623 | 2086.2347 | 2.0862 | 1.0431 | 21.1107 | 2111.0698 | 2.1111 | 1.0555 | 20.3568 | 2035.6763 | 2.0357 | 1.0178 | 20.9968 | 2099.6805 | 2.0997 | 1.0498 | 21.1235 | 2112.3476 | 2.1123 | 1.0562 | 20.6378 | 2063.7808 | 2.0638 | 1.0319 | 21.387 | 2138.7028 | 2.1387 | 1.0694
| FALSE | GG2-017-A-22hr 100x | 2.9182 | 291.8154 | 0.29182 | 0.14591 | 268.0692 | 26806.9182 | 26.8069 | 13.4035 | 15.8435 | 1584.3544 | 1.5844 | 0.79218 | 16.6997 | 1669.9716 | 1.67 | 0.83499 | 15.6143 | 1561.4296 | 1.5614 | 0.78071 | 15.5168 | 1551.6843 | 1.5517 | 0.77584 | 15.4324 | 1543.2424 | 1.5432 | 0.77162 | 43.2134 | 4321.3394 | 4.3213 | 2.1607 | 15.7649 | 1576.4896 | 1.5765 | 0.78824 | 15.1618 | 1516.1752 | 1.5162 | 0.75809 | 15.1341 | 1513.406 | 1.5134 | 0.7567 | 15.3944 | 1539.4431 | 1.5394 | 0.76972 | 15.5689 | 1556.8921 | 1.5569 | 0.77845 | 14.9493 | 1494.9255 | 1.4949 | 0.74746 | 15.224 | 1522.3964 | 1.5224 | 0.7612 | 15.5991 | 1559.9086 | 1.5599 | 0.77995 | 1.9694 | 196.9429 | 0.19694 | 0.098471 | 1.2379 | 123.7883 | 0.12379 | 0.061894
| FALSE | GG2-017-B-22hr 100x | 3.8377 | 383.7718 | 0.38377 | 0.19189 | 323.2318 | 32323.1838 | 32.3232 | 16.1616 | 19.275 | 1927.502 | 1.9275 | 0.96375 | 20.3681 | 2036.8052 | 2.0368 | 1.0184 | 18.9271 | 1892.7107 | 1.8927 | 0.94636 | 18.9762 | 1897.6168 | 1.8976 | 0.94881 | 18.6163 | 1861.6288 | 1.8616 | 0.93081 | 52.1613 | 5216.1269 | 5.2161 | 2.6081 | 19.0716 | 1907.1637 | 1.9072 | 0.95358 | 18.3911 | 1839.1089 | 1.8391 | 0.91955 | 18.3153 | 1831.526 | 1.8315 | 0.91576 | 18.9146 | 1891.4573 | 1.8915 | 0.94573 | 19.0581 | 1905.8139 | 1.9058 | 0.95291 | 18.1797 | 1817.968 | 1.818 | 0.90898 | 18.558 | 1855.7959 | 1.8558 | 0.9279 | 18.8988 | 1889.8849 | 1.8899 | 0.94494 | 2.3867 | 238.6652 | 0.23867 | 0.11933 | 1.5446 | 154.4565 | 0.15446 | 0.077228
|  | Average Inf |  |  |  | 0.98876 |  |  | 1.1 | 16.6836 |  |  |  | 1.0376 |  |  |  | 1.0791 |  |  |  | 1.058 |  |  |  | 1.0645 |  |  |  | 1.0898 |  |  | 1.1 | 2.8304 |  |  |  | 1.0899 |  |  |  | 1.0628 |  |  |  | 1.055 |  |  |  | 1.0713 |  |  |  | 1.0947 |  |  |  | 1.0543 |  |  |  | 1.0902 |  |  |  | 1.096 |  |  |  | 1.0692 |  |  |  | 1.1072
|  | Blank |  |  |  | 0.71564 |  |  |  | 15.8184 |  |  |  | 0.97351 |  |  |  | 0.98692 |  |  |  | 0.97205 |  |  |  | 0.97596 |  |  |  | 0.98369 |  |  |  | 2.6424 |  |  |  | 0.9925 |  |  |  | 0.96938 |  |  |  | 0.96191 |  |  |  | 0.97378 |  |  |  | 0.99419 |  |  |  | 0.9622 |  |  |  | 0.98667 |  |  |  | 0.99729 |  |  |  | 0.68095 |  |  |  | 0.72134
|  | ox |  |  |  | 0.61022 |  |  |  | 14.8301 |  |  |  | 0.90009 |  |  |  | 0.91489 |  |  |  | 0.90064 |  |  |  | 0.90022 |  |  |  | 0.90997 |  |  |  | 2.4605 |  |  |  | 0.91364 |  |  |  | 0.89389 |  |  |  | 0.88865 |  |  |  | 0.89466 |  |  |  | 0.91574 |  |  |  | 0.88289 |  |  |  | 0.90852 |  |  |  | 0.914 |  |  |  | 0.49451 |  |  |  | 0.58192
|  | Media #1 |  |  |  | 0.1689 |  |  |  | 14.7825 |  |  |  | 0.87796 |  |  |  | 0.92669 |  |  |  | 0.86354 |  |  |  | 0.86233 |  |  |  | 0.85122 |  |  |  | 2.3844 |  |  |  | 0.87091 |  |  |  | 0.83882 |  |  |  | 0.83623 |  |  |  | 0.85773 |  |  |  | 0.86568 |  |  |  | 0.82822 |  |  |  | 0.84455 |  |  |  | 0.86245 |  |  |  | 0.1089 |  |  |  | 0.069561
[5 empty] | Picked up | 0.85148 |  |  |  | 0.25 |  |  |  | 0.22294 |  |  |  | 0.20006 |  |  |  | 0.25979 |  |  |  | 0.26263 |  |  |  | 0.29723 |  |  |  | 0.25 |  |  |  | 0.28072 |  |  |  | 0.29311 |  |  |  | 0.28267 |  |  |  | 0.27999 |  |  |  | 0.30319 |  |  |  | 0.29124 |  |  |  | 0.32076 |  |  |  | 0.30812 |  |  |  | 1.0312 |  |  |  | 1.1156
[5 empty] | Sum REE in inf mg | 20.3344
[5 empty] | SUM REE picked up mg | 7.1007

## Sheet2
This is for Brine #1 500mL, 0.5g media, 2ppm each REE's. We still see a greater affinity for Sc, Th, U with these parameters. We also see that for the majority of metals, the Media #1 has equal or better capacity than the blank or the oxidized carbon. So that is good news.
So, 7.9 mg absorbed onto 500 mg of media is only 0.07% by wt. on a relative molar basis.
|  | Blank Loaded Media | [7 empty] | Oxidized Carbon | [7 empty] | Media #1
|  | Starting conditions |  |  | Ending conditions
Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed
Sc | 44.96 | 0.989 | 21.9973 | 0.715 | 0.274 | 6.0943 | 27.7% | Sc | 44.96 | 0.989 | 21.9973 | 0.61 | 0.379 | 8.4297 | 38.32% | Sc | 44.96 | 0.989 | 21.9973 | 0.169 | 0.82 | 18.2384 | 82.91%
Y | 88.91 | 16.68 | 187.6054 | 15.8 | 0.88 | 9.8976 | 5.276% | Y | 88.91 | 16.68 | 187.6054 | 14.8 | 1.88 | 21.145 | 11.27% | Y | 88.91 | 16.68 | 187.6054 | 14.8 | 1.88 | 21.145 | 11.27%
La | 138.91 | 1.04 | 7.4869 | 0.974 | 0.066 | 0.47513 | 6.346% | La | 138.91 | 1.04 | 7.4869 | 0.9 | 0.14 | 1.0078 | 13.46% | La | 138.91 | 1.04 | 7.4869 | 0.878 | 0.162 | 1.1662 | 15.58%
Ce | 140.12 | 1.08 | 7.7077 | 0.987 | 0.093 | 0.66372 | 8.611% | Ce | 140.12 | 1.08 | 7.7077 | 0.915 | 0.165 | 1.1776 | 15.28% | Ce | 140.12 | 1.08 | 7.7077 | 0.927 | 0.153 | 1.0919 | 14.17%
Pr | 140.91 | 1.06 | 7.5225 | 0.972 | 0.088 | 0.62451 | 8.302% | Pr | 140.91 | 1.06 | 7.5225 | 0.901 | 0.159 | 1.1284 | 15% | Pr | 140.91 | 1.06 | 7.5225 | 0.864 | 0.196 | 1.391 | 18.49%
Nd | 144.24 | 1.06 | 7.3489 | 0.976 | 0.084 | 0.58236 | 7.925% | Nd | 144.24 | 1.06 | 7.3489 | 0.9 | 0.16 | 1.1093 | 15.09% | Nd | 144.24 | 1.06 | 7.3489 | 0.862 | 0.198 | 1.3727 | 18.68%
Sm | 150.36 | 1.09 | 7.2493 | 0.984 | 0.106 | 0.70497 | 9.725% | Sm | 150.36 | 1.09 | 7.2493 | 0.91 | 0.18 | 1.1971 | 16.51% | Sm | 150.36 | 1.09 | 7.2493 | 0.851 | 0.239 | 1.5895 | 21.93%
Eu | 151.96 | 2.83 | 18.6233 | 2.64 | 0.19 | 1.2503 | 6.714% | Eu | 151.96 | 2.83 | 18.6233 | 2.46 | 0.37 | 2.4349 | 13.07% | Eu | 151.96 | 2.83 | 18.6233 | 2.38 | 0.45 | 2.9613 | 15.9%
Gd | 157.25 | 1.09 | 6.9316 | 0.992 | 0.098 | 0.62321 | 8.991% | Gd | 157.25 | 1.09 | 6.9316 | 0.913 | 0.177 | 1.1256 | 16.24% | Gd | 157.25 | 1.09 | 6.9316 | 0.871 | 0.219 | 1.3927 | 20.09%
Tb | 158.93 | 1.06 | 6.6696 | 0.969 | 0.091 | 0.57258 | 8.585% | Tb | 158.93 | 1.06 | 6.6696 | 0.894 | 0.166 | 1.0445 | 15.66% | Tb | 158.93 | 1.06 | 6.6696 | 0.839 | 0.221 | 1.3905 | 20.85%
Dy | 162.5 | 1.06 | 6.5231 | 0.962 | 0.098 | 0.60308 | 9.245% | Dy | 162.5 | 1.06 | 6.5231 | 0.889 | 0.171 | 1.0523 | 16.13% | Dy | 162.5 | 1.06 | 6.5231 | 0.836 | 0.224 | 1.3785 | 21.13%
Ho | 164.93 | 1.07 | 6.4876 | 0.974 | 0.096 | 0.58207 | 8.972% | Ho | 164.93 | 1.07 | 6.4876 | 0.895 | 0.175 | 1.0611 | 16.36% | Ho | 164.93 | 1.07 | 6.4876 | 0.858 | 0.212 | 1.2854 | 19.81%
Er | 167.26 | 1.09 | 6.5168 | 0.994 | 0.096 | 0.57396 | 8.807% | Er | 167.26 | 1.09 | 6.5168 | 0.915 | 0.175 | 1.0463 | 16.06% | Er | 167.26 | 1.09 | 6.5168 | 0.866 | 0.224 | 1.3392 | 20.55%
Tm | 168.93 | 1.05 | 6.2156 | 0.962 | 0.088 | 0.52093 | 8.381% | Tm | 168.93 | 1.05 | 6.2156 | 0.883 | 0.167 | 0.98858 | 15.9% | Tm | 168.93 | 1.05 | 6.2156 | 0.828 | 0.222 | 1.3142 | 21.14%
Yb | 173.05 | 1.09 | 6.2988 | 0.987 | 0.103 | 0.5952 | 9.45% | Yb | 173.05 | 1.09 | 6.2988 | 0.908 | 0.182 | 1.0517 | 16.7% | Yb | 173.05 | 1.09 | 6.2988 | 0.845 | 0.245 | 1.4158 | 22.48%
Lu | 174.97 | 1.1 | 6.2868 | 0.997 | 0.103 | 0.58867 | 9.364% | Lu | 174.97 | 1.1 | 6.2868 | 0.914 | 0.186 | 1.063 | 16.91% | Lu | 174.97 | 1.1 | 6.2868 | 0.862 | 0.238 | 1.3602 | 21.64%
Th | 232.04 | 1.07 | 4.6113 | 0.681 | 0.389 | 1.6764 | 36.36% | Th | 232.04 | 1.07 | 4.6113 | 0.495 | 0.575 | 2.478 | 53.74% | Th | 232.04 | 1.07 | 4.6113 | 0.109 | 0.961 | 4.1415 | 89.81%
U | 238.03 | 1.11 | 4.6633 | 0.721 | 0.389 | 1.6342 | 35.05% | U | 238.03 | 1.11 | 4.6633 | 0.582 | 0.528 | 2.2182 | 47.57% | U | 238.03 | 1.11 | 4.6633 | 0.07 | 1.04 | 4.3692 | 93.69%
| Totals | 36.619 | 326.7457 | 33.287 | 3.332 | 28.2634 | 8.65% |  | Totals | 36.619 | 326.7457 | 30.684 | 5.935 | 50.759 | 15.53% |  | Totals | 36.619 | 326.7457 | 28.715 | 7.904 | 68.3433 | 20.92%