## %wt
Sample |  |  | 45 Sc [ No Gas ] | µg/L | mg/L | Total mg | 89 Y [ No Gas ] | µg/L | mg/L | Total mg | 139 La [ No Gas ] | µg/L | mg/L | Total mg | 140 Ce [ No Gas ] | µg/L | mg/L | Total mg | 141 Pr [ No Gas ] | µg/L | mg/L | Total mg | 146 Nd [ No Gas ] | µg/L | mg/L | Total mg | 147 Sm [ No Gas ] | µg/L | mg/L | Total mg | 153 Eu [ No Gas ] | µg/L | mg/L | Total mg | 157 Gd [ No Gas ] | µg/L | mg/L | Total mg | 159 Tb [ No Gas ] | µg/L | mg/L | Total mg | 163 Dy [ No Gas ] | µg/L | mg/L | Total mg | 165 Ho [ No Gas ] | µg/L | mg/L | Total mg | 166 Er [ No Gas ] | µg/L | mg/L | Total mg | 169 Tm [ No Gas ] | µg/L | mg/L | Total mg | 172 Yb [ No Gas ] | µg/L | mg/L | Total mg | 175 Lu [ No Gas ] | µg/L | mg/L | Total mg | 232 Th [ No Gas ] | µg/L | mg/L | Total mg | 238 U [ No Gas ] | µg/L | mg/L | Total mg
| Rjct | Sample Name | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L) | Conc. [ ppb ] | DF 100 |  | Vol .5 (L)
| FALSE | GG2-018-INF 100x | 19.3169 | 1931.6895 | 1.9317 | 0.96584 | 325.1291 | 32512.9086 | 32.5129 | 16.2565 | 19.6768 | 1967.6844 | 1.9677 | 0.98384 | 21.2378 | 2123.7827 | 2.1238 | 1.0619 | 20.0873 | 2008.7323 | 2.0087 | 1.0044 | 20.0879 | 2008.7857 | 2.0088 | 1.0044 | 20.3812 | 2038.117 | 2.0381 | 1.0191 | 54.0079 | 5400.7929 | 5.4008 | 2.7004 | 20.663 | 2066.2962 | 2.0663 | 1.0331 | 20.2188 | 2021.8778 | 2.0219 | 1.0109 | 20.0253 | 2002.5263 | 2.0025 | 1.0013 | 20.453 | 2045.2962 | 2.0453 | 1.0226 | 20.6828 | 2068.2783 | 2.0683 | 1.0341 | 19.9781 | 1997.8068 | 1.9978 | 0.9989 | 20.5976 | 2059.7592 | 2.0598 | 1.0299 | 20.5606 | 2056.0618 | 2.0561 | 1.028 | 20.0433 | 2004.3276 | 2.0043 | 1.0022 | 20.7833 | 2078.3275 | 2.0783 | 1.0392
| FALSE | GG2-018-A-22hr 100x | 16.7599 | 1675.9897 | 1.676 | 0.83799 | 341.2077 | 34120.7696 | 34.1208 | 17.0604 | 18.515 | 1851.495 | 1.8515 | 0.92575 | 18.62 | 1861.9995 | 1.862 | 0.931 | 17.2106 | 1721.0644 | 1.7211 | 0.86053 | 17.207 | 1720.6997 | 1.7207 | 0.86035 | 16.3468 | 1634.6796 | 1.6347 | 0.81734 | 51.651 | 5165.0974 | 5.1651 | 2.5825 | 16.4386 | 1643.8557 | 1.6439 | 0.82193 | 15.5902 | 1559.0162 | 1.559 | 0.77951 | 15.333 | 1533.299 | 1.5333 | 0.76665 | 16.0884 | 1608.8371 | 1.6088 | 0.80442 | 16.243 | 1624.3009 | 1.6243 | 0.81215 | 15.462 | 1546.2008 | 1.5462 | 0.7731 | 15.6121 | 1561.2101 | 1.5612 | 0.78061 | 15.8842 | 1588.4152 | 1.5884 | 0.79421 | 20.8055 | 2080.5521 | 2.0806 | 1.0403 | 8.2421 | 824.21 | 0.82421 | 0.41211
| FALSE | GG2-018-B-22hr 100x | 15.8965 | 1589.6532 | 1.5897 | 0.79483 | 315.152 | 31515.2049 | 31.5152 | 15.7576 | 17.25 | 1725.0014 | 1.725 | 0.8625 | 17.4463 | 1744.6311 | 1.7446 | 0.87232 | 16.0386 | 1603.8576 | 1.6039 | 0.80193 | 15.9342 | 1593.4165 | 1.5934 | 0.79671 | 15.2366 | 1523.6607 | 1.5237 | 0.76183 | 48.2284 | 4822.843 | 4.8228 | 2.4114 | 15.4823 | 1548.2307 | 1.5482 | 0.77412 | 14.6538 | 1465.38 | 1.4654 | 0.73269 | 14.5737 | 1457.3662 | 1.4574 | 0.72868 | 15.0637 | 1506.3673 | 1.5064 | 0.75318 | 15.3191 | 1531.9122 | 1.5319 | 0.76596 | 14.679 | 1467.9047 | 1.4679 | 0.73395 | 14.8338 | 1483.3791 | 1.4834 | 0.74169 | 14.9016 | 1490.1643 | 1.4902 | 0.74508 | 19.9075 | 1990.7508 | 1.9908 | 0.99538 | 7.6507 | 765.0729 | 0.76507 | 0.38254
| FALSE | GG2-019-INF 100x | 17.7498 | 1774.9803 | 1.775 | 0.88749 | 305.6467 | 30564.6683 | 30.5647 | 15.2823 | 19.2505 | 1925.0534 | 1.9251 | 0.96253 | 19.797 | 1979.7042 | 1.9797 | 0.98985 | 19.5306 | 1953.0563 | 1.9531 | 0.97653 | 19.5067 | 1950.6679 | 1.9507 | 0.97533 | 19.6775 | 1967.7525 | 1.9678 | 0.98388 | 51.9913 | 5199.1269 | 5.1991 | 2.5996 | 19.9498 | 1994.9764 | 1.995 | 0.99749 | 19.3556 | 1935.564 | 1.9356 | 0.96778 | 19.3441 | 1934.4148 | 1.9344 | 0.96721 | 19.3897 | 1938.9722 | 1.939 | 0.96949 | 19.9736 | 1997.3648 | 1.9974 | 0.99868 | 19.2762 | 1927.6214 | 1.9276 | 0.96381 | 19.8739 | 1987.3895 | 1.9874 | 0.99369 | 19.9006 | 1990.0602 | 1.9901 | 0.99503 | 19.5187 | 1951.874 | 1.9519 | 0.97594 | 20.4276 | 2042.762 | 2.0428 | 1.0214
| FALSE | GG2-019-A-90 100x | 12.7577 | 1275.7725 | 1.2758 | 0.63789 | 305.0903 | 30509.0278 | 30.509 | 15.2545 | 16.851 | 1685.0972 | 1.6851 | 0.84255 | 17.0254 | 1702.5395 | 1.7025 | 0.85127 | 16.6053 | 1660.5325 | 1.6605 | 0.83027 | 16.4885 | 1648.8476 | 1.6488 | 0.82442 | 16.6958 | 1669.5797 | 1.6696 | 0.83479 | 49.0737 | 4907.365 | 4.9074 | 2.4537 | 16.8567 | 1685.6682 | 1.6857 | 0.84283 | 16.6991 | 1669.9114 | 1.6699 | 0.83496 | 16.6615 | 1666.1501 | 1.6662 | 0.83308 | 16.8513 | 1685.1293 | 1.6851 | 0.84256 | 17.2393 | 1723.9286 | 1.7239 | 0.86196 | 16.6209 | 1662.0887 | 1.6621 | 0.83104 | 17.2841 | 1728.4095 | 1.7284 | 0.8642 | 17.2824 | 1728.2359 | 1.7282 | 0.86412 | 11.0595 | 1105.9511 | 1.106 | 0.55298 | 13.9701 | 1397.0135 | 1.397 | 0.69851
| FALSE | GG2-019-B-90 100x | 9.4348 | 943.4818 | 0.94348 | 0.47174 | 230.7243 | 23072.4306 | 23.0724 | 11.5362 | 12.9653 | 1296.5347 | 1.2965 | 0.64827 | 13.033 | 1303.3008 | 1.3033 | 0.65165 | 12.8129 | 1281.2945 | 1.2813 | 0.64065 | 12.8172 | 1281.7157 | 1.2817 | 0.64086 | 12.9032 | 1290.3237 | 1.2903 | 0.64516 | 38.298 | 3829.802 | 3.8298 | 1.9149 | 13.2126 | 1321.2626 | 1.3213 | 0.66063 | 12.8434 | 1284.3433 | 1.2843 | 0.64217 | 12.8077 | 1280.7726 | 1.2808 | 0.64039 | 12.8865 | 1288.65 | 1.2887 | 0.64433 | 13.4011 | 1340.1054 | 1.3401 | 0.67005 | 12.8194 | 1281.9417 | 1.2819 | 0.64097 | 13.1923 | 1319.2307 | 1.3192 | 0.65962 | 13.2857 | 1328.572 | 1.3286 | 0.66429 | 8.3258 | 832.5768 | 0.83258 | 0.41629 | 10.483 | 1048.3037 | 1.0483 | 0.52415
|  | GG1-198A Inf 100x | 17.4442 | 1744.4227 | 1.7444 | 0.87221 | 18.9338 | 1893.3783 | 1.8934 | 0.94669 | 16.6254 | 1662.5449 | 1.6625 | 0.83127 | 16.415 | 1641.4975 | 1.6415 | 0.82075 | 16.398 | 1639.7964 | 1.6398 | 0.8199 | 16.1053 | 1610.5317 | 1.6105 | 0.80527 | 16.2857 | 1628.5669 | 1.6286 | 0.81428 | 15.9891 | 1598.907 | 1.5989 | 0.79945 | 16.2398 | 1623.9782 | 1.624 | 0.81199 | 15.9 | 1590.0011 | 1.59 | 0.795 | 15.4549 | 1545.4947 | 1.5455 | 0.77275 | 15.7824 | 1578.2395 | 1.5782 | 0.78912 | 15.8109 | 1581.0916 | 1.5811 | 0.79055 | 15.777 | 1577.7023 | 1.5777 | 0.78885 | 16.022 | 1602.2021 | 1.6022 | 0.8011 | 16.0307 | 1603.0738 | 1.6031 | 0.80154 | 15.7728 | 1577.2785 | 1.5773 | 0.78864 | 15.6837 | 1568.3741 | 1.5684 | 0.78419
|  | GG1-198A 90 min 100x | 12.9408 | 1294.085 | 1.2941 | 0.64704 | 16.5711 | 1657.1106 | 1.6571 | 0.82856 | 13.7658 | 1376.5821 | 1.3766 | 0.68829 | 13.3848 | 1338.4824 | 1.3385 | 0.66924 | 13.2923 | 1329.2268 | 1.3292 | 0.66461 | 13.0225 | 1302.2539 | 1.3023 | 0.65113 | 13.0685 | 1306.8465 | 1.3068 | 0.65342 | 12.9534 | 1295.3445 | 1.2953 | 0.64767 | 13.2074 | 1320.7353 | 1.3207 | 0.66037 | 12.9054 | 1290.5427 | 1.2905 | 0.64527 | 12.6565 | 1265.6521 | 1.2657 | 0.63283 | 12.944 | 1294.3987 | 1.2944 | 0.6472 | 12.9265 | 1292.6463 | 1.2926 | 0.64632 | 12.698 | 1269.8008 | 1.2698 | 0.6349 | 12.892 | 1289.2048 | 1.2892 | 0.6446 | 12.8925 | 1289.2484 | 1.2892 | 0.64462 | 8.6338 | 863.383 | 0.86338 | 0.43169 | 8.8789 | 887.8948 | 0.88789 | 0.44395
|  | GG1-198B Inf 100x | 17.9673 | 1796.7324 | 1.7967 | 0.89837 | 18.9272 | 1892.7211 | 1.8927 | 0.94636 | 16.0628 | 1606.2792 | 1.6063 | 0.80314 | 16.0882 | 1608.824 | 1.6088 | 0.80441 | 16.0012 | 1600.1224 | 1.6001 | 0.80006 | 15.8797 | 1587.9718 | 1.588 | 0.79399 | 16.0262 | 1602.6207 | 1.6026 | 0.80131 | 15.8137 | 1581.3702 | 1.5814 | 0.79069 | 16.0169 | 1601.6941 | 1.6017 | 0.80085 | 15.6083 | 1560.8252 | 1.5608 | 0.78041 | 15.3862 | 1538.6184 | 1.5386 | 0.76931 | 15.4892 | 1548.9214 | 1.5489 | 0.77446 | 15.6537 | 1565.3653 | 1.5654 | 0.78268 | 15.4228 | 1542.2778 | 1.5423 | 0.77114 | 15.7267 | 1572.6651 | 1.5727 | 0.78633 | 15.7014 | 1570.1432 | 1.5701 | 0.78507 | 15.4055 | 1540.5463 | 1.5405 | 0.77027 | 15.3719 | 1537.1905 | 1.5372 | 0.7686
|  | GG1-198B 90 min 100x | 13.2136 | 1321.3637 | 1.3214 | 0.66068 | 16.7686 | 1676.8613 | 1.6769 | 0.83843 | 13.6168 | 1361.6767 | 1.3617 | 0.68084 | 13.4068 | 1340.6765 | 1.3407 | 0.67034 | 13.2427 | 1324.2686 | 1.3243 | 0.66213 | 12.9931 | 1299.3107 | 1.2993 | 0.64966 | 13.0085 | 1300.8507 | 1.3009 | 0.65043 | 12.8325 | 1283.2464 | 1.2832 | 0.64162 | 13.207 | 1320.7012 | 1.3207 | 0.66035 | 12.7923 | 1279.2251 | 1.2792 | 0.63961 | 12.5731 | 1257.3067 | 1.2573 | 0.62865 | 12.6854 | 1268.5355 | 1.2685 | 0.63427 | 12.8485 | 1284.8454 | 1.2848 | 0.64242 | 12.5077 | 1250.7662 | 1.2508 | 0.62538 | 12.8017 | 1280.1656 | 1.2802 | 0.64008 | 12.8599 | 1285.989 | 1.286 | 0.64299 | 8.5586 | 855.8585 | 0.85586 | 0.42793 | 8.681 | 868.1008 | 0.8681 | 0.43405
|  | GG1-198C Inf 100x | 18.6318 | 1863.182 | 1.8632 | 0.93159 | 19.3159 | 1931.589 | 1.9316 | 0.96579 | 16.481 | 1648.0954 | 1.6481 | 0.82405 | 16.4859 | 1648.5915 | 1.6486 | 0.8243 | 16.506 | 1650.5973 | 1.6506 | 0.8253 | 16.2238 | 1622.3813 | 1.6224 | 0.81119 | 16.3562 | 1635.6172 | 1.6356 | 0.81781 | 16.2335 | 1623.3524 | 1.6234 | 0.81168 | 16.3434 | 1634.3361 | 1.6343 | 0.81717 | 15.9691 | 1596.9112 | 1.5969 | 0.79846 | 15.8052 | 1580.5206 | 1.5805 | 0.79026 | 15.8856 | 1588.5636 | 1.5886 | 0.79428 | 16.0157 | 1601.5745 | 1.6016 | 0.80079 | 15.6635 | 1566.3515 | 1.5664 | 0.78318 | 16.1143 | 1611.4324 | 1.6114 | 0.80572 | 15.9962 | 1599.6185 | 1.5996 | 0.79981 | 15.624 | 1562.403 | 1.5624 | 0.7812 | 15.7024 | 1570.2352 | 1.5702 | 0.78512
|  | GG1-198C 90 min 100x | 14.0664 | 1406.6416 | 1.4066 | 0.70332 | 17.6 | 1759.9968 | 1.76 | 0.88 | 14.3144 | 1431.4432 | 1.4314 | 0.71572 | 14.0118 | 1401.1791 | 1.4012 | 0.70059 | 13.7932 | 1379.3209 | 1.3793 | 0.68966 | 13.6737 | 1367.37 | 1.3674 | 0.68368 | 13.6406 | 1364.0584 | 1.3641 | 0.68203 | 13.3252 | 1332.5204 | 1.3325 | 0.66626 | 13.7661 | 1376.6137 | 1.3766 | 0.68831 | 13.4246 | 1342.4599 | 1.3425 | 0.67123 | 13.1771 | 1317.7128 | 1.3177 | 0.65886 | 13.3573 | 1335.7349 | 1.3357 | 0.66787 | 13.419 | 1341.897 | 1.3419 | 0.67095 | 13.2076 | 1320.7568 | 1.3208 | 0.66038 | 13.4306 | 1343.0585 | 1.3431 | 0.67153 | 13.3793 | 1337.9296 | 1.3379 | 0.66896 | 9.2896 | 928.9575 | 0.92896 | 0.46448 | 9.6048 | 960.4768 | 0.96048 | 0.48024
|  | Average Inf |  |  |  | 0.9111 |  |  |  | 6.8795 |  |  |  | 0.88097 |  |  |  | 0.90024 |  |  |  | 0.88523 |  |  |  | 0.87803 |  |  |  | 0.88727 |  |  |  | 1.5404 |  |  |  | 0.89213 |  |  |  | 0.87052 |  |  |  | 0.86016 |  |  |  | 0.87 |  |  |  | 0.88137 |  |  |  | 0.86118 |  |  |  | 0.88334 |  |  |  | 0.8819 |  |  |  | 0.86364 |  |  |  | 0.87969
|  | Blank |  |  |  | 0.81641 |  |  |  | 16.409 |  |  |  | 0.89412 |  |  |  | 0.90166 |  |  |  | 0.83123 |  |  |  | 0.82853 |  |  |  | 0.78959 |  |  |  | 2.497 |  |  |  | 0.79802 |  |  |  | 0.7561 |  |  |  | 0.74767 |  |  |  | 0.7788 |  |  |  | 0.78905 |  |  |  | 0.75353 |  |  |  | 0.76115 |  |  |  | 0.76964 |  |  |  | 1.0178 |  |  |  | 0.39732
|  | ox |  |  |  | 0.55481 |  |  |  | 13.3954 |  |  |  | 0.74541 |  |  |  | 0.75146 |  |  |  | 0.73546 |  |  |  | 0.73264 |  |  |  | 0.73998 |  |  |  | 2.1843 |  |  |  | 0.75173 |  |  |  | 0.73856 |  |  |  | 0.73673 |  |  |  | 0.74344 |  |  |  | 0.76601 |  |  |  | 0.73601 |  |  |  | 0.76191 |  |  |  | 0.7642 |  |  |  | 0.48463 |  |  |  | 0.61133
|  | Media #1 |  |  |  | 0.67035 |  |  |  | 0.84899 |  |  |  | 0.69495 |  |  |  | 0.68006 |  |  |  | 0.67214 |  |  |  | 0.66149 |  |  |  | 0.66196 |  |  |  | 0.65185 |  |  |  | 0.66968 |  |  |  | 0.65204 |  |  |  | 0.64011 |  |  |  | 0.64978 |  |  |  | 0.65323 |  |  |  | 0.64022 |  |  |  | 0.65207 |  |  |  | 0.65219 |  |  |  | 0.44137 |  |  |  | 0.45275

## Micromolar
| This is for Brine #2 500mL, 0.5g media, 2ppm each REE's. We still see a greater affinity for Sc, Th, U with these parameters. We also see that for the majority of metals, the Media #1 has equal or better capacity than the blank or the oxidized carbon. So that is good news. | [7 empty] | The data for this set is obscured due to the fact that we have data (GG1-198)the was ran before we started getting elevated Y and Eu numbers from the ICP-MS.
So, 10.87 mg absorbed onto 500 mg of media is only 0.07% by wt. on a relative molar basis.
|  |  | Blank Loaded Media | [5 empty] | Oxidized Carbon | [5 empty] | Media #1
|  |  | Starting conditions |  |  | Ending conditions
| Element | g/mol | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed | Starting mg | micromols | Ending mg | absorbed mgs | absorbed micromols | % micromoles removed
| Sc | 44.96 | 0.911 | 20.2625 | 0.816 | 0.095 | 2.113 | 10.43% | 0.911 | 20.2625 | 0.555 | 0.356 | 7.9181 | 39.08% | 0.911 | 20.2625 | 0.67 | 0.241 | 5.3603 | 26.45%
1 | Y | 88.91 | 6.88 | 77.3816 | 16.41 | -9.53 | -107.187 | -138.5% | 6.88 | 77.3816 | 13.4 | -6.52 | -73.3326 | -94.77% | 6.88 | 77.3816 | 0.849 | 6.031 | 67.8326 | 87.66%
2 | La | 138.91 | 0.881 | 6.3422 | 0.894 | -0.013 | -0.093586 | -1.476% | 0.881 | 6.3422 | 0.745 | 0.136 | 0.97905 | 15.44% | 0.881 | 6.3422 | 0.695 | 0.186 | 1.339 | 21.11%
3 | Ce | 140.12 | 0.9 | 6.4231 | 0.902 | -0.002 | -0.014273 | -0.2222% | 0.9 | 6.4231 | 0.751 | 0.149 | 1.0634 | 16.56% | 0.9 | 6.4231 | 0.68 | 0.22 | 1.5701 | 24.44%
4 | Pr | 140.91 | 0.885 | 6.2806 | 0.831 | 0.054 | 0.38322 | 6.102% | 0.885 | 6.2806 | 0.735 | 0.15 | 1.0645 | 16.95% | 0.885 | 6.2806 | 0.672 | 0.213 | 1.5116 | 24.07%
5 | Nd | 144.24 | 0.878 | 6.0871 | 0.828 | 0.05 | 0.34664 | 5.695% | 0.878 | 6.0871 | 0.733 | 0.145 | 1.0053 | 16.51% | 0.878 | 6.0871 | 0.661 | 0.217 | 1.5044 | 24.72%
6 | Sm | 150.36 | 0.887 | 5.8992 | 0.79 | 0.097 | 0.64512 | 10.94% | 0.887 | 5.8992 | 0.74 | 0.147 | 0.97765 | 16.57% | 0.887 | 5.8992 | 0.662 | 0.225 | 1.4964 | 25.37%
7 | Eu | 151.96 | 1.54 | 10.1342 | 2.49 | -0.95 | -6.2516 | -61.69% | 1.54 | 10.1342 | 2.18 | -0.64 | -4.2116 | -41.56% | 1.54 | 10.1342 | 0.651 | 0.889 | 5.8502 | 57.73%
8 | Gd | 157.25 | 0.892 | 5.6725 | 0.798 | 0.094 | 0.59777 | 10.54% | 0.892 | 5.6725 | 0.752 | 0.14 | 0.8903 | 15.7% | 0.892 | 5.6725 | 0.67 | 0.222 | 1.4118 | 24.89%
9 | Tb | 158.93 | 0.872 | 5.4867 | 0.756 | 0.116 | 0.72988 | 13.3% | 0.872 | 5.4867 | 0.739 | 0.133 | 0.83685 | 15.25% | 0.872 | 5.4867 | 0.652 | 0.22 | 1.3843 | 25.23%
10 | Dy | 162.5 | 0.86 | 5.2923 | 0.748 | 0.112 | 0.68923 | 13.02% | 0.86 | 5.2923 | 0.737 | 0.123 | 0.75692 | 14.3% | 0.86 | 5.2923 | 0.64 | 0.22 | 1.3538 | 25.58%
11 | Ho | 164.93 | 0.87 | 5.275 | 0.779 | 0.091 | 0.55175 | 10.46% | 0.87 | 5.275 | 0.743 | 0.127 | 0.77002 | 14.6% | 0.87 | 5.275 | 0.649 | 0.221 | 1.34 | 25.4%
12 | Er | 167.26 | 0.881 | 5.2672 | 0.789 | 0.092 | 0.55004 | 10.44% | 0.881 | 5.2672 | 0.766 | 0.115 | 0.68755 | 13.05% | 0.881 | 5.2672 | 0.653 | 0.228 | 1.3631 | 25.88%
13 | Tm | 168.93 | 0.861 | 5.0968 | 0.754 | 0.107 | 0.6334 | 12.43% | 0.861 | 5.0968 | 0.736 | 0.125 | 0.73995 | 14.52% | 0.861 | 5.0968 | 0.64 | 0.221 | 1.3082 | 25.67%
14 | Yb | 173.05 | 0.883 | 5.1026 | 0.761 | 0.122 | 0.705 | 13.82% | 0.883 | 5.1026 | 0.761 | 0.122 | 0.705 | 13.82% | 0.883 | 5.1026 | 0.652 | 0.231 | 1.3349 | 26.16%
15 | Lu | 174.97 | 0.882 | 5.0409 | 0.77 | 0.112 | 0.64011 | 12.7% | 0.882 | 5.0409 | 0.764 | 0.118 | 0.6744 | 13.38% | 0.882 | 5.0409 | 0.652 | 0.23 | 1.3145 | 26.08%
16 | Th | 232.04 | 0.864 | 3.7235 | 1.01 | -0.146 | -0.6292 | -16.9% | 0.864 | 3.7235 | 0.484 | 0.38 | 1.6376 | 43.98% | 0.864 | 3.7235 | 0.441 | 0.423 | 1.823 | 48.96%
17 | U | 238.03 | 0.879 | 3.6928 | 0.397 | 0.482 | 2.025 | 54.84% | 0.879 | 3.6928 | 0.611 | 0.268 | 1.1259 | 30.49% | 0.879 | 3.6928 | 0.452 | 0.427 | 1.7939 | 48.58%
18
|  | Totals | 22.506 | 188.4607 | 31.523 | -9.017 | -103.5656 | -54.95% | 22.506 | 188.4607 | 26.932 | -4.426 | -55.7117 | -29.56% | 22.506 | 188.4607 | 11.641 | 10.865 | 100.8922 | 53.53%