## Sheet1
Sample |  |  |  | 139 La [ He ] | DF 10 |  | Total mg |  | 140 Ce [ He ] | DF 10 |  | Total mg |  | 141 Pr [ He ] | DF 10 |  | Total mg |  | 146 Nd [ He ] | DF 10 |  | Total mg |  | 153 Eu [ He ] | DF 10 |  | Total mg |  | 159 Tb [ He ] | DF 10 |  | Total mg |  | 163 Dy [ He ] | DF 10 |  | Total mg
| Rjct | Sample Name | Comment | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt | Conc. [ ppb ] | µg/L | mg/L | Vol .15 | %wt
| FALSE | GG2-87-Inf | 10 | 238.6949 | 2386.9494 | 2.3869 | 0.35804 |  | 237.4305 | 2374.3049 | 2.3743 | 0.35615 |  | 230.3233 | 2303.2327 | 2.3032 | 0.34548 |  | 233.1002 | 2331.0024 | 2.331 | 0.34965 |  | 220.7115 | 2207.1153 | 2.2071 | 0.33107 |  | 217.908 | 2179.0798 | 2.1791 | 0.32686 |  | 235.7107 | 2357.1069 | 2.3571 | 0.35357
| FALSE | GG2-87A-90 | 10 | 183.0531 | 1830.5306 | 1.8305 | 0.27458 | 0.004173% | 172.4549 | 1724.5487 | 1.7245 | 0.25868 | 0.004873% | 164.8518 | 1648.5175 | 1.6485 | 0.24728 | 0.00491% | 164.8615 | 1648.6152 | 1.6486 | 0.24729 | 0.005118% | 145.8901 | 1458.901 | 1.4589 | 0.21884 | 0.005612% | 142.403 | 1424.0299 | 1.424 | 0.2136 | 0.005663% | 153.1374 | 1531.3744 | 1.5314 | 0.22971 | 0.006193%
| FALSE | GG2-87B-90 | 10 | 174.0084 | 1740.0843 | 1.7401 | 0.26101 | 0.004851% | 155.1565 | 1551.5648 | 1.5516 | 0.23273 | 0.006171% | 144.1387 | 1441.3866 | 1.4414 | 0.21621 | 0.006464% | 142.297 | 1422.97 | 1.423 | 0.21345 | 0.00681% | 118.7379 | 1187.379 | 1.1874 | 0.17811 | 0.007648% | 115.3293 | 1153.2934 | 1.1533 | 0.17299 | 0.007693% | 121.4217 | 1214.2173 | 1.2142 | 0.18213 | 0.008572%
| FALSE | GG2-87C-90 | 10 | 167.0238 | 1670.2383 | 1.6702 | 0.25054 | 0.005375% | 145.7833 | 1457.8328 | 1.4578 | 0.21867 | 0.006874% | 135.4093 | 1354.0933 | 1.3541 | 0.20311 | 0.007119% | 132.9007 | 1329.007 | 1.329 | 0.19935 | 0.007515% | 106.9723 | 1069.7235 | 1.0697 | 0.16046 | 0.00853% | 102.2608 | 1022.6079 | 1.0226 | 0.15339 | 0.008674% | 108.2723 | 1082.7234 | 1.0827 | 0.16241 | 0.009558%
| FALSE | GG2-87D-90 | 10 | 183.3194 | 1833.1937 | 1.8332 | 0.27498 | 0.004153% | 173.6002 | 1736.0023 | 1.736 | 0.2604 | 0.004787% | 171.354 | 1713.5405 | 1.7135 | 0.25703 | 0.004423% | 170.5434 | 1705.434 | 1.7054 | 0.25582 | 0.004692% | 150.2546 | 1502.5455 | 1.5025 | 0.22538 | 0.005284% | 147.3865 | 1473.8647 | 1.4739 | 0.22108 | 0.005289% | 157.9954 | 1579.9535 | 1.58 | 0.23699 | 0.005829%
[7 empty] | Mesh +50 | 0.004512% |  |  |  | Mesh +50 | 0.005522% |  |  |  | Mesh +50 | 0.005687% |  |  |  | Mesh +50 | 0.005964% |  |  |  | Mesh +50 | 0.00663% |  |  |  | Mesh +50 | 0.006678% |  |  |  | Mesh +50 | 0.007382%
[7 empty] | Mesh +100 | 0.004764% |  |  |  | Mesh +100 | 0.00583% |  |  |  | Mesh +100 | 0.005771% |  |  |  | Mesh +100 | 0.006103% |  |  |  | Mesh +100 | 0.006907% |  |  |  | Mesh +100 | 0.006981% |  |  |  | Mesh +100 | 0.007693%