## Compiled Data
Compiled Data
DESCRIPTION | Ag* | Al | As | Ba | Cd | Ce | Co | Cr | Cs | Cu | Dy
RRDP-7 | ND | 4.7786 | 3.9639 | 9.5669 | ND | ND | 0.029859 | ND | 73.189 | ND | ND
DESCRIPTION | Er | Eu | Fe | Gd | Ge | Hf | Ho | La | Lu | Mg | Mn
RRDP-7 | ND | ND | 106.7597 | ND | 6.6335 | ND | ND | ND | ND | 68.6354 | 16.79
DESCRIPTION | Mo | Nb | Nd | Ni | P | Pb | Pd | Pr | Pt | Rb | Rh
RRDP-7 | 9.5444 | ND | ND | ND | ND | ND | ND | ND | ND | 205.6536 | 0.071641
DESCRIPTION | Sc | Sb | Se | Sm | Sn | Sr | Ta | Tb | Te | Th
RRDP-7 | ND | 2.1664 | ND | ND | ND | 905.0902 | ND | ND | ND | ND
DESCRIPTION | Ti | Tl | Tm | U | V | W | Yb | Zn | Zr
RRDP-7 | ND | ND | ND | ND | ND | 27.345 | ND | 0.92881 | ND

## Raw Data
Raw Data |  |  |  | 9 Be [ He ] | 24 Mg [ He ] | 27 Al [ He ] | 31 P [ No Gas ] | 45 Sc [ He ] | 47 Ti [ He ] | 51 V [ He ] | 52 Cr [ He ] | 55 Mn [ He ] | 56 Fe [ He ] | 59 Co [ He ] | 60 Ni [ He ] | 63 Cu [ He ] | 66 Zn [ He ] | 69 Ga [ He ] | 72 Ge [ He ] | 75 As [ He ] | 78 Se [ He ] | 85 Rb [ He ] | 88 Sr [ He ] | 89 Y [ He ] | 90 Zr [ He ] | 93 Nb [ He ] | 95 Mo [ He ] | 107 Ag [ He ] | 111 Cd [ He ] | 115 In [ He ] | 118 Sn [ He ] | 121 Sb [ He ] | 125 Te [ He ] | 133 Cs [ He ] | 137 Ba [ He ] | 139 La [ He ] | 140 Ce [ He ] | 141 Pr [ He ] | 146 Nd [ He ] | 147 Sm [ He ] | 151 Eu [ He ] | 157 Gd [ He ] | 159 Tb [ He ] | 163 Dy [ He ] | 165 Ho [ He ] | 166 Er [ He ] | 169 Tm [ He ] | 172 Yb [ He ] | 175 Lu [ He ] | 178 Hf [ He ] | 181 Ta [ He ] | 182 W [ He ] | 185 Re [ He ] | 202 Hg [ He ] | 205 Tl [ He ] | 208 Pb [ He ] | 209 Bi [ He ] | 232 Th [ He ] | 238 U [ He ] | 103 Rh ( ISTD ) [ No Gas ] | 103 Rh ( ISTD ) [ He ] | 193 Ir ( ISTD ) [ He ]
| Rjct | Sample Name | Comment | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | Conc. [ ppb ] | ISTD Recovery % | ISTD Recovery % | ISTD Recovery %
| FALSE | Blank |  | 0 | 0.61129 | 1.7621 | 8.1107 | -0.017768 | -0.03839 | -0.061636 | 0.018489 | 0.01996 | -0.23565 | 0.0014602 | 0.0017308 | 0.0022543 | -0.2175 | 0.023139 | -0.027179 | 0.050216 | 0.22508 | -0.29024 | -0.67331 | 0.0044117 | 0.013052 | -0.02406 | 0.0044999 | 0.0072433 | 0.028193 | 0.021929 | -0.013004 | 0.052457 | -0.15818 | -0.0088757 | 0.053708 | 0.0018025 | -0.00089539 | 0.0055459 | 0.0065982 | 0.0017901 | -0.00076003 | -0.0007033 | 0.00087507 | 0.01093 | -0.00063042 | -0.004588 | 0.001659 | 0.0045531 | 0.0010073 | -0.00075163 | 0.0023344 | -0.0048773 | 0.0021618 | -0.064659 | 0.014612 | 0.019281 | 0.02108 | 0.0014323 | -0.00019157 | 100 | 100 | 100
| FALSE | Blank |  | 0.22157 | 1.8327 | -0.46625 | 2.428 | 0.018064 | 0.027739 | -0.028609 | 0.053494 | -0.073873 | -0.21533 | 0.0040833 | 0.014876 | 0.008283 | -0.19776 | 0.035318 | -0.06443 | 0.044918 | -0.11466 | -0.27554 | -0.34618 | 0.019807 | 0.0056613 | -0.0043357 | 0.019637 | -0.00030974 | 0.0041157 | 0.0029122 | -0.086073 | 0.10467 | -0.16586 | 0.0074119 | -0.036011 | 0.0022848 | -0.0032352 | 0.0025616 | -0.0087507 | -0.0034592 | 0.0031015 | -0.0043798 | 0.0020404 | 0.0011945 | -0.0017237 | -0.0025981 | 4.4735e-05 | 0.00054516 | 0.00095441 | 0.00097528 | 0.0034674 | 0.031717 | -0.00067636 | -0.016938 | 0.0096346 | 0.0047012 | -0.0032437 | 0.0010606 | 0.0003645 | 100 | 100 | 100
| FALSE | Blank |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100
| FALSE | 10 ppb Cal |  | 8.9706 | 8.4395 | 8.9199 | 11.1682 | 10.5871 | 10.3634 | 10.1674 | 10.0308 | 10.2939 | 8.8662 | 10.2335 | 10.024 | 10.209 | 9.8499 | 10.3586 | 10.1385 | 10.1161 | 9.779 | 10.8371 | 10.058 | 10.0804 | 10.1631 | 8.6066 | 10.0891 | 10.0148 | 10.2632 | 10.1879 | 9.6384 | 10.4846 | 9.1972 | 10.4398 | 9.8665 | 10.4537 | 10.1035 | 10.2899 | 10.4573 | 10.4467 | 10.3828 | 10.4078 | 10.0889 | 10.3501 | 10.1584 | 10.4418 | 10.0066 | 10.336 | 10.5096 | 10.2299 | 6.3622 | 8.4471 | 10.4632 | 0.93001 | 9.6557 | 9.892 | 9.9997 | 9.9741 | 9.9836 | 99.1167 | 101.0399 | 98.7601
| FALSE | 50 ppb Cal |  | 54.3564 | 48.2415 | 48.3559 | 51.2627 | 50.0181 | 48.8611 | 49.0528 | 49.5533 | 49.2947 | 50.7754 | 49.1694 | 49.8323 | 49.8451 | 49.237 | 49.5211 | 48.5849 | 48.9242 | 54.8637 | 48.5898 | 49.7956 | 49.3318 | 49.3016 | 45.2105 | 49.1718 | 48.3736 | 48.6066 | 49.4633 | 48.4701 | 51.6476 | 50.6866 | 49.4103 | 48.8127 | 50.1018 | 48.447 | 48.8829 | 50.4076 | 49.8213 | 50.1665 | 49.9181 | 48.1118 | 49.8928 | 48.4403 | 50.0001 | 48.2449 | 50.0856 | 50.0199 | 49.6819 | 34.7807 | 47.7996 | 49.509 | 4.9434 | 47.6344 | 47.5121 | 48.4127 | 47.9174 | 47.9528 | 102.4312 | 100.1671 | 98.7962
| FALSE | 200 ppb Cal |  | 196.1859 | 200.0413 | 203.1331 | 198.5314 | 202.0058 | 203.3449 | 201.6676 | 201.4125 | 201.9513 | 201.2525 | 200.2998 | 201.6138 | 200.8979 | 201.1885 | 200.3848 | 201.5947 | 198.623 | 205.1067 | 200.2836 | 201.3844 | 200.9628 | 201.6175 | 187.1177 | 200.3456 | 200.4059 | 201.2243 | 201.2405 | 200.7897 | 206.9051 | 199.2103 | 201.1999 | 198.7757 | 203.0659 | 197.4779 | 199.7243 | 202.7824 | 204.0035 | 203.9876 | 203.3911 | 196.0166 | 203.2037 | 197.8061 | 204.0656 | 196.1303 | 202.8218 | 204.0297 | 204.6467 | 174.7611 | 199.7501 | 203.2201 | 19.8461 | 194.4737 | 193.9543 | 197.5559 | 196.1184 | 195.7947 | 101.1287 | 101.8399 | 100.4304
| FALSE | 1000 ppb Cal |  | 1000.5553 | 1000.0953 | 999.4664 | 1000.2189 | 999.5921 | 999.3843 | 999.7122 | 999.7395 | 999.6421 | 999.7221 | 999.9792 | 999.6854 | 999.8261 | 999.8019 | 999.9434 | 999.7504 | 1000.328 | 998.7377 | 1000.0054 | 999.7328 | 999.8401 | 999.7098 | 1002.8299 | 999.9714 | 593.6945 | 999.8222 | 999.7769 | 999.9222 | 998.5317 | 1000.1316 | 999.7851 | 1000.3056 | 999.3772 | 1000.581 | 1000.1081 | 999.4186 | 999.2038 | 999.1903 | 999.3218 | 1000.8902 | 999.3611 | 1000.5152 | 999.1825 | 1000.8616 | 999.428 | 999.188 | 999.0843 | 1005.8451 | 1000.1755 | 999.3759 | 100.0343 | 1001.227 | 1001.3346 | 1000.5682 | 1000.8807 | 1000.9436 | 99.2645 | 99.5158 | 99.818
| FALSE | Rinse |  | 0 | -17.5445 | -3.1295 | 13.5734 | 0.012438 | -0.012801 | -0.014733 | 0.15857 | -0.074254 | -2.0822 | 0.024915 | 0.0065666 | 0.035461 | -0.92407 | -0.072001 | 0.056721 | 0.032383 | 0.3648 | -3.8508 | -11.5995 | 0.0075661 | 0.039274 | 0.52572 | 0.13159 | 9.5212 | 0.078484 | 0.031897 | 0.14945 | 0.792 | -0.15678 | 0.12375 | -0.42947 | 0.016624 | 0.013285 | 0.011095 | -0.015278 | 0.02948 | 0.0078922 | 0.013564 | 0.0026231 | 0.0028004 | 0.019958 | 0.019124 | 0.01947 | 0.028371 | 0.02306 | 0.042316 | 0.022263 | 0.12881 | 0.027198 | 1.5384 | 0.61713 | -0.12045 | 0.13536 | 0.023395 | 0.026306 | 95.6227 | 94.1007 | 92.5837
| FALSE | 10 ppb QC |  | 7.6208 | 9.6189 | 9.031 | 19.9509 | 10.4847 | 9.0772 | 9.9684 | 10.2351 | 10.1346 | 8.7314 | 10.1183 | 10.2314 | 10.2516 | 9.8265 | 10.118 | 10.4383 | 9.8337 | 11.0362 | 10.0571 | 10.1468 | 10.3263 | 9.9895 | 8.9338 | 9.8626 | 10.4183 | 10.5304 | 10.1494 | 9.755 | 10.8851 | 10.3642 | 10.1997 | 10.4051 | 10.266 | 9.9432 | 10.0077 | 10.1521 | 10.299 | 10.2717 | 10.3135 | 9.9193 | 10.164 | 9.9481 | 10.3184 | 9.9466 | 10.2338 | 10.2827 | 10.0613 | 6.3334 | 8.5558 | 10.2123 | 1.6534 | 9.7119 | 9.8884 | 9.9132 | 9.9285 | 9.9632 | 98.5136 | 99.5148 | 98.9218
| FALSE | 200 ppb QC |  | 184.3899 | 197.1579 | 204.5042 | 235.0558 | 200.8935 | 199.4211 | 202.1833 | 201.0255 | 201.608 | 201.547 | 200.8275 | 201.8489 | 202.3893 | 202.1591 | 200.9931 | 201.8275 | 198.7727 | 201.1322 | 200.8836 | 203.1298 | 200.8476 | 202.5273 | 188.4469 | 202.8035 | 202.0124 | 202.0813 | 201.4205 | 201.1695 | 208.2885 | 207.5591 | 200.8285 | 200.1158 | 201.5335 | 195.7453 | 197.2647 | 202.8844 | 201.7382 | 201.8123 | 201.569 | 193.9642 | 202.0285 | 195.6215 | 201.6093 | 195.2855 | 201.5566 | 201.0151 | 202.0963 | 174.6461 | 199.1431 | 201.7068 | 20.1361 | 192.9345 | 192.6547 | 195.6549 | 194.6681 | 194.4615 | 90.2909 | 97.2613 | 97.2473
| FALSE | Rinse |  | 0.23646 | -17.9205 | -5.3857 | 22.3625 | 0.0093124 | -0.0903 | -0.045139 | 0.10095 | -0.017527 | -1.8468 | 0.0071643 | 0.0081526 | 0.0020143 | -1.0021 | -0.086193 | 0.016884 | -0.021105 | -0.48252 | -3.9793 | -11.633 | -0.0049644 | 0.030366 | 0.31178 | 0.088763 | 0.1165 | 0.029162 | 0.00076423 | 0.020682 | 0.26828 | -0.24419 | 0.10196 | -0.45349 | 0.00093484 | -0.0034752 | -0.0052417 | -0.02522 | 0.0063441 | -0.0046716 | 0.0028428 | -0.012492 | -0.013686 | 0.0034091 | 0.004419 | 0.0096102 | 0.0077664 | 0.010196 | 0.010182 | -0.0010266 | -0.035389 | 0.014388 | 0.99212 | 0.39289 | -0.20449 | 0.037746 | 0.007785 | 0.012377 | 87.6469 | 92.2415 | 91.6221
| FALSE | Blank |  | 0 | -0.60256 | -0.20744 | 7.5333 | -0.03115 | -0.021885 | -0.045654 | 0.091056 | -0.039599 | -0.22449 | 0.0017086 | -0.031699 | 0.012453 | -0.071088 | -0.026181 | -0.064173 | 0.047931 | -0.11257 | -0.16742 | 0.028386 | 0.010142 | 0.019667 | 0.18845 | 0.050995 | 0.028668 | 0.007716 | -0.0079281 | 0.041474 | 0.26788 | -0.076752 | 0.057529 | 0.088018 | 0.0034965 | -0.0026893 | 0.0023721 | -0.0069202 | 0.00012908 | 0.0018155 | 0.001813 | -0.0011253 | -0.0018627 | 0.00010898 | -0.0048131 | 0.00090479 | -0.0003118 | 0.0006909 | 0.0079051 | 0.0048383 | 0.081407 | 0.0023523 | 0.56841 | 0.093703 | -0.012134 | 0.014191 | 0.0020101 | -0.0013027 | 101.768 | 98.0365 | 98.9759
| FALSE | GG2-100E-1 | 100 | 0 | -1.9691 | -2.8235 | 4.7576 | 0.065031 | -0.019835 | -0.12303 | -0.1054 | -0.13086 | -2.9362 | 0.009648 | -0.01754 | 0.053372 | 1.9161 | -0.014098 | 0.33601 | -0.0007722 | -0.58898 | -1.6751 | 4.1479 | 0.01518 | 0.0018759 | -0.12162 | -0.05149 | -0.044645 | -0.00503 | -0.0046572 | -0.13131 | -0.0098442 | -0.33663 | 0.14851 | 0.22266 | -0.019828 | -0.020554 | -0.0277 | -0.047228 | -0.0074392 | -0.030758 | -0.010672 | -0.034811 | -0.038892 | -0.0093562 | -0.011042 | -0.00779 | -0.0072688 | -0.007683 | -0.014036 | -0.019718 | -0.24141 | -0.0064973 | 1.0654 | 0.0031813 | 0.68515 | -0.0055067 | -0.02161 | -0.0038968 | 107.4492 | 107.7759 | 105.4114
| FALSE | GG2-100E-5 | 100 | 0.20388 | 3.2632 | -3.8537 | 12.2778 | 0.011275 | -0.10962 | -0.11838 | -0.091474 | -0.10369 | -3.0069 | 0.019451 | 0.019092 | 0.055267 | 1.6751 | 0.015842 | 0.25247 | -0.034141 | -0.18696 | -0.516 | 13.4098 | 0.015865 | 0.0081597 | -0.18196 | -0.050974 | -0.045515 | 0.015976 | -0.020687 | -0.11814 | -0.0209 | -0.17615 | 0.11904 | 0.47153 | -0.018058 | -0.01863 | -0.02458 | -0.04609 | -0.0096084 | -0.031767 | -0.0095061 | -0.034 | -0.037017 | -0.0096415 | -0.011313 | -0.0072445 | -0.0072167 | -0.0082557 | -0.01255 | -0.020809 | -0.26389 | -0.0071027 | 0.64987 | -0.030097 | 0.71668 | -0.016593 | -0.02153 | -0.0045818 | 104.9611 | 105.1411 | 100.9438
| FALSE | GG2-100E-10 | 100 | 0 | 2.0807 | -1.3794 | 12.6795 | 0.027472 | 0.053378 | -0.11086 | -0.11534 | -0.13913 | -2.8319 | 0.052749 | -0.0081701 | 0.072498 | 1.8003 | 0.017609 | 0.25838 | -0.029572 | -0.58447 | -0.72634 | 13.2192 | 0.023755 | 0.0061619 | -0.19173 | -0.053925 | -0.057445 | -0.0049237 | -0.022454 | -0.10765 | 0.00018423 | -0.33663 | 0.092751 | 0.41086 | -0.01422 | -0.01747 | -0.024042 | -0.043011 | -0.0037356 | -0.032481 | -0.0112 | -0.031704 | -0.038839 | -0.0093278 | -0.011318 | -0.0076039 | -0.0076205 | -0.0070668 | -0.011906 | -0.021006 | -0.26706 | -0.0056141 | 0.57587 | -0.037927 | 0.68025 | -0.030229 | -0.021537 | -0.0041161 | 106.2338 | 107.1007 | 101.5432
| FALSE | GG2-100E-15 | 100 | 0 | 4.3743 | -2.8123 | 17.6426 | 0.07 | -0.063458 | -0.13506 | -0.057874 | -0.011148 | -2.7629 | 0.058966 | 0.027649 | 0.082376 | 1.8323 | 0.037073 | 0.25072 | -0.02609 | 0.32642 | -0.66412 | 13.9578 | 0.021208 | 0.0028737 | -0.20698 | -0.052442 | -0.049268 | -0.004635 | -0.024941 | -0.1149 | -0.01548 | -0.33663 | 0.11995 | 0.44462 | -0.015002 | -0.016809 | -0.023162 | -0.042951 | -0.0072296 | -0.028336 | -0.0095107 | -0.032701 | -0.036527 | -0.0096348 | -0.010711 | -0.0079558 | -0.0080122 | -0.0076555 | -0.013604 | -0.020949 | -0.26761 | -0.0083791 | 0.48985 | -0.041789 | 0.68692 | -0.037966 | -0.021436 | -0.004039 | 103.1693 | 105.6741 | 100.2296
| FALSE | GG2-100E-20 | 100 | 0 | 2.5858 | -3.5236 | 20.3903 | 0.065014 | -0.13412 | -0.10794 | 0.0010452 | -0.080897 | -2.694 | 0.059165 | 0.17247 | 0.10588 | 1.6067 | 0.020134 | 0.30373 | -0.044896 | -0.30661 | -0.58656 | 13.5969 | 0.014872 | 0.010773 | -0.21305 | -0.064127 | -0.055889 | -0.0080738 | -0.025476 | -0.12547 | -0.044387 | -0.33663 | 0.11638 | 0.47126 | -0.01194 | -0.013627 | -0.025346 | -0.04189 | -0.0036215 | -0.028971 | -0.0095414 | -0.030226 | -0.034165 | -0.0094222 | -0.010401 | -0.0073286 | -0.0075901 | -0.0080575 | -0.013955 | -0.021476 | -0.26919 | -0.0068139 | 0.39682 | -0.047895 | 0.69491 | -0.049145 | -0.020781 | -0.0037707 | 103.01 | 105.1641 | 99.8642
| FALSE | RRDP-7 | 1 | 0 | 68.6354 | 4.7786 | -3.1093 | -0.035363 | -0.10345 | -0.1318 | -0.29816 | 16.79 | 106.7597 | 0.029859 | -0.032075 | -0.14192 | 0.92881 | 3.1475 | 6.6335 | 3.9639 | -0.2024 | 205.6536 | 905.0902 | -0.02688 | 0.095466 | 0.056532 | 9.5444 | -0.05259 | -0.016209 | 0.011418 | -0.13192 | 2.1664 | -0.33663 | 73.189 | 9.5669 | -0.0021607 | -0.00088016 | 0.0046211 | -0.026386 | 0.013331 | -0.011301 | 0.014284 | -0.016555 | -0.022098 | 0.0042205 | -0.0031578 | 0.001759 | 0.0029407 | -0.00088673 | 0.11093 | 0.0023245 | 27.345 | -0.0016526 | 0.0971 | -0.018317 | -0.2525 | -0.046268 | 0.0028159 | 0.029728 | 124.9925 | 132.3434 | 127.1477
| FALSE | Rinse |  | 0 | -17.8455 | -5.0094 | 16.7894 | -0.044943 | -0.12404 | -0.037097 | 0.4596 | -0.0088641 | -0.36106 | 0.007717 | 0.021455 | 0.07774 | -1.141 | -0.10804 | -0.070798 | -0.049768 | -0.35073 | -4.0827 | -11.6378 | 0.015457 | 0.0083999 | -0.086414 | -0.018816 | 0.088705 | 0.0060697 | 0.012857 | -0.079771 | 0.062746 | -0.33663 | 0.03453 | -0.45203 | -0.015132 | -0.015654 | -0.01905 | -0.029751 | -0.0090675 | -0.021215 | -0.004966 | -0.022555 | -0.028686 | -0.005716 | -0.0059052 | -0.0031484 | -0.0018748 | -0.0027393 | -0.008313 | -0.013827 | -0.17757 | 0.0041865 | 0.40486 | 0.050965 | -0.24607 | -0.017827 | -0.013419 | 0.0012548 | 81.955 | 78.025 | 80.4407
| FALSE | 10 ppb QC |  | 9.8615 | 7.5351 | 7.5897 | 14.0442 | 9.7866 | 9.4786 | 9.5002 | 10.3609 | 9.6191 | 9.8615 | 10.0295 | 9.8141 | 10.0064 | 9.9333 | 9.9012 | 10.035 | 9.3671 | 8.8129 | 9.4898 | 9.6707 | 9.956 | 9.8503 | 8.6025 | 10.0139 | 10.0425 | 10.034 | 10.0291 | 9.5479 | 10.4909 | 8.7274 | 9.9128 | 10.0912 | 9.8127 | 9.4549 | 9.4887 | 9.6156 | 9.8819 | 9.7859 | 10.0176 | 9.4411 | 9.8754 | 9.6705 | 10.0026 | 9.605 | 10.0894 | 9.6891 | 9.6328 | 6.1913 | 8.4131 | 10.061 | 1.1498 | 9.3898 | 9.6391 | 9.5638 | 9.6593 | 9.7026 | 83.5009 | 85.0684 | 88.6344
| FALSE | 200 ppb QC |  | 183.968 | 182.3645 | 186.4474 | 168.3035 | 193.9577 | 190.9718 | 195.6585 | 196.3183 | 193.681 | 194.7998 | 198.2342 | 198.1369 | 199.14 | 194.9277 | 192.3019 | 199.5551 | 193.6474 | 184.3535 | 194.4214 | 195.8366 | 196.2918 | 199.2592 | 185.6612 | 202.0677 | 203.2603 | 201.6249 | 198.6318 | 201.3641 | 205.808 | 192.7498 | 195.6492 | 197.6182 | 193.6906 | 187.5389 | 186.8268 | 193.3898 | 192.4695 | 193.4397 | 196.6039 | 186.267 | 195.4934 | 189.791 | 195.4807 | 190.1109 | 196.7267 | 191.6472 | 196.2725 | 172.0684 | 199.1985 | 197.7047 | 19.5214 | 190.1147 | 188.7705 | 191.3789 | 190.5376 | 191.2327 | 91.331 | 87.4881 | 91.1977
| FALSE | Rinse |  | 0.25691 | -18.0851 | -2.7751 | -2.333 | 0.030032 | 0.019751 | -0.054394 | 0.4357 | -0.015086 | -0.86117 | 0.015144 | 0.055722 | 0.044345 | -1.1045 | -0.081322 | -0.041436 | -0.017899 | -0.24653 | -3.9867 | -11.64 | -0.0043943 | 0.029177 | 0.31699 | 0.037759 | 0.085054 | 0.017168 | 0.0083315 | -0.0061551 | 0.089383 | -0.33663 | 0.041556 | -0.42226 | -0.0052541 | -0.010415 | -0.0094359 | -0.032227 | 0.0019422 | -0.016834 | 0.0011248 | -0.017123 | -0.021553 | 0.00075689 | 0.0018619 | 0.0028381 | 0.0018125 | 0.00085307 | 0.010188 | -0.0032042 | -0.022347 | 0.0086631 | 0.60773 | 0.40123 | -0.24419 | -0.030449 | 0.0021686 | 0.0058974 | 85.1742 | 83.3689 | 86.2305
| FALSE | Blank |  | 0.24167 | -1.8293 | -2.1319 | 1.9026 | -0.14169 | -0.054866 | -0.060326 | 0.33895 | 0.086777 | 0.9019 | 0.0069443 | 0.0066815 | 0.0089399 | -0.30223 | 0.0067362 | -0.052441 | 0.023547 | -0.44949 | -0.35362 | -0.38984 | 0.0048315 | 0.025851 | 0.13362 | 0.028481 | 0.033781 | 0.0067395 | -0.0062518 | 0.065258 | 0.15676 | 0.045979 | 0.052163 | 0.023874 | 0.0028801 | -0.0011331 | -0.0011665 | -0.020732 | -0.0068276 | 7.8045e-05 | 0.0027421 | -0.0015684 | 0.0031706 | -9.6461e-05 | 0.0010294 | 0.00089523 | 0.0011605 | 0.0020656 | 0.0060087 | 0.0048374 | 0.058908 | -0.0010026 | 0.33347 | 0.065437 | -0.032134 | -0.023969 | 0.0031275 | 0.00060873 | 83.5123 | 88.4485 | 91.8894
Sample RRDP-7 highlighted in red is the only sample concerned with the Geothermal field sample. All other samples are not relevant to this sample.

## Calibration Summary
Calibration Summary
Tune Step | Mass | Name | R | a | b (blank) | DL | BEC | Units
3 | 9 | Be | 0.99998 | 5.0143e-05 | 0 | 0 | 0 | ppb
3 | 24 | Mg | 1 | 0.00040531 | 0.0077324 | 1.8061 | 19.0778 | ppb
3 | 27 | Al | 0.99999 | 9.6122e-05 | 0.0012453 | 2.8293 | 12.9557 | ppb
1 | 31 | P | 1 | 0.0012094 | 0.13314 | 2.9471 | 110.0912 | ppb
3 | 45 | Sc | 1 | 0.0015396 | 0.00029142 | 0.24567 | 0.18928 | ppb
3 | 47 | Ti | 0.99999 | 0.00014238 | 3.6294e-05 | 0.58438 | 0.2549 | ppb
3 | 51 | V | 1 | 0.0068927 | 0.0013102 | 0.04991 | 0.19009 | ppb
3 | 52 | Cr | 1 | 0.0091832 | 0.010445 | 0.15789 | 1.1374 | ppb
3 | 55 | Mn | 1 | 0.0030514 | 0.001193 | 0.1952 | 0.39098 | ppb
3 | 56 | Fe | 1 | 0.0066413 | 0.060771 | 0.49749 | 9.1504 | ppb
3 | 59 | Co | 1 | 0.018143 | 0.0003883 | 0.03163 | 0.021402 | ppb
3 | 60 | Ni | 1 | 0.005311 | 0.001692 | 0.14413 | 0.31859 | ppb
3 | 63 | Cu | 1 | 0.01575 | 0.0053709 | 0.081205 | 0.34101 | ppb
3 | 66 | Zn | 1 | 0.0016267 | 0.002148 | 0.79399 | 1.3204 | ppb
3 | 69 | Ga | 1 | 0.0022963 | 0.00030331 | 0.088808 | 0.13209 | ppb
3 | 72 | Ge | 1 | 0.0016447 | 0.00017189 | 0.29856 | 0.10451 | ppb
3 | 75 | As | 1 | 0.0012652 | 0.00010488 | 0.067717 | 0.082901 | ppb
3 | 78 | Se | 0.99998 | 7.9856e-05 | 9.7296e-05 | 1.1807 | 1.2184 | ppb
3 | 85 | Rb | 1 | 0.0027259 | 0.01174 | 0.30263 | 4.3069 | ppb
3 | 88 | Sr | 1 | 0.0037084 | 0.043269 | 0.52351 | 11.6679 | ppb
3 | 89 | Y | 1 | 0.011042 | 0.00060724 | 0.023827 | 0.054991 | ppb
3 | 90 | Zr | 1 | 0.011901 | 0.00010858 | 0.012688 | 0.0091239 | ppb
3 | 93 | Nb | 0.99992 | 0.03084 | 0.0093326 | 0.0809 | 0.30261 | ppb
3 | 95 | Mo | 1 | 0.0078028 | 0.00056237 | 0.067531 | 0.072072 | ppb
3 | 107 | Ag | 0.99996 | 0.028694 | 0.0022755 | 0.017206 | 0.079304 | ppb
3 | 111 | Cd | 1 | 0.0029854 | 6.5271e-05 | 0.033407 | 0.021864 | ppb
3 | 115 | In | 1 | 0.015066 | 0.00068251 | 0.023531 | 0.0453 | ppb
3 | 118 | Sn | 1 | 0.0056748 | 0.0012581 | 0.16194 | 0.2217 | ppb
3 | 121 | Sb | 0.99997 | 0.0079132 | 0.0015049 | 0.052378 | 0.19018 | ppb
3 | 125 | Te | 1 | 0.00012825 | 4.3175e-05 | 0.42285 | 0.33663 | ppb
3 | 133 | Cs | 1 | 0.011898 | 0.00072697 | 0.04291 | 0.0611 | ppb
3 | 137 | Ba | 1 | 0.0028059 | 0.0013661 | 0.37044 | 0.48687 | ppb
3 | 139 | La | 0.99999 | 0.03121 | 0.00074847 | 0.0030018 | 0.023982 | ppb
3 | 140 | Ce | 1 | 0.04113 | 0.0011799 | 0.010081 | 0.028688 | ppb
3 | 141 | Pr | 1 | 0.036059 | 0.001108 | 0.016476 | 0.030728 | ppb
3 | 146 | Nd | 1 | 0.0068756 | 0.00033836 | 0.020106 | 0.049212 | ppb
3 | 147 | Sm | 0.99999 | 0.0059972 | 7.1989e-05 | 0.024968 | 0.012004 | ppb
3 | 151 | Eu | 0.99999 | 0.021091 | 0.0008056 | 0.023301 | 0.038196 | ppb
3 | 157 | Gd | 0.99999 | 0.012869 | 0.00014412 | 0.016267 | 0.0112 | ppb
3 | 159 | Tb | 0.99999 | 0.067801 | 0.0024968 | 0.011821 | 0.036826 | ppb
3 | 163 | Dy | 0.99999 | 0.015753 | 0.00064005 | 0.032713 | 0.04063 | ppb
3 | 165 | Ho | 1 | 0.06943 | 0.00069057 | 0.005534 | 0.0099462 | ppb
3 | 166 | Er | 0.99999 | 0.023519 | 0.00027334 | 0.0067781 | 0.011622 | ppb
3 | 169 | Tm | 0.99999 | 0.080547 | 0.00064794 | 0.002977 | 0.0080443 | ppb
3 | 172 | Yb | 1 | 0.017977 | 0.0001512 | 0.0072722 | 0.0084109 | ppb
3 | 175 | Lu | 0.99999 | 0.035763 | 0.00029525 | 0.005332 | 0.0082557 | ppb
3 | 178 | Hf | 0.99999 | 0.020645 | 0.0003239 | 0.010895 | 0.015689 | ppb
3 | 181 | Ta | 0.99967 | 0.12095 | 0.0031016 | 0.0032118 | 0.025643 | ppb
3 | 182 | W | 1 | 0.031279 | 0.0091829 | 0.048465 | 0.29358 | ppb
3 | 185 | Re | 0.99999 | 0.032661 | 0.00041011 | 0.0050934 | 0.012556 | ppb
3 | 202 | Hg | 1 | 0.011006 | 0.0076989 | 0.06184 | 0.69951 | ppb
3 | 205 | Tl | 0.99998 | 0.062047 | 0.0063775 | 0.034795 | 0.10278 | ppb
3 | 208 | Pb | 0.99998 | 0.044687 | 0.014402 | 0.010843 | 0.32228 | ppb
3 | 209 | Bi | 1 | 0.061595 | 0.010198 | 0.0098129 | 0.16557 | ppb
3 | 232 | Th | 0.99999 | 0.099067 | 0.0023322 | 0.0049331 | 0.023542 | ppb
3 | 238 | U | 0.99999 | 0.10689 | 0.00053934 | 0.0041719 | 0.0050456 | ppb
1 | 103 | Rh | [5 empty] | ppb
3 | 103 | Rh | [5 empty] | ppb
3 | 193 | Ir | [5 empty] | ppb