## All Well Data (Mod from Tablet)
Name | Lat | Long | Altitude (m) | GE Elevation (m) | Time | Description | Attachments | UTM (NAD 83)
WSMR SW-20 | 32.4126 | -106.4859 | 1323.98 | 1329 | 2016-11-18T16:32:51Z | WSMR; supply well; logged 18 Nov 16 |  | 13S 0360275 3587148
WSMR SMW-1 | 32.3681 | -106.4489 | 1233 | 1245 | 2016-11-18T21:15:53Z | WSMR; monitor well; logged 18 Nov 16 |  | 13S 0363687 3582161
Cox 3 (Government Well) | 32.434 | -106.5391 | 1545 | 1569 | 2016-11-20T23:27:09Z | WSMR Area; private supply well; sampled 20 Nov 16 from water tank since solar pump had stopped, resampled 15 Dec 16 from inlet |  | 13S 0355304 3589590
Cox 2 (Carl's Well) | 32.427 | -106.5117 | 1419.01 | 1445 | 2016-11-20T22:47:29Z | WSMR Area; private supply well; sampled 20 Nov 16 |  | 13S 0357872 3588771
NASA 100-E-261 | 32.5008 | -106.6004 | 1489 | 1495 | 2016-12-05T21:41:47Z | NASA; monitor well; sampled 5 Dec 16 |  | 13S 0349652 3597079
NASA 100-F-358 | 32.4898 | -106.596 | 1511 | 1535 | 2016-12-06T16:13:39Z | NASA; monitor well; logged 6 Dec 16; sampled 7 Dec 16 |  | 13S 0350049 3595845
NASA100-G-223 | 32.5077 | -106.5956 |  | 1503 | 2016-12-06T23:52:12Z | NASA; monitor well; logged 6 Dec 16; sampled 8 Dec 16 |  | 13S 0350116 3597836
Dug Well 2 | 32.4895 | -106.5614 |  | 1709 | 2016-12-07T19:53:44Z | NASA Area; old dug well with windmill; about 20 feet deep with groundwater at least 2 feet deep |  | 13S 0353295 3595773
Dug Well 1 | 32.4859 | -106.5683 |  | 1668 | 2016-12-07T20:06:42Z | NASA Area; old dug well with windmill; about 20 feet deep and dry |  | 13S 0352643 3595385
NASA 100-C-365 | 32.4978 | -106.6105 |  | 1470 | 2016-12-08T02:43:14Z | NASA; monitor well; sampled 7 Dec 16 |  | 13S 0348701 3596753
NASA BLM-13 | 32.5145 | -106.6254 | 1401.77 | 1426 | 2016-12-08T17:28:51Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0347325 3598630
NASA BW-5-295 | 32.5315 | -106.6133 | 1439.98 | 1470 | 2016-12-09T00:18:53Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0348488 3600499
NASA 300-D-153 | 32.5293 | -106.584 |  | 1560 | 2016-12-09T02:13:41Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0351240 3600216
WSMR NW30-1 | 32.8673 | -106.5055 | 1235 | 1261 | 2016-12-09T18:11:31Z | WSMR; supply well; old pump equipment removed; currently operating with towed generator set; currently unable to log or sample |  | 13S 0359144 3637582
WSMR RG Well | 32.9754 | -106.519 | 1178 | 1203 | 2016-12-09T18:30:03Z | WSMR; logged 10 Dec 16; shallow; pumped dry at 4 gallons of dirty grey water; no apparent recharge; not suitable for sampling and thermal data not useful |  | 13S 0358052 3649588
WSMR Unnamed Construction Well | 33.1582 | -106.4872 | 1198 | 1225 | 2016-12-09T18:58:37Z | WSMR; construction well; logged 9 Dec 16 |  | 13S 0361313 3669805
WSMR Bairds Ranch Well | 32.8104 | -106.501 | 1236 | 1262 | 2016-12-09T23:46:29Z | WSMR; old ranch well with interesting mechanical pump in place; interesting ranch ruins are present; unable to log or sample |  | 13S 0359481 3631268
WSMR MAR-1SW | 32.6517 | -106.4614 | 1240 | 1262 | 2016-12-10T18:24:47Z | WSMR; supply well; well being rehabilitated; logged through drill pipe; logged 10 dec 16 |  | 13S 0362938 3613621
Old Well with Windmill | 32.8826 | -106.4917 | 1189 | 1215 | 2016-12-10T22:19:21Z | WSMR; old well with 4-in casing and windmill; plugged with dirt (?) near surface two photos on tablet; unable to log or sample |  | 13S 0360461 3639262
WSMR SMR-1A | 32.4842 | -106.443 |  | 1275 | 2016-12-11T19:01:07Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0364420 3595024
WSMR SMR-1 | 32.484 | -106.4427 |  | 1274 | 2016-12-11T19:04:46Z | WSMR; supply well; submersible pump installed; currently unable to log or sample |  | 13S 0364441 3595006
WSMR SMR-1 Test | 32.4841 | -106.4426 |  | 1273 | 2016-12-11T19:10:54Z | WSMR; test well; logged 11 Dec 16 |  | 13S 0364451 3595008
WSMR MAR-4SW | 32.6448 | -106.4701 |  | 1288 | 2016-12-11T19:17:33Z | WSMR; supply well; well damaged by lightning; currently unable to log or sample |  | 13S 0362115 3612870
WSMR MAR-3SW | 32.6463 | -106.467 |  | 1280 | 2016-12-11T19:19:59Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0362412 3613028
WSMR MAR-2SW | 32.6492 | -106.4602 |  | 1263 | 2016-12-11T19:23:37Z | WSMR; supply well; well had been powered off; repowered; motor, and supposedly pump, running, but no production; unable to sample or log on 11 Dec 16 |  | 13S 0363046 3613340
WSMR Gilliland North Well | 33.3846 | -106.3826 |  |  | 2016-12-02T22:29:35Z | WSMR; could not locate (coordinates from other database); ranch ruins, stock tank, and evidence of other water transport equipment are present |  | 13S 0371402 3694779
WSMR SW-17 | 32.3964 | -106.4838 |  | 1303 | 2016-12-11T22:08:54Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0360448 3585347
Cox 4 (North Sand Well) | 32.3833 | -106.5167 | 1346.98 | 1370 | 2016-12-11T23:27:15Z | WSMR Area; private supply well; solar pumped; sampled 11 Dec 16 |  | 13S 0357331 3583929
Cox 5 (South House Well) | 32.3822 | -106.5183 |  | 1389 | 2016-12-12T00:37:10Z | WSMR Area; private supply well; electric pumped; sampled 11 Dec 16 |  | 13S 0357178 3583818
Cox 6 (North House Well) | 32.383 | -106.5184 |  | 1388 | 2016-12-12T02:23:09Z | WSMR Area; private supply well; sampled 11 Dec 16. |  | 13S 0357174 3583908
Stallion Range Control SC-2 | 33.8181 | -106.6546 |  | 1511 | 2016-12-12T18:19:45Z | WSMR (Stallion Range Control); supply well; sampled 12 Dec 16 |  | 13S 0346871 3743222
Stallion Range Control Ted Well | 33.4875 | -106.6855 |  | 1430 | 2016-12-12T19:18:31Z | WSMR (Stallion Range Control); also called RR-5; logged 12 Dec 16 |  | 13S 0343409 3706608
WSMR Murry Well | 33.57 | -106.45 | 1536 | 1558 | 2016-12-12T21:37:04Z | WSMR (Stallion Range Control); supply well; submersible pump in place; has not run for long time; unable to log or sample |  | 13S 0365419 3715418
WSMR ORC | 33.4996 | -106.1726 | 1354 | 1379 | 2016-12-12T22:33:19Z | WSMR (Oscura Range Control); supply well; pumps to holding pond then pumps to truck fill; sampled 12 Dec 16 |  | 13S 0391081 3707293
WSMR Herbie Well | 33.1784 | -106.5231 | 1245 | 1270 | 2016-12-13T00:56:35Z | WSMR; supply well; no outlet prior to tank to sample from; sampled from the tank outlet 12 Dec 16 |  | 13S 0357995 3672096
NASA 300-B-166 | 32.5258 | -106.5981 | 1479 | 1506 | 2016-12-13T17:56:13Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349913 3599843
NASA 700-A-253 | 32.5387 | -106.6011 |  | 1498 | 2016-12-13T21:55:18Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349648 3601283
Cox 7 (McAlester) | 32.3709 | -106.5455 | 1570.98 | 1589 | 2016-12-14T18:11:24Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354599 3582601
Cox 8 (Garfield) | 32.3907 | -106.5478 |  | 1480 | 2016-12-14T19:19:43Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354422 3584796
Cox 9 (Cordova) | 32.4008 | -106.5442 | 1446 | 1474 | 2016-12-14T20:28:04Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354770 3585916
Cox 10 (Rattle Snake) | 32.4203 | -106.5642 | 1656 | 1684 | 2016-12-14T21:28:57Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0352920 3588105
FB-WSMR SCMW-2 | 32.2981 | -106.4206 |  | 1229 | 2016-12-14T23:34:43Z | WSMR-Fort Bliss; monitor well on Fort Bliss property; maintained/sampled by WSMR; logged 14 Dec 16 |  | 13S 0366246 3574361
Cox 1 (Rock Spring) | 32.359 | -106.5284 | 1580.24 | 1615 | 2016-11-20T20:01:51Z | WSMR Area; private supply well; sampled 14 Dec 16 (30 gpm solar powered pump, stock tank, and trough) |  | 13S 0356196 3581258

## Logged Wells
Name | Lat | Long | Altitude (m) | GE Elevation (m) | Time | Description | Attachments | UTM (NAD 83)
WSMR SW-20 | 32.4126 | -106.4859 | 1323.98 | 1329 | 2016-11-18T16:32:51Z | WSMR; supply well; logged 18 Nov 16 |  | 13S 0360275 3587148
WSMR SMW-1 | 32.3681 | -106.4489 | 1233 | 1245 | 2016-11-18T21:15:53Z | WSMR; monitor well; logged 18 Nov 16 |  | 13S 0363687 3582161
NASA 100-F-358 | 32.4898 | -106.596 | 1511 | 1535 | 2016-12-06T16:13:39Z | NASA; monitor well; logged 6 Dec 16; sampled 7 Dec 16 |  | 13S 0350049 3595845
NASA100-G-223 | 32.5077 | -106.5956 |  | 1503 | 2016-12-06T23:52:12Z | NASA; monitor well; logged 6 Dec 16; sampled 8 Dec 16 |  | 13S 0350116 3597836
WSMR Unnamed Construction Well | 33.1582 | -106.4872 | 1198 | 1225 | 2016-12-09T18:58:37Z | WSMR; construction well; logged 9 Dec 16 |  | 13S 0361313 3669805
WSMR MAR-1SW | 32.6517 | -106.4614 | 1240 | 1262 | 2016-12-10T18:24:47Z | WSMR; supply well; well being rehabilitated; logged through drill pipe; logged 10 dec 16 |  | 13S 0362938 3613621
WSMR SMR-1 Test | 32.4841 | -106.4426 |  | 1273 | 2016-12-11T19:10:54Z | WSMR; test well; logged 11 Dec 16 |  | 13S 0364451 3595008
Stallion Range Control Ted Well | 33.4875 | -106.6855 |  | 1430 | 2016-12-12T19:18:31Z | WSMR (Stallion Range Control); also called RR-5; logged 12 Dec 16 |  | 13S 0343409 3706608
NASA 300-B-166 | 32.5258 | -106.5981 | 1479 | 1506 | 2016-12-13T17:56:13Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349913 3599843
NASA 700-A-253 | 32.5387 | -106.6011 |  | 1498 | 2016-12-13T21:55:18Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349648 3601283
FB-WSMR SCMW-2 | 32.2981 | -106.4206 |  | 1229 | 2016-12-14T23:34:43Z | WSMR-Fort Bliss; monitor well on Fort Bliss property; maintained/sampled by WSMR; logged 14 Dec 16 |  | 13S 0366246 3574361

## Sampled Wells
Name | Lat | Long | Altitude (m) | GE Elevation (m) | Time | Description | Attachments | UTM (NAD 83) | UTM_E | UTM_N
Cox 3 (Government Well) | 32.434 | -106.5391 | 1545 | 1569 | 2016-11-20T23:27:09Z | WSMR Area; private supply well; sampled 20 Nov 16 from water tank since solar pump had stopped, resampled 15 Dec 16 from inlet |  | 13S 0355304 3589590 | 355304 | 3589590
Cox 2 (Carl's Well) | 32.427 | -106.5117 | 1419.01 | 1445 | 2016-11-20T22:47:29Z | WSMR Area; private supply well; sampled 20 Nov 16 |  | 13S 0357872 3588771 | 357872 | 3588771
NASA 100-E-261 | 32.5008 | -106.6004 | 1489 | 1495 | 2016-12-05T21:41:47Z | NASA; monitor well; sampled 5 Dec 16 |  | 13S 0349652 3597079 | 349652 | 3597079
NASA 100-F-358 | 32.4898 | -106.596 | 1511 | 1535 | 2016-12-06T16:13:39Z | NASA; monitor well; logged 6 Dec 16; sampled 7 Dec 16 |  | 13S 0350049 3595845 | 350049 | 3595845
NASA100-G-223 | 32.5077 | -106.5956 |  | 1503 | 2016-12-06T23:52:12Z | NASA; monitor well; logged 6 Dec 16; sampled 8 Dec 16 |  | 13S 0350116 3597836 | 350116 | 3597836
NASA 100-C-365 | 32.4978 | -106.6105 |  | 1470 | 2016-12-08T02:43:14Z | NASA; monitor well; sampled 7 Dec 16 |  | 13S 0348701 3596753 | 348701 | 3596753
NASA BLM-13 | 32.5145 | -106.6254 | 1401.77 | 1426 | 2016-12-08T17:28:51Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0347325 3598630 | 347325 | 3598630
NASA BW-5-295 | 32.5315 | -106.6133 | 1439.98 | 1470 | 2016-12-09T00:18:53Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0348488 3600499 | 348488 | 3600499
NASA 300-D-153 | 32.5293 | -106.584 |  | 1560 | 2016-12-09T02:13:41Z | NASA; monitor well; sampled 8 Dec 16 |  | 13S 0351240 3600216 | 351240 | 3600216
WSMR SMR-1A | 32.4842 | -106.443 |  | 1275 | 2016-12-11T19:01:07Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0364420 3595024 | 364420 | 3595024
WSMR MAR-3SW | 32.6463 | -106.467 |  | 1280 | 2016-12-11T19:19:59Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0362412 3613028 | 362412 | 3613028
WSMR SW-17 | 32.3964 | -106.4838 |  | 1303 | 2016-12-11T22:08:54Z | WSMR; supply well; sampled 11 Dec 16 |  | 13S 0360448 3585347 | 360448 | 3585347
Cox 4 (North Sand Well) | 32.3833 | -106.5167 | 1346.98 | 1370 | 2016-12-11T23:27:15Z | WSMR Area; private supply well; solar pumped; sampled 11 Dec 16 |  | 13S 0357331 3583929 | 357331 | 3583929
Cox 5 (South House Well) | 32.3822 | -106.5183 |  | 1389 | 2016-12-12T00:37:10Z | WSMR Area; private supply well; electric pumped; sampled 11 Dec 16 |  | 13S 0357178 3583818 | 357178 | 3583818
Cox 6 (North House Well) | 32.383 | -106.5184 |  | 1388 | 2016-12-12T02:23:09Z | WSMR Area; private supply well; sampled 11 Dec 16. |  | 13S 0357174 3583908 | 357174 | 3583908
Stallion Range Control SC-2 | 33.8181 | -106.6546 |  | 1511 | 2016-12-12T18:19:45Z | WSMR (Stallion Range Control); supply well; sampled 12 Dec 16 |  | 13S 0346871 3743222 | 346871 | 3743222
WSMR ORC | 33.4996 | -106.1726 | 1354 | 1379 | 2016-12-12T22:33:19Z | WSMR (Oscura Range Control); supply well; pumps to holding pond then pumps to truck fill; sampled 12 Dec 16 |  | 13S 0391081 3707293 | 391081 | 3707293
WSMR Herbie Well | 33.1784 | -106.5231 | 1245 | 1270 | 2016-12-13T00:56:35Z | WSMR; supply well; no outlet prior to tank to sample from; sampled from the tank outlet 12 Dec 16 |  | 13S 0357995 3672096 | 357995 | 3672096
NASA 300-B-166 | 32.5258 | -106.5981 | 1479 | 1506 | 2016-12-13T17:56:13Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349913 3599843 | 349913 | 3599843
NASA 700-A-253 | 32.5387 | -106.6011 |  | 1498 | 2016-12-13T21:55:18Z | NASA; monitor well; logged and sampled 13 Dec 16 |  | 13S 0349648 3601283 | 349648 | 3601283
Cox 7 (McAlester) | 32.3709 | -106.5455 | 1570.98 | 1589 | 2016-12-14T18:11:24Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354599 3582601 | 354599 | 3582601
Cox 8 (Garfield) | 32.3907 | -106.5478 |  | 1480 | 2016-12-14T19:19:43Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354422 3584796 | 354422 | 3584796
Cox 9 (Cordova) | 32.4008 | -106.5442 | 1446 | 1474 | 2016-12-14T20:28:04Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0354770 3585916 | 354770 | 3585916
Cox 10 (Rattle Snake) | 32.4203 | -106.5642 | 1656 | 1684 | 2016-12-14T21:28:57Z | WSMR Area; private supply well; sampled 14 Dec 16 |  | 13S 0352920 3588105 | 352920 | 3588105
Cox 1 (Rock Spring) | 32.359 | -106.5284 | 1580.24 | 1615 | 2016-11-20T20:01:51Z | WSMR Area; private supply well; sampled 14 Dec 16 (30 gpm solar powered pump, stock tank, and trough) |  | 13S 0356196 3581258 | 356196 | 3581258

## Other Wells
Name | Lat | Long | Altitude (m) | GE Elevation (m) | Time | Description | Attachments | UTM (NAD 83)
Dug Well 2 | 32.4895 | -106.5614 |  | 1709 | 2016-12-07T19:53:44Z | NASA Area; old dug well with windmill; about 20 feet deep with groundwater at least 2 feet deep |  | 13S 0353295 3595773
Dug Well 1 | 32.4859 | -106.5683 |  | 1668 | 2016-12-07T20:06:42Z | NASA Area; old dug well with windmill; about 20 feet deep and dry |  | 13S 0352643 3595385
WSMR NW30-1 | 32.8673 | -106.5055 | 1235 | 1261 | 2016-12-09T18:11:31Z | WSMR; supply well; old pump equipment removed; currently operating with towed generator set; currently unable to log or sample |  | 13S 0359144 3637582
WSMR RG Well | 32.9754 | -106.519 | 1178 | 1203 | 2016-12-09T18:30:03Z | WSMR; logged 10 Dec 16; shallow; pumped dry at 4 gallons of dirty grey water; no apparent recharge; not suitable for sampling and thermal data not useful |  | 13S 0358052 3649588
WSMR Bairds Ranch Well | 32.8104 | -106.501 | 1236 | 1262 | 2016-12-09T23:46:29Z | WSMR; old ranch well with interesting mechanical pump in place; interesting ranch ruins are present; unable to log or sample |  | 13S 0359481 3631268
Old Well with Windmill | 32.8826 | -106.4917 | 1189 | 1215 | 2016-12-10T22:19:21Z | WSMR; old well with 4-in casing and windmill; plugged with dirt (?) near surface two photos on tablet; unable to log or sample |  | 13S 0360461 3639262
WSMR SMR-1 | 32.484 | -106.4427 |  | 1274 | 2016-12-11T19:04:46Z | WSMR; supply well; submersible pump installed; currently unable to log or sample |  | 13S 0364441 3595006
WSMR MAR-4SW | 32.6448 | -106.4701 |  | 1288 | 2016-12-11T19:17:33Z | WSMR; supply well; well damaged by lightning; currently unable to log or sample |  | 13S 0362115 3612870
WSMR MAR-2SW | 32.6492 | -106.4602 |  | 1263 | 2016-12-11T19:23:37Z | WSMR; supply well; well had been powered off; repowered; motor, and supposedly pump, running, but no production; unable to sample or log on 11 Dec 16 |  | 13S 0363046 3613340
WSMR Gilliland North Well | 33.3846 | -106.3826 |  |  | 2016-12-02T22:29:35Z | WSMR; could not locate (coordinates from other database); ranch ruins, stock tank, and evidence of other water transport equipment are present |  | 13S 0371402 3694779
WSMR Murry Well | 33.57 | -106.45 | 1536 | 1558 | 2016-12-12T21:37:04Z | WSMR (Stallion Range Control); supply well; submersible pump in place; has not run for long time; unable to log or sample |  | 13S 0365419 3715418